# Analytical Chemistry

# Introduction to Analytical Chemistry

- Definition and Scope of Analytical Chemistry

- Historical Development of Analytical Chemistry

- Role and Importance of Analytical Science

  - Impact on Science and Industry

  - Quality Control and Regulation

  - Research and Development Applications

- Classification of Analytical Methods

  - Classical Methods

  - Instrumental Methods

  - Qualitative Analysis

  - Quantitative Analysis

  - Destructive Analysis

  - Non-destructive Analysis

- The Analytical Process

  - Problem Definition

    - Understanding Objectives

    - Analyte Identification

    - Matrix Characterization

  - Method Selection

    - Selection Criteria

    - Method Validation Requirements

    - Cost-Benefit Analysis

  - Sampling Strategy

    - Sample Types

    - Sampling Techniques

    - Contamination Prevention

  - Sample Preparation

    - Homogenization

    - Pre-concentration

    - Interference Removal

  - Measurement Execution

    - Instrument Setup

    - Calibration Procedures

    - Measurement Protocols

  - Data Analysis and Interpretation

    - Data Processing

    - Error Analysis

    - Result Validation

  - Reporting and Documentation

    - Documentation Standards

    - Uncertainty Reporting

    - Data Presentation

# Fundamental Laboratory Operations

- Laboratory Safety

  - Chemical Hazard Identification

  - Personal Protective Equipment

  - Chemical Handling and Storage

  - Emergency Procedures

  - Waste Disposal Protocols

- Basic Laboratory Equipment

  - Glassware

    - Beakers

    - Erlenmeyer Flasks

    - Volumetric Flasks

    - Pipettes

    - Burettes

    - Graduated Cylinders

  - Glassware Calibration

    - Volumetric Calibration Methods

    - Cleaning Procedures

    - Maintenance Protocols

  - Balances and Weighing

    - Analytical Balances

    - Top-loading Balances

    - Weighing Techniques

    - Error Minimization

  - Volumetric Equipment

    - Volumetric Pipettes

    - Graduated Pipettes

    - Burettes

    - Microsyringes

- Solution Preparation

  - Concentration Units

    - Molarity

    - Molality

    - Normality

    - Weight Percent

    - Volume Percent

    - Weight-Volume Percent

    - Parts per Million

    - Parts per Billion

  - Standard Solutions

    - Primary Standards

      - Criteria for Primary Standards

      - Common Primary Standards

    - Secondary Standards

      - Preparation Methods

      - Standardization Procedures

  - Solution Dilutions

    - Dilution Calculations

    - Serial Dilutions

    - Mixing Procedures

# Statistical Treatment of Analytical Data

- Types and Sources of Errors

  - Systematic Errors

    - Instrumental Errors

    - Method Errors

    - Personal Errors

  - Random Errors

    - Sources of Random Error

    - Error Propagation

  - Gross Errors

    - Identification Methods

    - Prevention Strategies

- Data Quality Assessment

  - Replicates and Reproducibility

  - Outlier Detection Methods

  - Data Validation Procedures

- Descriptive Statistics

  - Measures of Central Tendency

    - Mean

    - Median

    - Mode

  - Measures of Dispersion

    - Range

    - Standard Deviation

    - Variance

    - Coefficient of Variation

- Accuracy and Precision

  - Definitions and Distinctions

  - Accuracy Expression

    - Absolute Error

    - Relative Error

    - Percent Error

  - Precision Expression

    - Repeatability

    - Reproducibility

- Confidence Intervals

  - Confidence Interval Calculation

  - Confidence Limit Interpretation

  - Student's t-Distribution

- Hypothesis Testing

  - Null Hypothesis Formulation

  - t-Test Applications

    - One-Sample t-Test

    - Two-Sample t-Test

    - Paired t-Test

  - F-Test for Variance Comparison

  - Q-Test for Outlier Rejection

- Calibration Methods

  - External Standard Calibration

    - Linear Calibration Curves

    - Nonlinear Calibration

    - Curve Fitting Methods

  - Standard Addition Method

    - Matrix Effect Compensation

    - Calculation Procedures

  - Internal Standard Method

    - Internal Standard Selection

    - Variability Correction

- Linear Regression Analysis

  - Least-Squares Method

  - Slope and Intercept Calculation

  - Correlation Coefficient

  - Residual Analysis

- Detection and Quantitation Limits

  - Limit of Detection

  - Limit of Quantitation

  - Signal-to-Noise Ratio

  - Practical Considerations

- Quality Assurance and Control

  - Quality Control Samples

  - Blank Analysis

  - Spike Recovery Studies

  - Control Charts

  - Method Validation Parameters

# Classical Methods of Analysis

- Gravimetric Analysis

  - Precipitation Gravimetry

    - Solubility Product Principles

    - Precipitation Conditions

    - Particle Size Control

    - Co-precipitation Effects

    - Post-precipitation Phenomena

  - Gravimetric Procedures

    - Precipitation Step

    - Digestion Process

    - Filtration Techniques

    - Washing Procedures

    - Drying and Ignition

  - Volatilization Gravimetry

    - Thermal Decomposition

    - Direct Volatilization

    - Applications and Limitations

- Volumetric Analysis

  - Fundamental Principles

    - Titrant and Analyte Definitions

    - Equivalence Point Concept

    - End Point Detection

    - Indicator Selection

  - Acid-Base Titrations

    - Strong Acid-Strong Base Systems

    - Weak Acid-Strong Base Systems

    - Strong Acid-Weak Base Systems

    - Polyprotic Acid Systems

    - Titration Curve Construction

    - Acid-Base Indicators

    - Non-aqueous Titrations

  - Complexometric Titrations

    - Complex Formation Principles

    - EDTA as Titrant

    - Metal Ion Indicators

    - EDTA Titration Curves

    - Masking Agents

    - Demasking Agents

  - Redox Titrations

    - Redox Reaction Principles

    - Standard Electrode Potentials

    - Redox Titration Curves

    - Oxidizing Agents

      - Potassium Permanganate

      - Potassium Dichromate

      - Cerium(IV) Solutions

    - Reducing Agents

      - Sodium Thiosulfate

      - Iron(II) Solutions

    - Redox Indicators

  - Precipitation Titrations

    - Precipitation Principles

    - Argentometric Methods

      - Mohr Method

      - Volhard Method

      - Fajans Method

    - Precipitation Indicators

# Spectroscopic Methods

- Fundamentals of Spectroscopy

  - Electromagnetic Radiation Properties

    - Wavelength and Frequency

    - Energy Relationships

    - Electromagnetic Spectrum Regions

  - Radiation-Matter Interactions

    - Absorption Processes

    - Emission Processes

    - Scattering Phenomena

  - Spectroscopic Instrumentation

    - Radiation Sources

      - Continuum Sources

      - Line Sources

    - Wavelength Selection

      - Monochromators

      - Filters

      - Gratings

    - Sample Containers

    - Detection Systems

      - Photomultiplier Tubes

      - Photodiodes

      - Charge-Coupled Devices

- Atomic Spectroscopy

  - Atomic Absorption Spectroscopy

    - AAS Principles

    - Instrumentation Components

      - Hollow Cathode Lamps

      - Flame Atomizers

      - Graphite Furnace Atomizers

      - Monochromators

      - Detection Systems

    - Flame AAS Applications

    - Graphite Furnace AAS Applications

    - Interference Effects

      - Chemical Interferences

      - Spectral Interferences

      - Matrix Effects

      - Interference Correction Methods

  - Atomic Emission Spectroscopy

    - AES Principles

    - Inductively Coupled Plasma

      - Plasma Generation

      - Sample Introduction

      - Instrumentation

    - Flame Photometry

      - Flame Types

  - Atomic Fluorescence Spectroscopy

    - AFS Principles

    - Instrumentation

- Molecular Spectroscopy

  - UV-Visible Spectroscopy

    - Beer-Lambert Law

    - Electronic Transitions

    - Chromophores

    - Instrumentation

      - Single-Beam Spectrophotometers

      - Double-Beam Spectrophotometers

    - Quantitative Applications

    - Multicomponent Analysis

  - Infrared Spectroscopy

    - Molecular Vibration Theory

    - IR Instrumentation

      - Dispersive IR Spectrometers

      - Fourier Transform IR

    - Sample Preparation

      - Transmission Methods

      - Attenuated Total Reflectance

      - KBr Pellet Technique

    - Spectral Interpretation

      - Functional Group Identification

      - Fingerprint Region Analysis

  - Raman Spectroscopy

    - Raman Scattering Principles

    - Instrumentation Requirements

    - Applications and Advantages

  - Molecular Luminescence

    - Fluorescence Spectroscopy

      - Fluorescence Principles

      - Instrumentation

      - Quantum Yield

      - Quenching Effects

    - Phosphorescence Spectroscopy

      - Phosphorescence Principles

      - Time-Resolved Measurements

  - Nuclear Magnetic Resonance

    - NMR Principles

      - Nuclear Spin Properties

      - Magnetic Field Effects

    - Chemical Shift Phenomena

    - Spin-Spin Coupling

    - FT-NMR Instrumentation

    - Proton NMR Spectroscopy

    - Carbon-13 NMR Spectroscopy

    - Sample Preparation Techniques

    - Spectral Interpretation Methods

  - Mass Spectrometry

    - Mass Analysis Principles

    - Instrumentation Components

      - Sample Introduction Systems

      - Ionization Methods

        - Electron Impact Ionization

        - Chemical Ionization

        - Electrospray Ionization

        - Matrix-Assisted Laser Desorption

      - Mass Analyzers

        - Quadrupole Analyzers

        - Time-of-Flight Analyzers

        - Magnetic Sector Analyzers

        - Ion Trap Analyzers

        - Orbitrap Analyzers

      - Detection Systems

    - Mass Spectral Interpretation

      - Molecular Ion Identification

      - Isotopic Pattern Analysis

      - Fragmentation Pattern Analysis

    - Hyphenated Techniques

      - Gas Chromatography-Mass Spectrometry

      - Liquid Chromatography-Mass Spectrometry

      - Tandem Mass Spectrometry

# Electrochemical Methods

- Electrochemical Fundamentals

  - Redox Reaction Principles

  - Electrochemical Cell Types

    - Galvanic Cells

    - Electrolytic Cells

  - Standard Electrode Potentials

  - Nernst Equation Applications

  - Electrode Classifications

    - Reference Electrodes

    - Indicator Electrodes

- Potentiometry

  - Potentiometric Measurement Principles

  - Reference Electrodes

    - Standard Hydrogen Electrode

    - Silver-Silver Chloride Electrode

    - Saturated Calomel Electrode

  - Indicator Electrodes

    - Metallic Electrodes

    - Ion-Selective Electrodes

      - Glass pH Electrode

      - Solid-State Electrodes

      - Liquid Membrane Electrodes

      - Gas-Sensing Electrodes

  - Direct Potentiometric Analysis

  - Potentiometric Titrations

    - Acid-Base Titrations

    - Redox Titrations

    - Precipitation Titrations

- Voltammetry

  - Voltammetric Principles

  - Classical Polarography

    - Dropping Mercury Electrode

    - Polarographic Waves

  - Modern Voltammetric Techniques

    - Cyclic Voltammetry

      - CV Instrumentation

      - Cyclic Voltammogram Interpretation

    - Linear Sweep Voltammetry

    - Differential Pulse Voltammetry

    - Square Wave Voltammetry

  - Stripping Voltammetry

    - Anodic Stripping Voltammetry

    - Cathodic Stripping Voltammetry

    - Adsorptive Stripping Voltammetry

- Coulometry

  - Coulometric Analysis Principles

  - Controlled-Potential Coulometry

    - Instrumentation

  - Controlled-Current Coulometry

    - Coulometric Titrations

    - Current Efficiency

- Conductometry

  - Conductometric Measurement Principles

  - Conductivity Cells

  - Conductometric Titrations

    - Acid-Base Conductometric Titrations

    - Precipitation Conductometric Titrations

# Separation Science

- Separation Principles

  - Equilibrium-Based Separations

    - Partition Coefficients

    - Distribution Equilibria

  - Rate-Based Separations

    - Diffusion Effects

    - Kinetic Considerations

  - Selectivity and Resolution

- Solvent Extraction

  - Liquid-Liquid Extraction Principles

  - Distribution Coefficient Theory

  - Extraction Efficiency

  - Multiple Extraction Procedures

  - Solid-Liquid Extraction

  - Extraction Optimization

- Chromatographic Methods

  - Chromatographic Fundamentals

    - Mobile Phase Properties

    - Stationary Phase Properties

    - Retention Mechanisms

      - Adsorption Chromatography

      - Partition Chromatography

      - Ion-Exchange Chromatography

      - Size-Exclusion Chromatography

  - Chromatographic Theory

    - Plate Theory

      - Theoretical Plates

      - Plate Height

    - Rate Theory

      - Van Deemter Equation

      - Band Broadening Effects

    - Resolution Optimization

  - Gas Chromatography

    - GC Instrumentation

      - Carrier Gas Systems

      - Sample Injection Systems

        - Split Injection

        - Splitless Injection

        - On-Column Injection

      - Chromatographic Columns

        - Packed Columns

        - Capillary Columns

      - Temperature Programming

      - Detection Systems

        - Flame Ionization Detector

        - Thermal Conductivity Detector

        - Electron Capture Detector

        - Mass Spectrometric Detection

    - GC Method Development

    - Qualitative Analysis by GC

    - Quantitative Analysis by GC

  - High-Performance Liquid Chromatography

    - HPLC Instrumentation

      - Solvent Delivery Systems

      - Sample Injection Systems

      - Chromatographic Columns

      - Detection Systems

        - UV-Visible Detection

        - Fluorescence Detection

        - Refractive Index Detection

        - Mass Spectrometric Detection

    - HPLC Separation Modes

      - Normal-Phase HPLC

      - Reversed-Phase HPLC

      - Ion-Exchange HPLC

      - Size-Exclusion HPLC

      - Hydrophilic Interaction Chromatography

    - HPLC Method Development

    - Qualitative Analysis by HPLC

    - Quantitative Analysis by HPLC

  - Thin-Layer Chromatography

    - TLC Principles

    - Stationary Phase Preparation

    - Mobile Phase Selection

    - Development Techniques

    - Visualization Methods

    - Quantitative TLC

  - Supercritical Fluid Chromatography

    - SFC Principles

    - Supercritical Fluid Properties

    - SFC Instrumentation

  - Capillary Electrophoresis

    - Electrophoresis Principles

    - Electroosmotic Flow

    - CE Instrumentation

    - CE Separation Modes

      - Capillary Zone Electrophoresis

      - Micellar Electrokinetic Chromatography

      - Capillary Gel Electrophoresis

      - Capillary Isoelectric Focusing

# Sample Preparation and Handling

- Sampling Strategies

  - Representative Sampling

  - Sampling Plan Development

  - Random Sampling Methods

  - Systematic Sampling Methods

  - Stratified Sampling Methods

  - Sample Size Determination

- Sample Storage and Preservation

  - Degradation Prevention

  - Storage Container Selection

  - Storage Conditions

  - Preservation Techniques

    - Chemical Preservatives

    - Physical Preservation Methods

- Sample Preparation Techniques

  - Sample Homogenization

  - Solid Sample Decomposition

    - Acid Digestion Methods

    - Fusion Techniques

    - Microwave-Assisted Digestion

  - Extraction Methods

    - Liquid-Liquid Extraction

    - Solid-Phase Extraction

    - Solid-Phase Microextraction

    - Microwave-Assisted Extraction

    - Supercritical Fluid Extraction

    - Pressurized Liquid Extraction

  - Sample Cleanup

    - Filtration Techniques

    - Centrifugation Methods

    - Dialysis

  - Concentration Techniques

    - Evaporation Methods

    - Freeze Concentration

    - Membrane Concentration

  - Interference Removal

    - Chemical Masking

    - Physical Separation

    - Matrix Modification

# Advanced Analytical Techniques

- Surface Analysis Methods

  - X-ray Photoelectron Spectroscopy

    - XPS Principles

    - Instrumentation Requirements

    - Surface Sensitivity

    - Chemical State Analysis

  - Auger Electron Spectroscopy

    - AES Principles

    - Spatial Resolution

  - Scanning Probe Microscopy

    - Atomic Force Microscopy

      - AFM Principles

      - Imaging Modes

    - Scanning Tunneling Microscopy

      - STM Principles

- Thermal Analysis Techniques

  - Thermogravimetric Analysis

    - TGA Principles

    - Instrumentation

  - Differential Scanning Calorimetry

    - DSC Principles

    - Heat Flow Measurements

  - Differential Thermal Analysis

    - DTA Principles

    - Temperature Difference Measurements

- Bioanalytical Methods

  - Immunoassay Principles

    - Antigen-Antibody Interactions

    - Competitive Immunoassays

    - Non-competitive Immunoassays

  - Enzyme-Linked Immunosorbent Assay

    - ELISA Formats

    - Detection Methods

  - Biosensor Technology

    - Biosensor Components

    - Transduction Mechanisms

- Miniaturized Analytical Systems

  - Microfluidics Principles

  - Lab-on-a-Chip Devices

    - Device Fabrication

    - Fluid Handling

    - Detection Methods

  - Micro Total Analysis Systems

- Chemometrics and Data Analysis

  - Multivariate Data Analysis

    - Principal Component Analysis

    - Partial Least Squares Regression

  - Pattern Recognition Methods

    - Cluster Analysis

    - Classification Techniques

  - Calibration Multivariate Methods

  - Method Validation Statistics

# Applications in Analytical Chemistry

- Environmental Analysis

  - Water Quality Assessment

    - Drinking Water Analysis

    - Wastewater Analysis

    - Surface Water Monitoring

  - Air Quality Monitoring

    - Atmospheric Pollutants

    - Indoor Air Quality

  - Soil and Sediment Analysis

    - Heavy Metal Contamination

    - Organic Pollutants

- Clinical and Medical Analysis

  - Blood Analysis

    - Clinical Chemistry Parameters

    - Hematological Analysis

  - Urine Analysis

    - Routine Urinalysis

    - Drug Screening

  - Biomarker Detection

    - Protein Biomarkers

    - Metabolite Biomarkers

- Forensic Applications

  - Drug Analysis

    - Illicit Drug Identification

    - Toxicological Analysis

  - Trace Evidence Analysis

    - Fiber Analysis

    - Paint Analysis

    - Glass Analysis

- Pharmaceutical Analysis

  - Drug Purity Assessment

  - Content Uniformity Testing

  - Dissolution Testing

  - Stability Studies

  - Impurity Profiling

- Food and Beverage Analysis

  - Nutritional Analysis

    - Macronutrient Determination

    - Micronutrient Analysis

  - Contaminant Detection

    - Pesticide Residues

    - Heavy Metal Contamination

    - Microbial Contamination

  - Authenticity Testing

- Materials Characterization

  - Polymer Analysis

    - Molecular Weight Determination

    - Composition Analysis

  - Metal and Alloy Analysis

    - Elemental Composition

    - Phase Analysis

  - Ceramic and Glass Analysis

  - Nanomaterial Characterization

Created with UsefulLinks