# Biomedical Imaging and Instrumentation

# Fundamentals of Biomedical Engineering

- Core Physics Principles

  - Electricity and Magnetism

    - Electric Charge and Coulomb's Law

    - Electric Fields and Potentials

    - Current, Voltage, and Resistance

    - Ohm's Law and Circuit Analysis

    - Magnetic Fields and Forces

    - Electromagnetic Induction

    - Faraday's Law

    - Capacitance and Capacitors

    - Inductance and Inductors

    - AC and DC Circuits

  - Wave Phenomena

    - Sound Waves

      - Properties of Sound Waves

        - Frequency and Wavelength

        - Amplitude and Intensity

        - Phase and Phase Relationships

      - Speed of Sound in Different Media

      - Wave Propagation in Biological Tissues

      - Reflection and Refraction of Sound

      - Absorption and Scattering

      - Acoustic Impedance

    - Electromagnetic Waves

      - Electromagnetic Spectrum

      - Wave-Particle Duality

      - Propagation in Biological Tissues

      - Absorption and Scattering Mechanisms

      - Polarization

  - Ionizing and Non-ionizing Radiation

    - Types of Ionizing Radiation

      - Alpha Particles

      - Beta Particles

      - Gamma Rays

      - X-Rays

    - Types of Non-ionizing Radiation

      - Radiofrequency Radiation

      - Microwave Radiation

      - Infrared Radiation

      - Visible Light

      - Ultraviolet Radiation

    - Biological Effects of Radiation

      - Deterministic Effects

      - Stochastic Effects

      - Cellular Damage Mechanisms

    - Radiation Units and Measurement

      - Activity and Becquerel

      - Absorbed Dose and Gray

      - Equivalent Dose and Sievert

  - Optics and Photonics

    - Geometric Optics

      - Reflection and Refraction

      - Snell's Law

      - Total Internal Reflection

    - Lenses and Optical Systems

      - Thin Lens Equation

      - Aberrations

      - Optical Instruments

    - Light-Matter Interaction

      - Absorption

      - Emission

      - Scattering

    - Lasers and Coherent Light Sources

      - Laser Principles

      - Types of Lasers

      - Laser Safety

- Essential Human Biology

  - Cellular and Molecular Biology

    - Cell Structure and Function

      - Cell Membrane Structure

      - Organelles and Their Functions

      - Cytoskeleton

    - Membrane Transport Mechanisms

      - Passive Transport

      - Active Transport

      - Endocytosis and Exocytosis

    - Signal Transduction Pathways

      - Receptor Types

      - Second Messenger Systems

      - Signal Amplification

    - DNA, RNA, and Protein Synthesis

      - DNA Structure and Replication

      - RNA Types and Functions

      - Transcription and Translation

  - Human Anatomy and Physiology

    - Organ Systems Overview

      - Nervous System

        - Central Nervous System

        - Peripheral Nervous System

        - Autonomic Nervous System

      - Cardiovascular System

        - Heart Structure and Function

        - Blood Vessels

        - Cardiac Cycle

      - Respiratory System

        - Lung Structure

        - Gas Exchange

        - Respiratory Mechanics

      - Musculoskeletal System

        - Bone Structure and Function

        - Muscle Types and Contraction

        - Joint Mechanics

      - Digestive System

        - Gastrointestinal Tract

        - Digestive Processes

        - Nutrient Absorption

      - Renal System

        - Kidney Structure and Function

        - Urine Formation

        - Fluid and Electrolyte Balance

      - Endocrine System

        - Hormone Types and Functions

        - Feedback Mechanisms

        - Major Endocrine Glands

    - Tissue Properties

      - Epithelial Tissue

        - Types and Functions

        - Barrier Properties

      - Connective Tissue

        - Types and Composition

        - Mechanical Properties

      - Muscle Tissue

        - Skeletal Muscle

        - Cardiac Muscle

        - Smooth Muscle

      - Nervous Tissue

        - Neurons and Glial Cells

        - Electrical Properties

- Foundational Engineering Concepts

  - Signals and Systems

    - Signal Classification

      - Continuous and Discrete Signals

      - Analog vs Digital Signals

      - Deterministic vs Random Signals

    - Sampling and Quantization

      - Sampling Theorem

      - Nyquist Frequency

      - Aliasing

      - Quantization Error

    - Fourier Analysis

      - Fourier Series

      - Fourier Transform

      - Discrete Fourier Transform

      - Fast Fourier Transform

      - Frequency Domain Representation

    - System Properties

      - Linearity

      - Time-Invariance

      - Causality

      - Stability

      - Memory

    - System Response

      - Impulse Response

      - Frequency Response

      - Transfer Functions

  - Basic Electronics and Circuits

    - Passive Components

      - Resistors

      - Capacitors

      - Inductors

      - Impedance and Reactance

    - Active Components

      - Diodes

      - Transistors

      - Operational Amplifiers

    - Analog Circuits

      - Amplifier Configurations

      - Operational Amplifier Circuits

      - Oscillators

    - Digital Circuits

      - Logic Gates

      - Boolean Algebra

      - Flip-Flops and Registers

      - Counters and Timers

    - Filters

      - Low-pass Filters

      - High-pass Filters

      - Band-pass Filters

      - Band-stop Filters

      - Active vs Passive Filters

    - Data Acquisition Systems

      - Analog-to-Digital Conversion

      - Digital-to-Analog Conversion

      - Multiplexing

      - Sample and Hold Circuits

# Biomedical Instrumentation

- Principles of Measurement

  - Sensors and Transducers

    - Classification of Sensors

      - Mechanical Sensors

        - Pressure Sensors

        - Force Sensors

        - Displacement Sensors

      - Thermal Sensors

        - Thermistors

        - Thermocouples

        - RTDs

      - Electrical Sensors

        - Voltage Sensors

        - Current Sensors

        - Impedance Sensors

      - Chemical Sensors

        - pH Sensors

        - Ion-Selective Electrodes

        - Gas Sensors

      - Optical Sensors

        - Photodiodes

        - Photomultiplier Tubes

        - CCD Sensors

    - Performance Characteristics

      - Sensitivity

      - Specificity

      - Linearity

      - Range and Span

      - Accuracy and Precision

      - Resolution

      - Response Time

      - Hysteresis

      - Drift and Stability

      - Repeatability and Reproducibility

  - Signal Conditioning

    - Amplification

      - Instrumentation Amplifiers

      - Differential Amplifiers

      - Isolation Amplifiers

      - Noise Considerations in Amplification

    - Filtering

      - Analog Filters

      - Digital Filters

      - Adaptive Filters

    - Signal Conversion

      - Analog-to-Digital Conversion

      - Resolution and Sampling Rate

      - Quantization Error

      - Digital-to-Analog Conversion

  - Noise and Artifacts

    - Sources of Noise

      - Thermal Noise

      - Shot Noise

      - Flicker Noise

      - Electromagnetic Interference

      - Motion Artifacts

      - Physiological Artifacts

    - Noise Characterization

      - Signal-to-Noise Ratio

      - Noise Figure

      - Noise Bandwidth

    - Noise Reduction Techniques

      - Shielding and Grounding

      - Filtering

      - Signal Averaging

      - Correlation Techniques

- Measurement of Biopotentials

  - Origin of Biopotentials

    - Resting Membrane Potential

    - Action Potentials

      - Depolarization and Repolarization

      - Propagation

    - Ionic Basis of Biopotentials

      - Sodium-Potassium Pump

      - Ion Channels

  - Electrodes

    - Types of Electrodes

      - Surface Electrodes

        - Ag/AgCl Electrodes

        - Dry Electrodes

      - Needle Electrodes

      - Microelectrodes

      - Reference Electrodes

    - Electrode-Skin Interface

      - Impedance Characteristics

      - Skin Preparation

      - Electrode Gel and Paste

      - Motion Artifacts

  - Electrocardiography (ECG)

    - Cardiac Electrophysiology

      - Electrical Activity of the Heart

      - Cardiac Conduction System

      - PQRST Complex

    - Lead Systems

      - Standard Limb Leads

      - Augmented Limb Leads

      - Precordial Leads

      - Lead Placement and Configuration

    - ECG Instrumentation

      - Amplifiers

      - Filters

      - Display and Recording Devices

      - Arrhythmia Detection

  - Electroencephalography (EEG)

    - Brain Electrophysiology

      - Neural Oscillations

      - Brain Waves and States

        - Alpha Waves

        - Beta Waves

        - Theta Waves

        - Delta Waves

      - Sleep and Wakefulness Patterns

    - Electrode Placement

      - 10-20 System

      - Standardization

      - Montages

    - EEG Instrumentation

      - Amplifiers

      - Filters

      - Data Acquisition

      - Artifact Removal

  - Electromyography (EMG)

    - Muscle Physiology

      - Motor Unit Action Potentials

      - Muscle Contraction Mechanisms

      - Neuromuscular Junction

    - EMG Types

      - Surface EMG

      - Needle EMG

      - Applications and Limitations

    - EMG Instrumentation

      - Amplifiers

      - Filters

      - Signal Analysis

      - Fatigue Assessment

- Measurement of Non-Electrical Parameters

  - Cardiovascular Measurements

    - Blood Pressure

      - Sphygmomanometry

      - Korotkoff Sounds

      - Invasive vs Non-invasive Methods

      - Continuous Blood Pressure Monitoring

    - Blood Flow

      - Electromagnetic Flowmeters

      - Ultrasonic Flowmeters

      - Thermal Dilution

    - Cardiac Output

      - Indicator Dilution Methods

      - Thermodilution

      - Fick Method

      - Impedance Cardiography

  - Respiratory System Measurements

    - Spirometry

      - Lung Volumes and Capacities

      - Flow-Volume Loops

      - Forced Expiratory Volume

    - Gas Exchange

      - Oxygen Measurement

      - Carbon Dioxide Measurement

      - Capnography

      - Blood Gas Analysis

    - Respiratory Rate and Pattern

      - Impedance Pneumography

      - Strain Gauge Methods

  - Body Temperature Measurement

    - Temperature Sensors

      - Thermistors

      - Thermocouples

      - RTDs

    - Measurement Sites

      - Core Temperature

      - Skin Temperature

    - Infrared Thermometry

      - Non-contact Measurement

      - Thermal Imaging

  - Chemical Biosensors

    - Blood Glucose Monitoring

      - Enzymatic Sensors

      - Electrochemical Methods

      - Non-invasive Techniques

    - Blood Gas Analysis

      - pH Measurement

      - pO2 Measurement

      - pCO2 Measurement

      - Ion-Selective Electrodes

    - Pulse Oximetry

      - Principles of Operation

      - Beer-Lambert Law

      - Limitations and Artifacts

      - Calibration

- Therapeutic and Life-Support Instrumentation

  - Cardiac Pacemakers

    - Types of Pacemakers

      - Single Chamber

      - Dual Chamber

      - Biventricular

    - Sensing and Pacing Modes

      - Demand Pacing

      - Rate-Responsive Pacing

    - Implantation and Programming

      - Lead Placement

      - Parameter Optimization

  - Defibrillators

    - External Defibrillators

      - Manual Defibrillators

      - Automated External Defibrillators

    - Implantable Cardioverter Defibrillators

    - Energy Delivery Mechanisms

      - Capacitor Discharge

      - Waveform Optimization

    - Safety Considerations

  - Infusion Pumps

    - Types of Infusion Pumps

      - Syringe Pumps

      - Peristaltic Pumps

      - Volumetric Pumps

    - Flow Control Mechanisms

      - Pressure-Based Control

      - Volume-Based Control

    - Alarm Systems

      - Occlusion Detection

      - Air-in-Line Detection

  - Ventilators

    - Modes of Ventilation

      - Volume-Controlled Ventilation

      - Pressure-Controlled Ventilation

      - Assist-Control Ventilation

    - Sensors and Feedback Control

      - Flow Sensors

      - Pressure Sensors

      - Oxygen Sensors

    - Patient-Ventilator Interaction

      - Triggering

      - Cycling

      - PEEP

  - Dialysis Machines

    - Hemodialysis Principles

      - Diffusion and Ultrafiltration

      - Dialysate Composition

    - Components and Operation

      - Dialyzer

      - Blood Circuit

      - Dialysate Circuit

    - Monitoring and Safety

      - Pressure Monitoring

      - Air Detection

      - Blood Leak Detection

- Electrical Safety in Medical Environments

  - Electrical Hazards

    - Macroshock Hazards

      - Physiological Effects

      - Current Thresholds

    - Microshock Hazards

      - Cardiac Catheter Patients

      - Risk Factors

  - Leakage Currents

    - Sources of Leakage

    - Measurement Techniques

    - Acceptable Limits

    - Patient Auxiliary Current

  - Protection Methods

    - Grounding Systems

      - Equipment Grounding

      - Isolated Ground Systems

    - Isolation Techniques

      - Isolation Transformers

      - Optical Isolation

    - Ground Fault Circuit Interrupters

  - Medical Device Safety Standards

    - International Standards

      - IEC 60601 Series

      - ISO 14971

    - Hospital Safety Protocols

      - Electrical Safety Programs

      - Testing and Maintenance

# Principles of Medical Imaging

- Image Quality Metrics

  - Spatial Resolution

    - Point Spread Function

    - Line Spread Function

    - Modulation Transfer Function

    - Pixel Size and Matrix Size

  - Contrast Resolution

    - Contrast-to-Noise Ratio

    - Low-Contrast Detectability

  - Temporal Resolution

    - Frame Rate

    - Acquisition Time

    - Motion Artifacts

  - Signal-to-Noise Ratio

    - Sources of Noise in Imaging

    - Quantum Noise

    - Electronic Noise

    - Structured Noise

- Image Formation Principles

  - Projection Imaging

    - Parallel Beam Geometry

    - Fan Beam Geometry

    - Cone Beam Geometry

  - Tomographic Imaging

    - Cross-sectional Imaging

    - Volume Imaging

  - Image Reconstruction

    - The Radon Transform

      - Mathematical Basis

      - Forward and Inverse Transform

    - Filtered Back-Projection

      - Algorithm Steps

      - Filter Functions

      - Limitations

    - Iterative Reconstruction Methods

      - Algebraic Reconstruction Technique

      - Maximum Likelihood Methods

      - Statistical Reconstruction

# X-Ray Based Imaging

- Physics of X-Ray Production and Interaction

  - X-Ray Generation

    - X-Ray Tube Design

      - Cathode and Anode

      - Rotating Anode

      - Heat Management

    - X-Ray Production Mechanisms

      - Bremsstrahlung Radiation

      - Characteristic Radiation

    - X-Ray Spectrum

      - Continuous Spectrum

      - Characteristic Peaks

      - Filtration Effects

  - X-Ray Interaction with Matter

    - Photoelectric Effect

      - Energy Dependence

      - Atomic Number Dependence

    - Compton Scattering

      - Energy Transfer

      - Angular Distribution

    - Rayleigh Scattering

    - Pair Production

    - Attenuation Coefficient

      - Linear Attenuation Coefficient

      - Mass Attenuation Coefficient

      - Beer-Lambert Law

- Planar Radiography

  - System Components

    - X-Ray Tube

      - Focal Spot Size

      - Heat Capacity

    - Collimators

      - Beam Limitation

      - Scatter Reduction

    - Anti-scatter Grids

      - Grid Ratio

      - Grid Frequency

    - Detectors

      - Film-Screen Systems

      - Computed Radiography

      - Digital Radiography

        - Indirect Conversion

        - Direct Conversion

  - Image Quality Factors

    - Contrast

      - Subject Contrast

      - Image Receptor Contrast

    - Sharpness

      - Geometric Factors

      - Motion Blur

    - Noise

      - Quantum Mottle

      - Structure Mottle

  - Contrast Agents

    - Iodinated Contrast Agents

      - Ionic vs Non-ionic

      - Osmolality

    - Barium Compounds

    - Mechanisms of Action

    - Safety and Adverse Reactions

  - Clinical Applications

    - Chest Radiography

    - Skeletal Imaging

    - Abdominal Imaging

    - Mammography

      - Breast Compression

      - Low-Energy X-Rays

      - Digital Mammography

- Fluoroscopy

  - Image Intensifiers

    - Principle of Operation

    - Conversion Efficiency

    - Resolution and Distortion

  - Flat-Panel Detectors

    - Advantages over Image Intensifiers

    - Dynamic Range

  - Automatic Brightness Control

  - Dynamic Imaging Applications

    - Gastrointestinal Studies

    - Interventional Procedures

    - Cardiac Catheterization

  - Radiation Dose Considerations

    - Patient Dose

    - Operator Dose

    - Dose Rate Monitoring

- Computed Tomography (CT)

  - System Architecture

    - Gantry Design

      - Slip Ring Technology

      - Detector Arrays

    - X-Ray Source

      - High Heat Capacity

      - Focal Spot Tracking

    - Data Acquisition System

  - Scan Geometries

    - Axial Scanning

    - Helical Scanning

      - Pitch Factor

      - Interpolation Algorithms

    - Multislice CT

      - Detector Configurations

      - Cone Beam Artifacts

  - Image Reconstruction

    - Filtered Back-Projection

    - Iterative Reconstruction

      - Model-Based Reconstruction

      - Noise Reduction

  - CT Numbers and Hounsfield Units

    - Definition and Calculation

    - Tissue Characterization

    - Window and Level Settings

  - Image Quality

    - Spatial Resolution

    - Contrast Resolution

    - Noise

    - Artifacts

      - Beam Hardening

      - Partial Volume Effects

      - Motion Artifacts

  - Radiation Dose

    - Dose Metrics

      - CTDI

      - DLP

      - Effective Dose

    - Dose Reduction Techniques

      - Automatic Exposure Control

      - Iterative Reconstruction

      - Organ-Based Tube Current Modulation

# Magnetic Resonance Imaging (MRI)

- Physics of Nuclear Magnetic Resonance

  - Nuclear Spin and Magnetization

    - Magnetic Moments

    - Gyromagnetic Ratio

    - Equilibrium Magnetization

  - Larmor Frequency

    - Resonance Condition

    - Chemical Shift

  - Relaxation Processes

    - T1 Relaxation

      - Spin-Lattice Relaxation

      - Recovery Curves

    - T2 Relaxation

      - Spin-Spin Relaxation

      - Decay Curves

    - T2* Relaxation

      - Magnetic Field Inhomogeneity

- MRI Instrumentation

  - Main Magnet

    - Types of Magnets

      - Permanent Magnets

      - Resistive Magnets

      - Superconducting Magnets

    - Magnetic Field Strength

    - Magnetic Shielding

      - Active Shielding

      - Passive Shielding

  - Gradient Coils

    - Spatial Encoding Gradients

      - Slice Selection

      - Frequency Encoding

      - Phase Encoding

    - Gradient Strength and Linearity

    - Eddy Currents

  - Radiofrequency System

    - RF Coils

      - Transmit Coils

      - Receive Coils

      - Surface Coils

      - Volume Coils

    - RF Amplifiers

    - RF Shielding

- Image Formation

  - Spatial Encoding

    - Slice Selection

      - Selective Excitation

      - Slice Thickness

    - Frequency Encoding

      - Readout Gradient

      - Bandwidth

    - Phase Encoding

      - Phase Encoding Steps

      - Field of View

  - K-Space

    - Data Acquisition in K-Space

    - K-Space Trajectories

      - Cartesian Sampling

      - Radial Sampling

      - Spiral Sampling

    - Fourier Transform Relationship

  - Pulse Sequences

    - Spin Echo

      - 90° and 180° Pulses

      - Echo Time

    - Gradient Echo

      - Flip Angle

      - Spoiling

    - Inversion Recovery

      - Inversion Time

      - STIR and FLAIR

    - Fast Imaging Techniques

      - Echo Planar Imaging

      - Turbo Spin Echo

      - Gradient Echo Variants

- Image Contrast Mechanisms

  - T1-Weighted Imaging

    - Short TR and TE

    - Tissue Contrast

  - T2-Weighted Imaging

    - Long TR and TE

    - Tissue Contrast

  - Proton Density Imaging

    - Long TR and Short TE

  - Advanced Contrast Mechanisms

    - Diffusion-Weighted Imaging

      - Apparent Diffusion Coefficient

      - Diffusion Tensor Imaging

    - Perfusion Imaging

      - Dynamic Susceptibility Contrast

      - Arterial Spin Labeling

    - Susceptibility-Weighted Imaging

  - Contrast Agents

    - Gadolinium-Based Agents

      - T1 Shortening Effects

      - Pharmacokinetics

    - Iron Oxide Particles

    - Safety and Contraindications

      - Nephrogenic Systemic Fibrosis

      - Gadolinium Retention

- Functional MRI

  - BOLD Contrast

    - Blood-Oxygen-Level-Dependent Signal

    - Neurovascular Coupling

    - Hemodynamic Response Function

  - Experimental Design

    - Block Design

    - Event-Related Design

    - Resting State fMRI

  - Data Analysis

    - Statistical Parametric Mapping

    - Independent Component Analysis

    - Connectivity Analysis

# Ultrasound Imaging

- Physics of Acoustic Waves

  - Wave Properties

    - Frequency and Wavelength

    - Amplitude and Intensity

    - Wave Equation

  - Propagation in Tissue

    - Acoustic Impedance

      - Characteristic Impedance

      - Impedance Matching

    - Speed of Sound in Tissues

      - Tissue-Dependent Variations

      - Temperature Effects

  - Wave Interactions

    - Reflection and Transmission

      - Normal Incidence

      - Oblique Incidence

      - Rayleigh Scattering

    - Refraction

      - Snell's Law for Acoustics

    - Attenuation

      - Absorption

      - Scattering

      - Attenuation Coefficient

  - Piezoelectric Effect

    - Piezoelectric Materials

      - Natural Crystals

      - Synthetic Ceramics

    - Transducer Construction

      - Backing Layer

      - Matching Layers

      - Lens Focusing

- Ultrasound Instrumentation

  - Transducers

    - Types of Transducers

      - Linear Arrays

      - Curvilinear Arrays

      - Phased Arrays

      - Annular Arrays

    - Frequency Selection

      - Penetration vs Resolution Trade-off

      - Broadband Transducers

    - Transducer Characteristics

      - Bandwidth

      - Sensitivity

      - Near Field and Far Field

  - Beamforming

    - Electronic Focusing

      - Transmit Focusing

      - Receive Focusing

      - Dynamic Focusing

    - Electronic Steering

    - Apodization

      - Amplitude Weighting

      - Side Lobe Reduction

  - System Components

    - Pulser

    - Receiver

      - Time Gain Compensation

      - Dynamic Range

    - Signal Processing

    - Display System

- Imaging Modes

  - A-Mode

    - Amplitude vs Time Display

    - Applications

      - Ophthalmology

      - Thickness Measurement

  - B-Mode

    - Brightness Modulation

    - Image Construction

      - Scan Conversion

      - Interpolation

    - Real-Time Imaging

  - M-Mode

    - Motion Display

    - Applications

      - Cardiac Imaging

      - Fetal Heart Rate

- Doppler Ultrasound

  - Doppler Effect

    - Frequency Shift Calculation

    - Angle Dependence

  - Continuous Wave Doppler

    - Advantages and Limitations

    - Range Ambiguity

  - Pulsed Wave Doppler

    - Range Gating

    - Nyquist Limit

    - Aliasing

  - Color Flow Doppler

    - Velocity Mapping

    - Color Scale

    - Power Doppler

      - Angle Independence

      - Sensitivity to Slow Flow

- Advanced Techniques

  - Harmonic Imaging

    - Tissue Harmonics

      - Nonlinear Propagation

      - Improved Image Quality

    - Contrast Harmonics

      - Microbubble Resonance

  - Elastography

    - Strain Imaging

      - Compression Elastography

      - Strain Ratio

    - Shear Wave Imaging

      - Acoustic Radiation Force

      - Quantitative Elasticity

  - Contrast-Enhanced Ultrasound

    - Microbubble Agents

      - Composition and Properties

      - Destruction and Replenishment

    - Clinical Applications

      - Perfusion Imaging

      - Lesion Characterization

  - 3D and 4D Ultrasound

    - Volume Acquisition

    - Rendering Techniques

    - Real-Time 3D Imaging

# Nuclear Medicine Imaging

- Principles of Radioactivity

  - Atomic Structure and Radioactive Decay

    - Nuclear Stability

    - Decay Modes

      - Alpha Decay

      - Beta Decay

      - Gamma Decay

      - Electron Capture

    - Decay Constants and Half-Life

      - Physical Half-Life

      - Biological Half-Life

      - Effective Half-Life

  - Radionuclides and Radiopharmaceuticals

    - Production Methods

      - Reactor-Produced

      - Cyclotron-Produced

      - Generator Systems

    - Selection Criteria

      - Half-Life Considerations

      - Radiation Type and Energy

      - Chemical Properties

    - Pharmacokinetics

      - Uptake Mechanisms

      - Distribution

      - Clearance

- Radiation Detection

  - Scintillation Detectors

    - Scintillation Process

    - Scintillator Materials

      - Sodium Iodide

      - Cesium Iodide

      - Lutetium Oxyorthosilicate

    - Photomultiplier Tubes

      - Photoelectric Effect

      - Electron Multiplication

  - Semiconductor Detectors

    - Cadmium Zinc Telluride

    - Silicon Photomultipliers

  - Gas-Filled Detectors

    - Ionization Chambers

    - Proportional Counters

    - Geiger-Müller Counters

- Planar Scintigraphy

  - Gamma Camera

    - Collimator Design

      - Parallel Hole

      - Converging

      - Diverging

      - Pinhole

    - Scintillation Crystal

    - Photomultiplier Tube Array

    - Position Logic Circuits

  - Image Quality Factors

    - Spatial Resolution

    - Sensitivity

    - Uniformity

    - Linearity

  - Quality Control

    - Daily Checks

    - Periodic Testing

    - Acceptance Testing

- Single Photon Emission Computed Tomography

  - SPECT Instrumentation

    - Rotating Gamma Camera

    - Multi-Head Systems

    - Collimator Selection

  - Data Acquisition

    - Projection Angles

    - Acquisition Time

    - Matrix Size

  - Image Reconstruction

    - Filtered Back-Projection

    - Iterative Methods

      - Ordered Subset Expectation Maximization

    - Attenuation Correction

    - Scatter Correction

  - Clinical Applications

    - Cardiac Perfusion

    - Brain Imaging

    - Bone Scanning

- Positron Emission Tomography

  - Physics of Positron Emission

    - Positron Annihilation

    - Coincidence Detection

    - Line of Response

  - PET Instrumentation

    - Detector Design

      - Block Detectors

      - Pixelated Detectors

    - Coincidence Circuits

    - Time-of-Flight PET

      - Timing Resolution

      - Localization Accuracy

  - Image Reconstruction

    - Analytical Methods

    - Statistical Methods

    - Corrections

      - Attenuation Correction

      - Scatter Correction

      - Random Coincidence Correction

  - Radiopharmaceuticals

    - FDG

      - Glucose Metabolism

      - Oncology Applications

    - Other Tracers

      - Amyloid Imaging

      - Dopamine Transporter

      - Cardiac Tracers

- Hybrid Imaging Systems

  - PET/CT

    - System Integration

    - Attenuation Correction

    - Anatomical Localization

    - Clinical Workflow

  - SPECT/CT

    - Low-Dose CT

    - Attenuation and Scatter Correction

  - PET/MRI

    - Technical Challenges

      - MRI Compatibility

      - Attenuation Correction

    - Clinical Applications

      - Neuroimaging

      - Pediatric Imaging

# Optical Imaging

- Light-Tissue Interaction

  - Absorption

    - Chromophores

      - Hemoglobin

      - Water

      - Melanin

    - Beer-Lambert Law

  - Scattering

    - Rayleigh Scattering

    - Mie Scattering

    - Anisotropy Factor

  - Fluorescence

    - Excitation and Emission

    - Quantum Yield

    - Fluorescence Lifetime

  - Other Interactions

    - Photobleaching

    - Photochemical Effects

- Microscopy

  - Bright-Field Microscopy

    - Illumination Systems

    - Objective Lenses

    - Resolution Limits

  - Dark-Field Microscopy

    - Contrast Enhancement

    - Oblique Illumination

  - Phase Contrast Microscopy

    - Phase Objects

    - Phase Plate

  - Fluorescence Microscopy

    - Fluorophores

      - Intrinsic Fluorophores

      - Extrinsic Fluorophores

    - Filter Sets

      - Excitation Filters

      - Emission Filters

      - Dichroic Mirrors

    - Fluorescence Imaging Techniques

      - Immunofluorescence

      - Live Cell Imaging

  - Confocal Microscopy

    - Optical Sectioning

    - Pinhole Aperture

    - Point Scanning

    - Resolution Enhancement

  - Advanced Microscopy Techniques

    - Two-Photon Microscopy

    - Super-Resolution Microscopy

      - STED

      - PALM/STORM

- Endoscopy

  - Rigid Endoscopes

    - Optical Design

    - Light Transmission

  - Flexible Endoscopes

    - Fiber Optic Bundles

    - Image Quality Considerations

  - Imaging Modalities

    - White Light Endoscopy

    - Narrow Band Imaging

    - Fluorescence Endoscopy

  - Capsule Endoscopy

    - Wireless Technology

    - Image Transmission

- Optical Coherence Tomography

  - Low-Coherence Interferometry

    - Michelson Interferometer

    - Coherence Length

  - OCT Systems

    - Time-Domain OCT

    - Frequency-Domain OCT

      - Spectral-Domain OCT

      - Swept-Source OCT

  - Resolution Characteristics

    - Axial Resolution

    - Lateral Resolution

  - Clinical Applications

    - Ophthalmology

    - Cardiology

    - Dermatology

- Diffuse Optical Imaging

  - Diffuse Optical Tomography

    - Light Transport in Tissue

    - Diffusion Approximation

    - Reconstruction Algorithms

  - Diffuse Optical Spectroscopy

    - Spectroscopic Analysis

    - Chromophore Quantification

  - Functional Imaging Applications

    - Brain Imaging

    - Breast Imaging

    - Muscle Oxygenation

# Medical Image Processing and Analysis

- Image Representation and Formats

  - Digital Image Fundamentals

    - Pixel and Voxel Representation

    - Bit Depth and Dynamic Range

    - Spatial and Intensity Resolution

  - Medical Image Formats

    - DICOM Standard

      - DICOM Header Information

      - DICOM Services

      - DICOM Networking

    - Other Formats

      - NIfTI

      - Analyze

      - JPEG and TIFF

  - Image Coordinate Systems

    - Patient Coordinate System

    - Image Coordinate System

    - World Coordinate System

- Image Pre-processing

  - Noise Reduction

    - Linear Filters

      - Mean Filter

      - Gaussian Filter

    - Non-linear Filters

      - Median Filter

      - Bilateral Filter

    - Morphological Filters

  - Intensity Correction

    - Bias Field Correction

      - N3 Algorithm

      - N4ITK Algorithm

    - Intensity Normalization

      - Histogram Matching

      - Z-score Normalization

  - Geometric Corrections

    - Distortion Correction

    - Motion Correction

- Image Enhancement

  - Contrast Enhancement

    - Contrast Stretching

    - Histogram Equalization

      - Global Histogram Equalization

      - Adaptive Histogram Equalization

    - Gamma Correction

  - Sharpening

    - Unsharp Masking

    - Laplacian Sharpening

  - Edge Enhancement

    - Gradient-Based Methods

    - Laplacian of Gaussian

- Image Segmentation

  - Thresholding

    - Global Thresholding

    - Adaptive Thresholding

    - Otsu's Method

  - Region-Based Methods

    - Region Growing

    - Region Splitting and Merging

    - Watershed Algorithm

  - Edge-Based Methods

    - Edge Detection

      - Sobel Operator

      - Canny Edge Detector

      - Laplacian of Gaussian

    - Active Contours

      - Snakes

      - Level Sets

  - Clustering Methods

    - K-Means Clustering

    - Fuzzy C-Means

  - Advanced Segmentation

    - Graph Cuts

    - Random Walker

    - Deep Learning Segmentation

- Image Registration

  - Registration Framework

    - Fixed and Moving Images

    - Transformation Models

    - Similarity Metrics

    - Optimization Methods

  - Transformation Types

    - Rigid Transformations

      - Translation and Rotation

    - Affine Transformations

      - Scaling and Shearing

    - Non-rigid Transformations

      - B-Spline Deformation

      - Demons Algorithm

  - Registration Methods

    - Landmark-Based Registration

    - Intensity-Based Registration

      - Mutual Information

      - Cross-Correlation

    - Feature-Based Registration

  - Applications

    - Multi-modal Registration

    - Temporal Registration

    - Atlas-Based Registration

- Image Visualization

  - 2D Visualization

    - Windowing and Leveling

    - Color Mapping

    - Multi-planar Reconstruction

  - 3D Visualization

    - Surface Rendering

      - Marching Cubes Algorithm

    - Volume Rendering

      - Ray Casting

      - Texture-Based Rendering

    - Maximum Intensity Projection

    - Minimum Intensity Projection

  - Advanced Visualization

    - Virtual Reality

    - Augmented Reality

    - Interactive Visualization

- Quantitative Image Analysis

  - Feature Extraction

    - Morphological Features

      - Area and Volume

      - Shape Descriptors

      - Texture Features

    - Intensity Features

      - Statistical Moments

      - Histogram Features

    - Spatial Features

      - Distance Maps

      - Spatial Relationships

  - Shape Analysis

    - Boundary Analysis

    - Skeleton Analysis

    - Shape Matching

  - Texture Analysis

    - Gray-Level Co-occurrence Matrix

    - Local Binary Patterns

    - Wavelet Features

  - Statistical Analysis

    - Descriptive Statistics

    - Hypothesis Testing

    - Correlation Analysis

    - Machine Learning Applications

# Advanced Topics and Applications

- Image-Guided Interventions and Surgery

  - Navigation Systems

    - Optical Tracking

    - Electromagnetic Tracking

    - Inertial Tracking

  - Intraoperative Imaging

    - Intraoperative MRI

    - Intraoperative CT

    - Intraoperative Ultrasound

  - Surgical Planning

    - 3D Modeling

    - Simulation

    - Risk Assessment

  - Robotic Surgery

    - Teleoperated Systems

    - Autonomous Systems

    - Haptic Feedback

- Medical Robotics

  - Surgical Robots

    - da Vinci System

      - Master-Slave Configuration

      - Tremor Filtering

    - Laparoscopic Assistance

    - Orthopedic Robots

  - Rehabilitation Robots

    - Exoskeletons

      - Lower Limb Exoskeletons

      - Upper Limb Exoskeletons

    - Assistive Devices

      - Prosthetics

      - Mobility Aids

  - Therapeutic Robots

    - Radiation Therapy Robots

    - Drug Delivery Robots

- Molecular Imaging

  - Targeted Imaging Agents

    - Antibody-Based Agents

    - Peptide-Based Agents

    - Nanoparticle Agents

  - Multimodal Imaging

    - Dual-Modality Agents

    - Trimodal Agents

  - Theranostics

    - Combined Imaging and Therapy

    - Personalized Medicine

- Point-of-Care Technologies

  - Portable Imaging Devices

    - Handheld Ultrasound

    - Portable X-Ray

    - Mobile CT and MRI

  - Rapid Diagnostic Tools

    - Lab-on-a-Chip

    - Biosensors

    - Smartphone-Based Diagnostics

  - Telemedicine Applications

    - Remote Monitoring

    - Teleconsultation

    - Store-and-Forward Systems

- Artificial Intelligence in Medical Imaging

  - Machine Learning Fundamentals

    - Supervised Learning

    - Unsupervised Learning

    - Reinforcement Learning

  - Deep Learning Applications

    - Convolutional Neural Networks

      - Architecture Design

      - Training Strategies

    - Image Classification

    - Object Detection

    - Semantic Segmentation

  - Computer-Aided Detection and Diagnosis

    - CAD Systems

    - Performance Metrics

      - Sensitivity and Specificity

      - ROC Analysis

    - Clinical Integration

  - Radiomics

    - Feature Extraction

    - Feature Selection

    - Predictive Modeling

# Regulatory and Ethical Considerations

- Medical Device Regulation

  - Regulatory Bodies

    - FDA

      - Device Classification

      - Approval Pathways

        - 510(k) Clearance

        - Premarket Approval

        - De Novo Classification

    - European Union

      - CE Marking

      - Medical Device Regulation

      - Notified Bodies

    - Other International Bodies

      - Health Canada

      - TGA Australia

      - PMDA Japan

  - Quality Management Systems

    - ISO 13485

    - Design Controls

    - Risk Management

      - ISO 14971

      - Risk Analysis

      - Risk Control

  - Clinical Evaluation

    - Clinical Trials

    - Post-Market Surveillance

    - Adverse Event Reporting

- Quality Assurance and Quality Control

  - Equipment Performance

    - Acceptance Testing

    - Commissioning

    - Performance Specifications

  - Routine Quality Control

    - Daily Checks

    - Periodic Testing

    - Preventive Maintenance

  - Calibration Procedures

    - Calibration Standards

    - Traceability

    - Calibration Intervals

  - Documentation and Record Keeping

    - Standard Operating Procedures

    - Quality Control Records

    - Audit Trails

- Radiation Safety and Protection

  - Radiation Protection Principles

    - ALARA Principle

    - Justification

    - Optimization

  - Dosimetry

    - Personal Dosimeters

      - Film Badges

      - TLD Badges

      - Electronic Dosimeters

    - Area Monitoring

      - Survey Meters

      - Fixed Monitors

  - Shielding and Protection

    - Structural Shielding

    - Personal Protective Equipment

    - Administrative Controls

  - Regulatory Compliance

    - Radiation Safety Programs

    - License Requirements

    - Inspection and Enforcement

- Patient Safety and Privacy

  - Patient Safety

    - Risk Assessment

    - Incident Reporting

    - Safety Culture

  - Data Privacy and Security

    - HIPAA Compliance

    - Data Encryption

    - Access Controls

  - Informed Consent

    - Risk Communication

    - Consent Documentation

    - Special Populations

  - Medical Error Prevention

    - Human Factors Engineering

    - Fail-Safe Design

    - Error Reporting Systems

- Ethical Issues in Medical Imaging

  - Research Ethics

    - Institutional Review Boards

    - Vulnerable Populations

    - International Guidelines

  - Clinical Ethics

    - Incidental Findings

    - Overdiagnosis

    - Resource Allocation

  - Technology Ethics

    - Artificial Intelligence Bias

    - Algorithmic Transparency

    - Equity of Access

  - Professional Responsibilities

    - Competency Requirements

    - Continuing Education

    - Professional Standards

Created with UsefulLinks