# Circuit Analysis and Design

# Fundamentals of Electric Circuits

- Basic Electrical Quantities

  - Electric Charge

    - Definition and Properties

    - Units of Charge

    - Conservation of Charge

    - Quantization of Charge

  - Electric Current

    - Definition and Direction

    - Units of Current

    - Conventional vs. Electron Flow

    - Current Density

    - Direct Current vs. Alternating Current

  - Voltage and Potential Difference

    - Definition and Measurement

    - Units of Voltage

    - Reference Points and Ground

    - Potential Energy and Work

  - Electric Field and Potential

    - Electric Field Concept

    - Relationship Between Field and Potential

    - Field Lines and Equipotential Surfaces

  - Power and Energy

    - Definition of Power

    - Units of Power

    - Definition of Energy

    - Units of Energy

    - Power-Voltage-Current Relationship

    - Energy Conservation in Circuits

- Circuit Elements and Models

  - Passive Elements

    - Resistors

      - Resistance and Resistivity

      - Ohm's Law for Resistors

      - Color Code and Identification

      - Power Rating and Derating

      - Temperature Coefficient

      - Variable Resistors and Potentiometers

    - Capacitors

      - Capacitance and Physical Structure

      - Dielectric Materials

      - Types of Capacitors

      - Voltage Rating and Breakdown

      - Leakage and Equivalent Series Resistance

      - Temperature and Frequency Effects

    - Inductors

      - Inductance and Physical Structure

      - Magnetic Field and Flux Linkage

      - Types of Inductors

      - Core Materials and Effects

      - Quality Factor and Losses

      - Self-Inductance vs. Mutual Inductance

  - Active Elements

    - Independent Sources

      - Voltage Sources

        - Ideal Voltage Source

        - Practical Voltage Source with Internal Resistance

        - DC and AC Voltage Sources

      - Current Sources

        - Ideal Current Source

        - Practical Current Source with Internal Resistance

        - DC and AC Current Sources

    - Dependent Sources

      - Voltage-Controlled Voltage Source

      - Voltage-Controlled Current Source

      - Current-Controlled Voltage Source

      - Current-Controlled Current Source

      - Symbol Representation and Circuit Notation

      - Linear vs. Nonlinear Dependent Sources

- Fundamental Laws and Principles

  - Ohm's Law

    - Mathematical Formulation

    - Graphical Representation

    - Limitations and Applicability

    - Non-Ohmic Materials

  - Kirchhoff's Laws

    - Kirchhoff's Current Law

      - Statement and Physical Basis

      - Application at Nodes

      - Sign Conventions

    - Kirchhoff's Voltage Law

      - Statement and Physical Basis

      - Application around Loops

      - Sign Conventions

  - Conservation Laws in Circuits

    - Conservation of Charge

    - Conservation of Energy

    - Power Balance in Circuits

# Resistive Circuit Analysis

- Series and Parallel Combinations

  - Resistors in Series

    - Equivalent Resistance Calculation

    - Voltage Distribution

    - Current Characteristics

  - Resistors in Parallel

    - Equivalent Resistance Calculation

    - Current Distribution

    - Voltage Characteristics

  - Mixed Series-Parallel Combinations

    - Step-by-Step Reduction Methods

    - Complex Network Simplification

- Voltage and Current Division

  - Voltage Divider Rule

    - Derivation and Application

    - Loading Effects

    - Practical Considerations

  - Current Divider Rule

    - Derivation and Application

    - Extension to Multiple Branches

- Network Transformations

  - Wye-Delta Transformations

    - Wye to Delta Conversion

    - Delta to Wye Conversion

    - Applications in Circuit Simplification

  - Source Transformations

    - Voltage Source to Current Source

    - Current Source to Voltage Source

    - Equivalence Conditions

- Circuits with Dependent Sources

  - Identifying Dependent Sources

  - Analysis Techniques

  - Control Variable Identification

  - Special Considerations

# Systematic Circuit Analysis Methods

- Nodal Analysis

  - Node Voltage Method

    - Reference Node Selection

    - Node Voltage Definition

    - Setting Up Node Equations

  - Nodal Analysis with Voltage Sources

    - Voltage Sources Connected to Reference Node

    - Voltage Sources Between Nodes

  - Supernode Concept

    - Definition and Identification

    - Writing Supernode Equations

    - Constraint Equations

  - Nodal Analysis with Dependent Sources

    - Incorporating Control Variables

    - Additional Constraint Equations

- Mesh Analysis

  - Mesh Current Method

    - Mesh Definition and Selection

    - Mesh Current Direction

    - Setting Up Mesh Equations

  - Mesh Analysis with Current Sources

    - Current Sources in Single Mesh

    - Current Sources Common to Multiple Meshes

  - Supermesh Concept

    - Definition and Identification

    - Writing Supermesh Equations

    - Constraint Equations

  - Mesh Analysis with Dependent Sources

    - Incorporating Control Variables

    - Additional Constraint Equations

- Method Selection and Comparison

  - Criteria for Choosing Analysis Method

  - Advantages and Limitations

  - Computational Efficiency

  - Problem-Specific Considerations

# Circuit Theorems and Network Analysis

- Linearity and Superposition

  - Linearity Property

    - Definition and Mathematical Basis

    - Conditions for Linearity

    - Homogeneity and Additivity

  - Superposition Theorem

    - Statement and Theoretical Foundation

    - Step-by-Step Application Procedure

    - Limitations and Restrictions

    - Power Calculations and Superposition

- Equivalent Circuit Theorems

  - Thevenin's Theorem

    - Statement and Theoretical Basis

    - Finding Thevenin Equivalent Voltage

    - Finding Thevenin Equivalent Resistance

    - Application Examples and Procedures

    - Limitations and Special Cases

  - Norton's Theorem

    - Statement and Theoretical Basis

    - Finding Norton Equivalent Current

    - Finding Norton Equivalent Resistance

    - Application Examples and Procedures

    - Thevenin-Norton Equivalence

  - Maximum Power Transfer Theorem

    - Statement and Mathematical Derivation

    - Conditions for Maximum Power Transfer

    - Load Resistance Optimization

    - Efficiency Considerations

    - Applications in Practical Circuits

# Operational Amplifiers

- Ideal Op-Amp Model

  - Fundamental Assumptions

    - Infinite Open-Loop Gain

    - Infinite Input Resistance

    - Zero Output Resistance

    - Infinite Bandwidth

  - Virtual Short and Virtual Ground Concepts

    - Physical Interpretation

    - Application in Analysis

  - Golden Rules of Op-Amp Analysis

- Basic Op-Amp Configurations

  - Inverting Amplifier

    - Circuit Topology

    - Gain Derivation

    - Input and Output Characteristics

  - Non-Inverting Amplifier

    - Circuit Topology

    - Gain Derivation

    - Input and Output Characteristics

  - Voltage Follower

    - Circuit Topology and Operation

    - Unity Gain Buffer Applications

  - Summing Amplifier

    - Inverting Summing Configuration

    - Non-Inverting Summing Configuration

    - Weighted Summing

  - Difference Amplifier

    - Circuit Topology

    - Differential Gain Calculation

    - Common-Mode Rejection

    - Instrumentation Applications

- Advanced Op-Amp Applications

  - Integrators and Differentiators

    - Integrator Circuit Design

    - Differentiator Circuit Design

    - Frequency Response Characteristics

    - Practical Limitations

  - Comparators and Schmitt Triggers

    - Zero-Crossing Detector

    - Level Detector

    - Window Comparator

    - Hysteresis and Noise Immunity

  - Active Filters

    - First-Order Active Filters

    - Second-Order Active Filters

    - Filter Design Considerations

# Energy Storage Elements and Transient Analysis

- Capacitors in Circuits

  - Capacitance and Current-Voltage Relationship

    - Definition of Capacitance

    - Mathematical I-V Relationship

    - Physical Interpretation

  - Energy Storage in Capacitors

    - Energy Formula Derivation

    - Charging and Discharging Behavior

    - Energy Transfer Mechanisms

  - Capacitor Combinations

    - Series Combination

    - Parallel Combination

    - Mixed Combinations

  - Initial Conditions and Continuity

    - Voltage Continuity Property

    - Initial Condition Determination

- Inductors in Circuits

  - Inductance and Current-Voltage Relationship

    - Definition of Inductance

    - Mathematical I-V Relationship

    - Magnetic Field Considerations

  - Energy Storage in Inductors

    - Energy Formula Derivation

    - Magnetic Field Energy

    - Energy Transfer Mechanisms

  - Inductor Combinations

    - Series Combination

    - Parallel Combination

    - Mixed Combinations

  - Initial Conditions and Continuity

    - Current Continuity Property

    - Initial Condition Determination

- First-Order Transient Analysis

  - Source-Free RC Circuits

    - Natural Response Derivation

    - Time Constant Concept

    - Exponential Decay Characteristics

  - Source-Free RL Circuits

    - Natural Response Derivation

    - Time Constant Concept

    - Exponential Decay Characteristics

  - Step Response Analysis

    - RC Circuit Step Response

    - RL Circuit Step Response

    - Forced and Natural Response Components

    - Initial and Final Value Determination

  - General First-Order Circuits

    - Standard Form and Solution Method

    - Time Constant Identification

    - Complete Response Formulation

- Second-Order Transient Analysis

  - Source-Free RLC Circuits

    - Series RLC Circuit Analysis

    - Parallel RLC Circuit Analysis

    - Characteristic Equation Formation

    - Initial Condition Application

  - RLC Circuit Step Response

    - Complete Response Derivation

    - Natural and Forced Components

    - Initial and Final Conditions

  - Response Classification

    - Overdamped Response

      - Conditions and Mathematical Form

      - Physical Interpretation

    - Critically Damped Response

      - Conditions and Mathematical Form

      - Optimal Settling Characteristics

    - Underdamped Response

      - Conditions and Mathematical Form

      - Oscillatory Behavior

  - Circuit Parameters and Response

    - Damping Ratio

    - Natural Frequency

    - Quality Factor

    - Bandwidth Relationships

# Sinusoidal Steady-State Analysis

- Sinusoidal Functions and Phasor Representation

  - Sinusoidal Waveform Characteristics

    - Amplitude and Peak Values

    - Frequency and Period

    - Phase Angle and Phase Shift

  - Phasor Concept and Mathematics

    - Complex Number Representation

    - Euler's Formula Application

    - Phasor Diagrams

    - Arithmetic Operations with Phasors

  - Element Relationships in Frequency Domain

    - Resistor Phasor Analysis

    - Capacitor Phasor Analysis

    - Inductor Phasor Analysis

- Impedance and Admittance Concepts

  - Impedance Definition and Properties

    - Mathematical Definition

    - Magnitude and Phase

    - Impedance of Basic Elements

  - Admittance Definition and Properties

    - Mathematical Definition

    - Relationship to Impedance

    - Admittance of Basic Elements

  - Complex Impedance Calculations

    - Series Impedance Combinations

    - Parallel Impedance Combinations

    - Mixed Impedance Networks

- AC Circuit Analysis Techniques

  - Nodal Analysis in Frequency Domain

    - Phasor Node Equations

    - Complex Arithmetic Application

  - Mesh Analysis in Frequency Domain

    - Phasor Mesh Equations

    - Complex Arithmetic Application

  - Circuit Theorems in AC Analysis

    - Thevenin Equivalent for AC Circuits

    - Norton Equivalent for AC Circuits

    - Superposition in Frequency Domain

    - Maximum Power Transfer in AC

# AC Power Analysis

- Power in AC Circuits

  - Instantaneous Power

    - Mathematical Expression

    - Time-Varying Characteristics

  - Average Power

    - Calculation Methods

    - Resistive vs. Reactive Components

  - RMS Values

    - Definition and Significance

    - RMS Calculations for Sinusoidal Waveforms

    - RMS for Non-Sinusoidal Waveforms

- Complex Power Analysis

  - Complex Power Definition

    - Mathematical Formulation

    - Relationship to Voltage and Current Phasors

  - Real Power

    - Definition and Physical Meaning

    - Calculation Methods

  - Reactive Power

    - Definition and Physical Meaning

    - Inductive vs. Capacitive Reactive Power

  - Apparent Power

    - Definition and Calculation

    - Relationship to Real and Reactive Power

  - Power Triangle

    - Geometric Representation

    - Power Factor Relationships

- Power Factor and Correction

  - Power Factor Definition

    - Leading vs. Lagging Power Factor

    - Power Factor Calculation

  - Power Factor Correction

    - Economic and Technical Motivations

    - Capacitive Correction Methods

    - Inductive Correction Methods

    - Correction Circuit Design

- Maximum Power Transfer in AC

  - Conditions for Maximum Power Transfer

  - Complex Load Matching

  - Efficiency Considerations

# Frequency Response and Resonance

- Transfer Functions

  - Definition and Derivation

    - Input-Output Relationships

    - Frequency Domain Representation

  - Poles and Zeros

    - Mathematical Identification

    - Physical Interpretation

    - Effect on Frequency Response

- Frequency Response Analysis

  - Magnitude Response

    - Decibel Scale

    - Magnitude Plots

  - Phase Response

    - Phase Angle Calculation

    - Phase Plots

  - Bode Plot Construction

    - Straight-Line Approximations

    - Corner Frequencies

    - Slope Interpretation

- Resonance Phenomena

  - Series Resonance

    - Resonant Frequency Derivation

    - Impedance Characteristics

    - Current and Voltage Behavior

    - Quality Factor and Bandwidth

  - Parallel Resonance

    - Resonant Frequency Derivation

    - Impedance Characteristics

    - Current and Voltage Behavior

    - Quality Factor and Bandwidth

  - Resonance Applications

    - Frequency Selectivity

    - Filter Design

    - Oscillator Circuits

# Filter Circuits

- Passive Filter Design

  - First-Order Filters

    - RC Low-Pass Filter

      - Circuit Topology

      - Transfer Function

      - Frequency Response

    - RC High-Pass Filter

      - Circuit Topology

      - Transfer Function

      - Frequency Response

    - RL Low-Pass Filter

    - RL High-Pass Filter

  - Second-Order Passive Filters

    - RLC Band-Pass Filter

    - RLC Band-Stop Filter

    - Quality Factor Effects

- Active Filter Design

  - First-Order Active Filters

    - Active Low-Pass Filter

    - Active High-Pass Filter

    - Advantages over Passive Filters

  - Second-Order Active Filters

    - Sallen-Key Topology

      - Low-Pass Configuration

      - High-Pass Configuration

      - Band-Pass Configuration

    - Multiple Feedback Topology

  - Filter Specifications

    - Passband and Stopband

    - Cutoff Frequency

    - Roll-Off Rate

    - Ripple and Attenuation

# Magnetically Coupled Circuits

- Mutual Inductance

  - Physical Basis of Mutual Inductance

  - Mathematical Definition

  - Dot Convention and Polarity

  - Coupling Coefficient

- Analysis of Coupled Circuits

  - Voltage Equations for Coupled Coils

  - Energy Storage in Coupled Circuits

  - Equivalent Circuit Models

- Transformer Principles

  - Ideal Transformer Model

    - Turns Ratio Relationships

    - Voltage and Current Transformation

    - Power Conservation

  - Practical Transformer Considerations

    - Leakage Inductance

    - Winding Resistance

    - Core Losses

  - Impedance Transformation

    - Referred Impedance Concept

    - Load Matching Applications

- Three-Phase Systems Introduction

  - Three-Phase Generation

  - Wye and Delta Connections

  - Line and Phase Relationships

  - Balanced vs. Unbalanced Systems

# Two-Port Network Analysis

- Two-Port Parameters

  - Impedance Parameters

    - Z-Parameter Definition

    - Measurement Techniques

    - Matrix Representation

  - Admittance Parameters

    - Y-Parameter Definition

    - Measurement Techniques

    - Matrix Representation

  - Hybrid Parameters

    - h-Parameter Definition

    - Applications in Transistor Modeling

  - Transmission Parameters

    - ABCD-Parameter Definition

    - Cascade Connection Applications

- Parameter Conversions

  - Conversion Between Parameter Sets

  - Conditions for Conversion Validity

- Network Interconnections

  - Series Connection of Two-Ports

  - Parallel Connection of Two-Ports

  - Cascade Connection of Two-Ports

  - Applications in System Analysis

# Circuit Design Fundamentals

- Design Process and Methodology

  - Problem Definition and Specification

  - Design Requirements Analysis

  - Performance vs. Cost Trade-offs

  - Design Iteration and Optimization

- Component Selection and Specifications

  - Standard Component Values

  - Tolerance Analysis and Design Margins

  - Temperature and Environmental Effects

  - Reliability and Lifetime Considerations

- Design Verification and Testing

  - Simulation vs. Measurement

  - Prototype Development

  - Performance Validation

  - Design Documentation

- Computer-Aided Analysis

  - SPICE Simulation Fundamentals

    - Circuit Netlist Creation

    - Analysis Types

    - Simulation Setup and Execution

    - Result Interpretation

  - Design Software Tools

  - Model Validation and Correlation

Created with UsefulLinks