# Earthquake Engineering

# Introduction to Earthquake Engineering

- Historical Context and Evolution

  - Early Earthquake-Resistant Structures

    - Ancient Construction Techniques

    - Traditional Building Methods in Seismic Regions

  - Major Earthquake Events and Lessons Learned

    - 1906 San Francisco Earthquake

    - 1923 Great Kanto Earthquake

    - 1985 Mexico City Earthquake

    - 1994 Northridge Earthquake

    - 1995 Kobe Earthquake

    - 2011 Tohoku Earthquake

  - Development of Seismic Codes and Standards

    - Evolution of Building Codes

    - International Code Development

    - Performance-Based Design Evolution

- Scope and Objectives

  - Definition of Earthquake Engineering

  - Goals of Seismic Safety

    - Life Safety Protection

    - Property Protection

    - Functional Continuity

  - Role in Civil Infrastructure

    - Building Design Applications

    - Infrastructure Protection

    - Risk Mitigation Strategies

- Interdisciplinary Nature

  - Integration with Geology

    - Seismic Hazard Assessment

    - Site Characterization

  - Integration with Structural Engineering

    - Dynamic Analysis Methods

    - Design Methodologies

  - Integration with Geotechnical Engineering

    - Soil-Structure Interaction

    - Foundation Design

  - Integration with Urban Planning and Architecture

    - Land Use Planning

    - Building Configuration

# Fundamentals of Seismology

- Plate Tectonics and Faults

  - Theory of Plate Tectonics

    - Lithospheric Plates

      - Continental Plates

      - Oceanic Plates

      - Plate Composition and Structure

    - Plate Movements and Interactions

      - Driving Forces

      - Relative Motion Types

  - Types of Plate Boundaries

    - Divergent Boundaries

      - Mid-Ocean Ridges

      - Continental Rifts

    - Convergent Boundaries

      - Oceanic-Continental Convergence

      - Oceanic-Oceanic Convergence

      - Continental-Continental Convergence

    - Transform Boundaries

      - Strike-Slip Motion

      - Transform Faults

  - Fault Mechanisms

    - Normal Faulting

      - Extensional Stress Regime

      - Fault Geometry

    - Reverse Faulting

      - Compressional Stress Regime

      - Thrust Fault Characteristics

    - Strike-Slip Faulting

      - Lateral Motion

      - Right-Lateral and Left-Lateral Faults

    - Oblique Faulting

      - Combined Motion Components

  - Earthquake Generation Process

    - Elastic Rebound Theory

      - Stress Accumulation

      - Sudden Release Mechanism

    - Seismic Cycle

      - Interseismic Period

      - Coseismic Rupture

      - Postseismic Adjustment

- Seismic Waves

  - Body Waves

    - P-waves

      - Compressional Wave Motion

      - Velocity Characteristics

      - Propagation Through Different Media

      - Effects on Structures

    - S-waves

      - Shear Wave Motion

      - Velocity Characteristics

      - Propagation Limitations

      - Effects on Structures

  - Surface Waves

    - Love Waves

      - Horizontal Shear Motion

      - Dispersion Characteristics

      - Amplitude Decay

    - Rayleigh Waves

      - Elliptical Particle Motion

      - Penetration Depth

      - Ground Roll Effects

  - Wave Propagation and Attenuation

    - Reflection and Refraction

      - Interface Effects

      - Critical Angles

    - Scattering and Absorption

      - Geometric Spreading

      - Material Damping

    - Site Effects on Wave Propagation

      - Impedance Contrasts

      - Topographic Effects

- Measurement of Earthquakes

  - Seismographs and Accelerographs

    - Instrumentation Principles

      - Inertial Mass Systems

      - Transducer Types

    - Installation and Maintenance

      - Site Selection Criteria

      - Calibration Procedures

    - Data Acquisition and Processing

      - Digital Recording Systems

      - Signal Processing Techniques

  - Earthquake Magnitude Scales

    - Richter Scale

      - Local Magnitude Calculation

      - Distance Corrections

      - Limitations and Applicability

    - Moment Magnitude Scale

      - Seismic Moment Calculation

      - Advantages over Other Scales

      - Global Applicability

    - Other Magnitude Scales

      - Body Wave Magnitude

      - Surface Wave Magnitude

  - Earthquake Intensity Scales

    - Modified Mercalli Intensity Scale

      - Intensity Level Descriptions

      - Observational Basis

      - Applications and Limitations

    - Other Intensity Scales

      - European Macroseismic Scale

      - Japan Meteorological Agency Scale

# Characterization of Earthquake Ground Motion

- Strong Motion Records

  - Ground Motion Recording Networks

    - Network Design and Coverage

    - Instrument Deployment Strategies

  - Data Processing and Interpretation

    - Baseline Correction

    - Filtering Techniques

    - Quality Control Procedures

- Key Ground Motion Parameters

  - Peak Ground Acceleration

    - Definition and Measurement

    - Relationship to Damage

  - Peak Ground Velocity

    - Significance for Structural Response

    - Correlation with Intensity

  - Peak Ground Displacement

    - Measurement Challenges

    - Applications in Design

  - Duration of Strong Shaking

    - Definition Methods

    - Bracketed Duration

    - Significant Duration

  - Arias Intensity

    - Energy-Based Parameter

    - Calculation Method

  - Cumulative Absolute Velocity

    - Damage Correlation

    - Threshold Values

- Frequency Content and Fourier Spectra

  - Fourier Transform of Ground Motion

    - Mathematical Foundation

    - Computational Methods

  - Amplitude and Phase Spectra

    - Frequency Domain Representation

    - Dominant Frequencies

  - Significance for Structural Response

    - Resonance Considerations

    - Filtering Effects

- Response Spectra

  - Elastic Design Response Spectrum

    - Construction Method

    - SDOF System Response

    - Interpretation and Use

  - Inelastic Response Spectrum

    - Ductility Effects

    - Strength Reduction Factors

  - Site-Specific Response Spectrum

    - Site Classification Systems

    - Local Amplification Effects

    - Soil-Structure Interaction

# Seismic Hazard Analysis

- Deterministic Seismic Hazard Analysis

  - Selection of Scenario Earthquakes

    - Controlling Earthquakes

    - Maximum Credible Events

  - Calculation of Ground Motions

    - Attenuation Relationships

    - Site-Specific Modifications

  - Limitations and Applications

    - Conservative Approach

    - Critical Facility Design

- Probabilistic Seismic Hazard Analysis

  - Seismic Source Characterization

    - Source Zone Definition

    - Fault Source Models

    - Recurrence Relationships

  - Ground Motion Prediction Equations

    - Empirical Relationships

    - Functional Forms

    - Uncertainty Quantification

  - Calculation of Seismic Hazard Curves

    - Integration Process

    - Annual Exceedance Probabilities

    - Return Periods

  - Hazard Deaggregation

    - Magnitude-Distance Contributions

    - Controlling Scenarios

  - Logic Trees and Uncertainty

    - Epistemic Uncertainty

    - Aleatory Variability

    - Sensitivity Analysis

- Seismic Hazard Maps

  - Map Development Process

    - Grid-Based Calculations

    - Smoothing Techniques

  - Interpretation and Use

    - Design Ground Motions

    - Risk Assessment Applications

  - Limitations and Updates

    - Model Uncertainties

    - Periodic Revisions

# Geotechnical Earthquake Engineering

- Dynamic Soil Properties

  - Shear Modulus

    - Small-Strain Shear Modulus

    - Strain-Dependent Degradation

    - Temperature and Confining Pressure Effects

  - Damping Ratio

    - Material Damping

    - Measurement Techniques

    - Strain Dependency

  - Strain-Dependent Behavior

    - Modulus Reduction Curves

    - Damping Increase with Strain

    - Nonlinear Soil Models

- Site Response Analysis

  - Ground Motion Amplification

    - Impedance Effects

    - Resonance Phenomena

    - Deamplification Mechanisms

  - One-Dimensional Site Response

    - Layered Soil Models

    - Wave Propagation Theory

    - Equivalent Linear Analysis

    - Nonlinear Analysis Methods

  - Two-Dimensional and Three-Dimensional Analysis

    - Complex Site Geometries

    - Topographic Effects

    - Numerical Modeling Approaches

- Soil Liquefaction

  - Mechanism of Liquefaction

    - Pore Water Pressure Generation

    - Effective Stress Reduction

    - Triggering Conditions

  - Evaluation of Liquefaction Potential

    - Field Testing Methods

      - Standard Penetration Test

      - Cone Penetration Test

      - Shear Wave Velocity Measurements

    - Laboratory Testing Methods

      - Cyclic Triaxial Tests

      - Cyclic Simple Shear Tests

    - Empirical Correlations

      - SPT-Based Methods

      - CPT-Based Methods

      - Vs-Based Methods

  - Consequences of Liquefaction

    - Lateral Spreading

      - Displacement Estimation

      - Damage Mechanisms

    - Settlement

      - Volumetric Strain Methods

      - Post-Liquefaction Reconsolidation

    - Loss of Bearing Capacity

      - Foundation Failure Modes

      - Bearing Capacity Reduction

    - Sand Boils and Ground Fissures

      - Surface Manifestations

      - Subsurface Flow Patterns

  - Mitigation Techniques

    - Ground Improvement Methods

      - Densification Techniques

      - Reinforcement Methods

    - Drainage Systems

      - Gravel Drains

      - Prefabricated Vertical Drains

    - Soil Replacement

      - Excavation and Backfill

      - Material Selection

    - Grouting Techniques

      - Chemical Grouting

      - Compaction Grouting

- Seismic Slope Stability

  - Slope Failure Mechanisms

    - Sliding Failures

    - Flow Failures

    - Toppling Failures

  - Pseudostatic Analysis

    - Seismic Coefficient Method

    - Factor of Safety Calculation

    - Limitations

  - Newmark Sliding Block Analysis

    - Displacement Calculation

    - Critical Acceleration

    - Empirical Correlations

  - Remediation and Stabilization

    - Slope Modification

    - Drainage Improvements

    - Reinforcement Systems

# Structural Dynamics

- Single-Degree-of-Freedom Systems

  - Equation of Motion

    - Newton's Second Law Application

    - Force Equilibrium

    - Mass-Spring-Damper Model

  - Undamped Free Vibration

    - Natural Frequency

    - Natural Period

    - Initial Condition Effects

  - Damped Free Vibration

    - Viscous Damping

    - Critical Damping

    - Overdamped and Underdamped Response

    - Logarithmic Decrement

  - Response to Harmonic Excitation

    - Steady-State Response

    - Resonance Phenomena

    - Dynamic Amplification Factor

    - Phase Relationships

  - Response to General Dynamic Loading

    - Duhamel Integral

    - Convolution Integral

    - Numerical Integration Methods

  - Response to Earthquake Ground Motion

    - Relative and Absolute Motion

    - Time History Analysis

    - Response Spectrum Application

- Multi-Degree-of-Freedom Systems

  - Equations of Motion

    - Matrix Formulation

    - Mass, Stiffness, and Damping Matrices

    - Influence Coefficients

  - Natural Frequencies and Mode Shapes

    - Eigenvalue Problem

    - Orthogonality Properties

    - Mode Shape Normalization

  - Modal Analysis

    - Mode Superposition Principle

    - Modal Coordinates

    - Uncoupling of Equations

  - Modal Superposition Method

    - Modal Participation Factors

    - Modal Responses

    - Response Combination Rules

- Continuous Systems

  - Beams and Shear Buildings

    - Governing Differential Equations

    - Boundary Conditions

    - Mode Shapes and Frequencies

  - Distributed Parameter Systems

    - Partial Differential Equations

    - Separation of Variables

- Nonlinear Structural Response

  - Material Nonlinearity

    - Hysteretic Behavior

    - Cyclic Loading Effects

    - Energy Dissipation Mechanisms

  - Geometric Nonlinearity

    - P-Delta Effects

    - Large Displacement Theory

    - Stability Considerations

# Seismic Analysis of Structures

- Linear Static Analysis

  - Equivalent Lateral Force Procedure

    - Base Shear Calculation

    - Vertical Distribution of Forces

    - Torsional Effects

    - Assumptions and Limitations

- Linear Dynamic Analysis

  - Modal Response Spectrum Analysis

    - Mode Shape Calculation

    - Modal Responses

    - Response Combination Methods

      - Square Root of Sum of Squares

      - Complete Quadratic Combination

  - Linear Time History Analysis

    - Ground Motion Selection

    - Scaling Procedures

    - Response Interpretation

- Nonlinear Static Analysis

  - Pushover Analysis

    - Load Patterns

    - Capacity Curve Development

    - Target Displacement

    - Performance Point Determination

  - Capacity Spectrum Method

    - Demand Spectrum

    - Capacity Spectrum

    - Performance Point Intersection

- Nonlinear Dynamic Analysis

  - Inelastic Time History Analysis

    - Ground Motion Selection and Scaling

    - Hysteretic Models

    - Integration Algorithms

    - Response Interpretation

# Principles of Seismic-Resistant Design

- Design Philosophy

  - Performance Objectives

    - Immediate Occupancy

    - Life Safety

    - Collapse Prevention

  - Multi-Level Design Approach

    - Service Level Earthquakes

    - Design Level Earthquakes

    - Maximum Considered Earthquakes

- Key Concepts in Seismic Design

  - Ductility and Energy Dissipation

    - Ductility Demand and Capacity

    - Hysteretic Energy Dissipation

    - Plastic Hinge Formation

  - Strength and Stiffness

    - Strength Requirements

    - Stiffness Considerations

    - Overstrength Factors

  - Configuration and Regularity

    - Plan Regularity

      - Symmetry Requirements

      - Torsional Irregularities

      - Re-entrant Corners

    - Vertical Regularity

      - Soft Story Effects

      - Weak Story Effects

      - Mass Irregularities

  - Redundancy

    - Multiple Load Paths

    - Structural Redundancy Factors

  - Load Path Continuity

    - Force Transfer Mechanisms

    - Connection Design

- Capacity Design Principles

  - Strong-Column Weak-Beam Concept

    - Moment Frame Applications

    - Column-to-Beam Strength Ratios

  - Hierarchy of Strength

    - Ductile vs. Brittle Failure Modes

    - Capacity Protection

  - Detailing for Ductility

    - Confinement Requirements

    - Splice Locations

    - Anchorage Details

- Seismic Design Codes and Standards

  - Code Development Process

    - Consensus Standards

    - Research Integration

  - Force-Based Design

    - Design Base Shear

    - Response Modification Factors

    - Deflection Amplification

  - Displacement-Based Design

    - Drift Limits

    - Story Drift Calculations

  - Performance-Based Seismic Design

    - Performance Objectives

    - Acceptance Criteria

    - Analysis Requirements

# Design of Structural Systems for Seismic Resistance

- Moment-Resisting Frames

  - Steel Moment Frames

    - Ordinary Moment Frames

    - Intermediate Moment Frames

    - Special Moment Frames

    - Connection Design and Detailing

  - Reinforced Concrete Moment Frames

    - Ordinary Moment Frames

    - Intermediate Moment Frames

    - Special Moment Frames

    - Beam-Column Joint Design

    - Confinement Requirements

- Braced Frames

  - Concentrically Braced Frames

    - Ordinary Concentrically Braced Frames

    - Special Concentrically Braced Frames

    - Brace Types and Configurations

    - Buckling Considerations

  - Eccentrically Braced Frames

    - Link Design Requirements

    - Shear Links vs. Flexural Links

    - Energy Dissipation Mechanisms

- Structural Walls

  - Reinforced Concrete Shear Walls

    - Ordinary Shear Walls

    - Special Reinforced Concrete Shear Walls

    - Wall Aspect Ratio Effects

    - Boundary Element Design

  - Steel Plate Shear Walls

    - Unstiffened Steel Plate Shear Walls

    - Stiffened Steel Plate Shear Walls

    - Plate Buckling Behavior

- Dual Systems

  - Frame-Wall Interaction

  - Force Distribution

  - Proportioning Requirements

- Diaphragms and Collectors

  - Diaphragm Types

    - Rigid Diaphragms

    - Semi-Rigid Diaphragms

    - Flexible Diaphragms

  - Diaphragm Design Forces

  - Collector Element Design

  - Chord Force Calculations

- Foundation Design

  - Shallow Foundations

    - Spread Footings

    - Combined Footings

    - Mat Foundations

    - Overturning and Sliding Checks

  - Deep Foundations

    - Pile Types and Selection

    - Pile Group Effects

    - Lateral Load Resistance

    - Pile Cap Design

# Seismic Design of Non-Structural Components

- Classification and Importance

  - Life Safety Components

  - Property Protection Components

  - Essential vs. Non-Essential Systems

- Seismic Forces on Components

  - Component Acceleration

  - Amplification Factors

  - Interaction Effects

- Anchorage and Bracing Design

  - Anchorage to Structure

  - Bracing Systems

  - Connection Details

- Acceleration-Sensitive Components

  - Equipment and Machinery

  - Storage Systems

  - Architectural Elements

- Displacement-Sensitive Components

  - Piping Systems

  - Ductwork

  - Utility Lines

  - Expansion Joints and Flexible Connections

# Seismic Evaluation and Retrofitting of Existing Structures

- Vulnerability Assessment

  - Rapid Visual Screening

    - Screening Procedures

    - Data Collection Forms

    - Scoring Systems

    - Prioritization Methods

  - Detailed Structural Evaluation

    - Linear Analysis Methods

    - Nonlinear Analysis Methods

    - Material Property Assessment

    - Condition Assessment

- Retrofit Strategies

  - Strengthening Techniques

    - Adding Shear Walls

    - Adding Braced Frames

    - Column and Beam Jacketing

    - Fiber-Reinforced Polymer Applications

  - Stiffening Modifications

    - Addition of Stiff Elements

    - Infill Walls

  - Ductility Improvements

    - Detailing Modifications

    - Confinement Enhancement

  - Mass Reduction

    - Removal of Heavy Elements

    - Material Substitution

  - Foundation Improvements

    - Underpinning Techniques

    - Soil Improvement

    - Foundation Strengthening

# Advanced Seismic Protection Systems

- Seismic Isolation

  - Isolation Principles

    - Period Shift

    - Energy Dissipation

    - Force Reduction

  - Elastomeric Bearings

    - Natural Rubber Bearings

    - Lead-Rubber Bearings

    - High-Damping Rubber Bearings

  - Sliding Bearings

    - Friction Pendulum Systems

    - Curved Surface Sliders

  - System Design Considerations

    - Isolation Period Selection

    - Damping Requirements

    - Displacement Limits

    - Wind and Service Load Effects

- Energy Dissipation Devices

  - Viscous Dampers

    - Linear Viscous Dampers

    - Nonlinear Viscous Dampers

    - Fluid Properties

  - Friction Dampers

    - Sliding Mechanisms

    - Friction Materials

  - Metallic Yielding Dampers

    - Steel Plate Dampers

    - Buckling-Restrained Braces

    - Hysteretic Behavior

  - Tuned Mass Dampers

    - Single Tuned Mass Dampers

    - Multiple Tuned Mass Dampers

    - Tuning Parameters

    - Installation Considerations

# Special Topics in Earthquake Engineering

- Seismic Design of Bridges

  - Bridge Types and Seismic Behavior

    - Simply Supported Bridges

    - Continuous Bridges

    - Cable-Stayed Bridges

    - Suspension Bridges

  - Seismic Analysis Methods

    - Multi-Support Excitation

    - Soil-Structure Interaction

  - Bridge Components

    - Bearings and Expansion Joints

    - Abutments and Foundations

    - Piers and Columns

  - Seismic Isolation Applications

- Seismic Design of Dams

  - Dam Types and Failure Modes

    - Concrete Gravity Dams

    - Arch Dams

    - Embankment Dams

  - Seismic Analysis Methods

    - Pseudo-Static Analysis

    - Dynamic Analysis

    - Fluid-Structure Interaction

  - Seismic Safety Evaluation

  - Retrofit Strategies

- Seismic Design of Industrial Facilities

  - Power Plants

    - Nuclear Power Plants

    - Conventional Power Plants

  - Petrochemical Facilities

  - Manufacturing Plants

  - Special Considerations

    - Process Continuity

    - Hazardous Materials

- Lifeline Earthquake Engineering

  - Water Supply Systems

  - Gas Distribution Systems

  - Electric Power Systems

  - Transportation Networks

  - Communication Systems

  - System Interdependencies

- Tsunami Engineering

  - Tsunami Generation Mechanisms

    - Seismic Tsunamis

    - Landslide Tsunamis

  - Tsunami Propagation and Runup

    - Deep Water Propagation

    - Nearshore Effects

    - Inundation Modeling

  - Tsunami Forces on Structures

    - Hydrodynamic Forces

    - Debris Impact Forces

  - Tsunami-Resistant Design

    - Vertical Evacuation Structures

    - Critical Facility Protection

- Post-Earthquake Reconnaissance

  - Field Investigation Methods

    - Rapid Assessment Techniques

    - Detailed Damage Documentation

  - Damage Classification Systems

    - Structural Damage States

    - Non-Structural Damage Assessment

  - Data Collection and Analysis

    - Ground Motion Correlation

    - Performance Database Development

  - Lessons Learned Integration

    - Code Improvement Recommendations

    - Research Needs Identification

Created with UsefulLinks