# Electron Microscopy

# Fundamentals of Electron Microscopy

- Historical Development of Electron Microscopy

  - Early Discoveries and Inventions

    - Discovery of the Electron

    - Development of Cathode Ray Tubes

    - First Electron Microscope Concepts

  - Key Pioneers and Their Contributions

    - Ernst Ruska and Max Knoll

    - Manfred von Ardenne

    - James Hillier and Albert Prebus

  - Milestones in Instrumentation

    - First Transmission Electron Microscope

    - Development of Scanning Electron Microscopy

    - Introduction of Field Emission Sources

    - Aberration Correction Breakthroughs

- Principles of Electron Optics

  - Wave-Particle Duality of Electrons

    - Experimental Evidence

      - Double-Slit Experiments with Electrons

      - Electron Diffraction Patterns

    - Implications for Imaging

      - Wave Nature and Resolution

      - Coherence Requirements

  - De Broglie Wavelength

    - Theoretical Foundation

    - Calculation and Significance

    - Dependence on Electron Energy

    - Comparison with Photon Wavelengths

  - Electron Acceleration and Energy

    - Accelerating Voltage

      - Voltage Range in Different Microscopes

      - Energy-Wavelength Relationship

    - Relativistic Effects at High Voltages

      - Mass Increase Corrections

      - Velocity Calculations

  - Focusing and Deflection of Electron Beams

    - Magnetic Lenses

      - Solenoid Lens Design

      - Focal Length Control

      - Lens Strength and Current Relationship

    - Electrostatic Lenses

      - Electrode Configurations

      - Applications and Limitations

    - Beam Deflection Systems

      - Magnetic Deflection Coils

      - Electrostatic Deflection Plates

- Comparison with Light Microscopy

  - Resolution Limits

    - Theoretical Resolution Calculations

    - Factors Affecting Resolution

      - Wavelength Dependence

      - Numerical Aperture Effects

    - Practical Resolution in Electron Microscopes

      - Instrumental Limitations

      - Sample-Related Factors

  - Diffraction Limit

    - Abbe's Criterion

      - Mathematical Expression

      - Physical Interpretation

    - Overcoming the Diffraction Limit

      - Super-Resolution Techniques

      - Near-Field Methods

  - Depth of Field and Depth of Focus

    - Definitions and Differences

    - Mathematical Relationships

    - Impact on Imaging

      - Three-Dimensional Information

      - Focus Requirements

  - Magnification

    - Calculation of Magnification

      - Lens System Magnification

      - Total System Magnification

    - Range of Magnification in Electron Microscopes

      - Low Magnification Applications

      - Ultra-High Magnification Capabilities

  - Contrast Mechanisms

    - Absorption Contrast

      - Mass-Thickness Effects

      - Atomic Number Dependence

    - Phase Contrast

      - Interference Effects

      - Weak Phase Objects

    - Scattering Contrast

      - Elastic and Inelastic Contributions

- Electron-Matter Interactions

  - Interaction Volume

    - Monte Carlo Simulations

    - Factors Influencing Interaction Volume

      - Beam Energy Effects

      - Material Density and Atomic Number

    - Implications for Spatial Resolution

      - Lateral and Depth Resolution

      - Signal Generation Volume

  - Elastic Scattering

    - Principles of Elastic Scattering

      - Conservation of Energy

      - Momentum Transfer

    - Rutherford Scattering

      - Classical Scattering Theory

      - Scattering Cross-Section

      - Angular Distribution

      - Screening Effects

    - Bragg Diffraction

      - Crystal Lattice Interactions

      - Diffraction Conditions

      - Structure Factor Effects

      - Kinematical and Dynamical Theory

  - Inelastic Scattering

    - Principles of Inelastic Scattering

      - Energy Transfer Mechanisms

      - Cross-Section Considerations

    - Plasmon Excitation

      - Collective Electron Oscillations

      - Bulk and Surface Plasmons

      - Energy Loss Characteristics

    - Phonon Excitation

      - Lattice Vibrations

      - Energy Transfer to Phonons

    - Inner Shell Ionization

      - Ionization Cross-Sections

      - X-ray Generation

        - Characteristic X-ray Emission

        - Fluorescence Yield

      - Auger Electron Emission

        - Auger Process Mechanism

        - Auger Yield

- Signals Generated from Electron-Matter Interactions

  - Transmitted Electrons

    - Direct Transmission

      - Unscattered Electrons

      - Beam Attenuation

    - Scattered Transmission

      - Elastic Scattering Contributions

      - Inelastic Scattering Contributions

  - Backscattered Electrons

    - Generation Mechanism

      - Multiple Scattering Events

      - Escape Probability

    - Dependence on Atomic Number

      - Backscattering Coefficient

      - Compositional Sensitivity

    - Energy Distribution

      - Elastic Peak

      - Energy Loss Tail

  - Secondary Electrons

    - Generation Mechanism

      - Primary Ionization

      - Cascade Multiplication

    - Surface Sensitivity

      - Escape Depth

      - Topographical Information

    - Energy Distribution

      - Low Energy Characteristics

      - Secondary Electron Yield

  - Auger Electrons

    - Auger Process

      - Three-Electron Process

      - Energy Relationships

    - Surface Analysis Applications

      - Chemical State Information

      - Depth Profiling Capabilities

  - Characteristic X-rays

    - X-ray Emission Process

      - Electron Shell Transitions

      - Selection Rules

    - Elemental Analysis

      - Qualitative Identification

      - Quantitative Analysis Methods

    - Escape Depth and Spatial Resolution

  - Cathodoluminescence

    - Light Emission Mechanism

      - Band Gap Transitions

      - Defect-Related Emission

    - Applications in Material Science

      - Semiconductor Analysis

      - Geological Applications

  - Electron Energy Loss

    - Energy Loss Mechanisms

      - Plasmon Losses

      - Core Losses

      - Phonon Losses

    - Information Obtained from EELS

      - Elemental Composition

      - Chemical Bonding

      - Electronic Structure

# General Instrumentation of Electron Microscopes

- The Electron Column

  - Structure and Function

    - Column Design Principles

    - Vacuum Isolation

    - Mechanical Stability Requirements

  - Alignment and Calibration

    - Optical Axis Alignment

    - Lens Calibration Procedures

    - Systematic Alignment Protocols

- Electron Sources

  - Thermionic Emitters

    - Tungsten Filament

      - Operating Principles

        - Thermionic Emission Theory

        - Work Function Considerations

      - Advantages and Limitations

        - Cost and Simplicity

        - Limited Brightness and Lifetime

      - Operating Conditions

        - Temperature Requirements

        - Vacuum Considerations

    - Lanthanum Hexaboride

      - Material Properties

      - Performance Characteristics

        - Higher Brightness

        - Better Stability

      - Operating Requirements

        - Ultra-High Vacuum Needs

        - Temperature Control

  - Field Emission Guns

    - Cold Field Emission Gun

      - Emission Mechanism

        - Quantum Tunneling

        - Field Enhancement

      - Stability and Brightness

        - Current Fluctuations

        - Brightness Advantages

      - Vacuum Requirements

        - Ultra-High Vacuum Necessity

        - Contamination Sensitivity

    - Schottky Emitter

      - Thermal-Assisted Field Emission

        - Combined Thermal and Field Effects

        - Zirconium Oxide Coating

      - Performance Characteristics

        - Stability vs Cold FEG

        - Brightness vs Thermionic

      - Operating Conditions

        - Temperature Control

        - Vacuum Requirements

  - Comparison of Electron Sources

    - Brightness

      - Definition and Units

      - Comparative Values

    - Energy Spread

      - Chromatic Effects

      - Resolution Implications

    - Lifetime and Maintenance

      - Operational Lifetime

      - Maintenance Requirements

      - Cost Considerations

- Electromagnetic Lenses

  - Condenser Lenses

    - Beam Convergence Control

      - Convergence Angle Adjustment

      - Beam Current Control

    - Illumination Modes

      - Parallel Illumination

      - Convergent Illumination

      - Illumination Aperture Effects

  - Objective Lens

    - Image Formation

      - Primary Image Formation

      - Resolution Determination

    - Lens Design

      - Pole Piece Configuration

      - Magnetic Field Distribution

    - Aberration Contributions

      - Spherical Aberration

      - Chromatic Aberration

  - Intermediate Lenses

    - Magnification Adjustment

      - Variable Magnification Control

      - Image Rotation Effects

    - Diffraction Pattern Formation

      - Camera Length Control

      - Pattern Magnification

  - Projector Lenses

    - Final Image Projection

      - Screen or Detector Projection

      - Final Magnification Stage

    - Image Quality Considerations

      - Distortion Minimization

      - Resolution Preservation

- Lens Aberrations and Corrections

  - Spherical Aberration

    - Physical Origin

      - Off-Axis Ray Focusing

      - Lens Field Non-Uniformity

    - Causes and Effects

      - Resolution Degradation

      - Image Blurring

    - Correction Methods

      - Aberration Corrector Design

      - Multipole Correctors

  - Chromatic Aberration

    - Energy Spread Effects

      - Source Energy Spread

      - Specimen Interactions

    - Correction Techniques

      - Monochromators

      - Chromatic Aberration Correctors

  - Astigmatism

    - Origin and Causes

      - Lens Manufacturing Imperfections

      - Contamination Effects

    - Correction Methods

      - Stigmator Adjustments

      - Octupole Correctors

  - Coma

    - Off-Axis Aberrations

      - Beam Tilt Effects

      - Lens Misalignment

    - Correction Approaches

      - Alignment Procedures

      - Coma Correctors

  - Distortion

    - Image Geometry Effects

      - Barrel and Pincushion Distortion

      - Measurement Accuracy Impact

    - Correction Methods

      - Software Correction

      - Hardware Compensation

  - Aberration Correctors

    - Types of Correctors

      - Spherical Aberration Correctors

      - Chromatic Aberration Correctors

    - Impact on Resolution

      - Sub-Angstrom Resolution Achievement

      - Information Limit Extension

    - Operational Considerations

      - Stability Requirements

      - Alignment Complexity

- Apertures

  - Condenser Aperture

    - Beam Current Control

      - Aperture Size Effects

      - Illumination Intensity

    - Resolution Effects

      - Coherence Control

      - Diffraction Effects

  - Objective Aperture

    - Contrast Enhancement

      - Diffraction Contrast Control

      - Phase Contrast Effects

    - Diffraction Control

      - Beam Selection

      - Resolution vs Contrast Trade-offs

  - Selected Area Aperture

    - Area Selection for Diffraction

      - Specimen Area Definition

      - Pattern Origin Control

    - Applications in TEM

      - Crystal Structure Analysis

      - Phase Identification

- Vacuum Systems

  - Purpose of High Vacuum

    - Electron Scattering Reduction

      - Mean Free Path Considerations

      - Beam Quality Preservation

    - Contamination Prevention

      - Surface Cleanliness

      - Specimen Integrity

  - Vacuum Level Requirements

    - Pressure Ranges for Different Microscopes

      - SEM Vacuum Requirements

      - TEM Vacuum Requirements

      - FEG Vacuum Requirements

  - Pumping Systems

    - Roughing Pumps

      - Rotary Vane Pumps

        - Operating Principles

        - Oil Contamination Issues

      - Scroll Pumps

        - Dry Pumping Advantages

        - Performance Characteristics

      - Diaphragm Pumps

        - Oil-Free Operation

        - Limited Pumping Speed

    - High Vacuum Pumps

      - Turbomolecular Pumps

        - Operating Principles

          - Molecular Drag Mechanism

          - Rotor Design

        - Maintenance Requirements

          - Bearing Replacement

          - Rotor Balancing

      - Ion Pumps

        - Principle of Operation

          - Ionization and Burial

          - Magnetic Field Requirements

        - Advantages and Limitations

          - Clean Vacuum

          - Limited Pumping Speed

      - Diffusion Pumps

        - Oil-Based Systems

          - Pump Fluid Selection

          - Backstreaming Issues

        - Oil-Free Types

          - Mercury Diffusion Pumps

          - Molecular Drag Pumps

  - Vacuum Gauges

    - Pirani Gauges

      - Thermal Conductivity Principle

      - Pressure Range and Accuracy

    - Ionization Gauges

      - Hot Cathode Gauges

      - Cold Cathode Gauges

      - Pressure Range and Sensitivity

    - Capacitance Manometers

      - Absolute Pressure Measurement

      - High Accuracy Applications

  - Vacuum System Maintenance

    - Leak Detection

      - Helium Leak Detection

      - Pressure Rise Testing

    - Cleaning Procedures

      - Bakeout Procedures

      - Chemical Cleaning Methods

    - Preventive Maintenance

      - Pump Oil Changes

      - Seal Replacement

# Transmission Electron Microscopy

- Operating Principles

  - Parallel Beam Illumination

    - Coherence Requirements

      - Spatial Coherence

      - Temporal Coherence

    - Illumination System Design

      - Condenser Lens Configuration

      - Aperture Selection

  - Electron Transmission Through Thin Specimens

    - Thickness Requirements

      - Electron Transparency Criteria

      - Thickness vs Resolution Trade-offs

    - Multiple Scattering Effects

      - Dynamical Scattering Theory

      - Thickness-Dependent Contrast

- TEM Instrumentation

  - Specimen Holder Systems

    - Single Tilt Holders

      - Tilt Range and Accuracy

      - Mechanical Stability

    - Double Tilt Holders

      - Eucentric Tilting

      - Crystallographic Applications

    - Specialized Holders

      - Cryo Holders

        - Temperature Control

        - Anti-Contamination Systems

      - Heating Holders

        - Temperature Range

        - In-Situ Studies

      - Straining Holders

        - Mechanical Testing

        - Deformation Studies

  - Viewing Screen and Detectors

    - Fluorescent Screens

      - Phosphor Materials

      - Resolution and Sensitivity

    - Digital Detectors

      - CCD Cameras

        - Pixel Size and Resolution

        - Dynamic Range

      - CMOS Detectors

        - Speed Advantages

        - Noise Characteristics

      - Direct Detection Cameras

        - Electron Counting

        - High Speed Imaging

  - Vacuum and Anti-Contamination Systems

    - Specimen Area Vacuum

      - Differential Pumping

      - Contamination Sources

    - Anti-Contamination Devices

      - Cold Traps

      - Plasma Cleaning

- Image Formation and Contrast Mechanisms

  - Mass-Thickness Contrast

    - Scattering Cross-Section Dependence

    - Dependence on Atomic Number and Thickness

    - Quantitative Analysis Applications

  - Diffraction Contrast

    - Crystal Orientation Effects

      - Bragg Condition Satisfaction

      - Orientation-Dependent Intensity

    - Dislocation Imaging

      - Strain Field Contrast

      - Invisibility Criteria

    - Bend Contours

      - Local Orientation Changes

      - Thickness Variations

  - Phase Contrast

    - Interference Effects

      - Wave Function Interference

      - Phase Relationships

    - High-Resolution Imaging

      - Lattice Fringe Formation

      - Structure Image Interpretation

    - Weak Phase Object Approximation

      - Linear Image Formation

      - Phase Contrast Transfer Function

  - Amplitude Contrast

    - Absorption Effects

    - Scattering Amplitude Variations

- TEM Imaging Modes

  - Bright-Field Imaging

    - Principle and Setup

      - Direct Beam Selection

      - Aperture Positioning

    - Applications

      - General Morphology

      - Thickness Variations

    - Contrast Interpretation

      - Mass-Thickness Effects

      - Diffraction Contributions

  - Dark-Field Imaging

    - Centered Dark-Field

      - Selection of Diffracted Beams

      - Beam Tilting Method

      - Aperture Displacement Method

    - Applications

      - Crystal Defect Analysis

      - Precipitate Identification

    - Weak-Beam Dark-Field

      - High-Resolution Defect Imaging

      - Dislocation Core Structure

      - Experimental Setup Requirements

  - High-Resolution TEM

    - Lattice Imaging

      - Atomic Structure Visualization

      - Resolution Requirements

    - Phase Contrast Imaging

      - Image Simulation and Interpretation

      - Structure Factor Considerations

    - Instrumental Requirements

      - Aberration Correction

      - Stability Requirements

  - Annular Dark-Field Imaging in TEM

    - Hollow Cone Illumination

    - Incoherent Imaging Conditions

    - Z-Contrast Applications

- Electron Diffraction in TEM

  - Selected Area Electron Diffraction

    - Area Selection Principles

      - Aperture Size and Position

      - Specimen Area Definition

    - Pattern Acquisition

      - Camera Length Selection

      - Exposure Optimization

    - Diffraction Pattern Types

      - Single Crystal Patterns

      - Polycrystalline Patterns

      - Amorphous Patterns

  - Convergent Beam Electron Diffraction

    - Convergent Probe Formation

    - Fine Structure Analysis

      - Higher Order Laue Zone Lines

      - Symmetry Determination

    - Thickness Measurement

      - Thickness Fringes

      - Quantitative Analysis

  - Analysis of Diffraction Patterns

    - Indexing Patterns

      - Zone Axis Determination

      - Miller Index Assignment

    - Determining Crystal Structure and Orientation

      - Lattice Parameter Measurement

      - Space Group Determination

      - Identification of Defects

        - Stacking Faults

        - Twin Boundaries

        - Dislocations

# Scanning Electron Microscopy

- Operating Principles

  - Focused Electron Beam Probing

    - Beam Spot Size and Resolution

      - Probe Size Limitations

      - Resolution Factors

    - Beam Current Considerations

      - Signal-to-Noise Ratio

      - Specimen Damage

  - Raster Scanning

    - Scan Patterns and Control

      - Line Scanning

      - Frame Scanning

    - Dwell Time and Pixel Size

      - Image Quality Factors

      - Acquisition Speed

  - Signal Detection for Image Formation

    - Signal Types and Collection

      - Simultaneous Multi-Signal Detection

      - Signal Processing

- SEM Instrumentation

  - Scan Coils

    - Beam Deflection and Control

      - Magnetic Deflection System

      - Scan Amplifiers

    - Scan Distortion Correction

      - Linearity Adjustments

      - Geometric Corrections

  - Specimen Chamber and Stage

    - Stage Movement and Control

      - X-Y Translation

      - Z-Height Adjustment

      - Tilt and Rotation

    - Eucentric Stage Design

      - Tilt Axis Alignment

      - Working Distance Optimization

    - Environmental Control

      - Temperature Control

      - Gas Introduction Systems

  - Signal Detectors

    - Everhart-Thornley Detector

      - Working Principle

        - Scintillator-Photomultiplier Design

        - Bias Voltage Effects

      - Signal Amplification

        - Light Pipe Coupling

        - PMT Gain Control

      - Collection Efficiency

        - Geometric Factors

        - Energy Filtering

    - Solid-State Detectors

      - Semiconductor Detector Design

      - Energy and Angle Sensitivity

      - Backscattered Electron Detection

        - Compositional Imaging

        - Topographical Effects

    - In-Lens Detectors

      - High-Resolution Imaging

      - Low Voltage Applications

      - Signal Collection Geometry

    - X-ray Detectors

      - Energy-Dispersive Detectors

      - Wavelength-Dispersive Detectors

      - Detector Positioning and Geometry

- SEM Imaging and Contrast

  - Topographical Contrast

    - Surface Morphology Visualization

      - Shadow Effects

      - Edge Enhancement

    - Secondary Electron Imaging

      - Surface Sensitivity

      - Topographical Information

  - Compositional Contrast

    - Backscattered Electron Imaging

      - Atomic Number Contrast

      - Phase Identification

    - Quantitative Compositional Analysis

      - Standards and Calibration

      - Matrix Effects

  - Edge Effect and Shadowing

    - Geometric Effects

    - Signal Collection Efficiency

  - Charging Effects and Mitigation

    - Charge Accumulation Mechanisms

    - Coating Strategies

    - Low Voltage Imaging

    - Variable Pressure Techniques

- Environmental SEM

  - Principles and Advantages

    - Imaging of Wet and Non-Conductive Samples

      - Natural State Observation

      - Dynamic Process Studies

    - Gas Environment Effects

      - Gas Amplification

      - Pressure Limitations

  - Gaseous Detection Systems

    - Gaseous Secondary Electron Detector

      - Gas Amplification Mechanism

      - Pressure Range Operation

    - Environmental Detector Design

      - Electrode Configuration

      - Signal Collection

  - Pressure Control and Sample Hydration

    - Differential Pumping Systems

    - Peltier Cooling Stages

    - Humidity Control

# Specimen Preparation

- General Considerations

  - Conductivity Requirements

    - Avoiding Charging Artifacts

      - Conductive Pathways

      - Coating Strategies

    - Material-Specific Considerations

      - Insulators vs Conductors

      - Semiconductor Samples

  - Stability under Vacuum and Electron Beam

    - Beam Damage Prevention

      - Dose Rate Limitations

      - Cryogenic Protection

    - Vacuum Compatibility

      - Outgassing Considerations

      - Volatile Component Removal

  - Specimen Mounting

    - Mounting Media and Holders

      - Adhesive Selection

      - Mechanical Fixtures

    - Orientation and Labeling

      - Crystallographic Orientation

      - Sample Identification

- SEM Sample Preparation

  - Cleaning and Drying

    - Removal of Contaminants

      - Solvent Cleaning

      - Ultrasonic Cleaning

    - Drying Techniques

      - Critical Point Drying

        - CO2 Transition Method

        - Apparatus and Procedure

      - Freeze Drying

        - Sublimation Process

        - Temperature Control

      - Air Drying Limitations

        - Surface Tension Effects

        - Structural Collapse

  - Conductive Coating

    - Sputter Coating

      - Gold Coating

        - Grain Size Considerations

        - Thickness Control

      - Platinum Coating

        - Fine Grain Structure

        - High Resolution Applications

      - Other Metal Coatings

        - Palladium

        - Chromium

    - Carbon Coating

      - Evaporation Methods

      - Applications and Limitations

        - X-ray Analysis Compatibility

        - Resolution Considerations

    - Coating Thickness Optimization

      - Conductivity vs Resolution

      - Monitoring Methods

  - Mounting on Stubs

    - Adhesives and Tapes

      - Carbon Tape

      - Silver Paint

      - Conductive Adhesives

    - Orientation for Imaging

      - Cross-Section Preparation

      - Surface Exposure

  - Preparation of Non-Conductive Samples

    - Low Voltage Imaging

    - Variable Pressure Techniques

    - Coating Alternatives

      - Ion Beam Coating

      - Plasma Treatment

- TEM Sample Preparation

  - Requirement for Electron Transparency

    - Thickness Criteria

      - Material-Dependent Limits

      - Energy-Dependent Transmission

    - Uniformity Requirements

      - Thickness Variations

      - Edge Effects

  - Mechanical Thinning and Polishing

    - Grinding and Polishing

      - Abrasive Selection

      - Sequential Grit Reduction

    - Dimpling

      - Dimple Grinder Operation

      - Thickness Monitoring

    - Precision Ion Polishing System

      - Low Angle Ion Milling

      - Final Thinning Stage

  - Electropolishing

    - Electrolyte Selection

      - Material-Specific Solutions

      - Temperature Control

    - Process Control

      - Current Density Optimization

      - Voltage Control

      - Perforation Detection

    - Safety Considerations

      - Chemical Handling

      - Ventilation Requirements

  - Ultramicrotomy

    - Sectioning Techniques

      - Section Thickness Control

      - Cutting Speed Optimization

    - Knife Materials

      - Diamond Knives

      - Glass Knives

    - Sample Embedding

      - Resin Selection

      - Polymerization Control

    - Cryo-Ultramicrotomy

      - Frozen Section Preparation

      - Temperature Control

  - Ion Milling

    - Focused Ion Beam Milling

      - Site-Specific Preparation

        - Target Area Selection

        - Protective Layer Deposition

      - Lift-Out Techniques

        - In-Situ Lift-Out

        - Ex-Situ Lift-Out

      - Cross-Section Preparation

        - Lamella Preparation

        - Final Thinning

    - Broad Beam Ion Milling

      - Thinning Large Areas

      - Ion Gun Configuration

      - Angle and Energy Optimization

      - Artifact Minimization

        - Preferential Sputtering

        - Surface Damage

  - Replica Methods

    - Surface Replication

      - Carbon Replica Preparation

      - Plastic Replica Methods

    - Shadowing Techniques

      - Metal Shadowing

      - Angle and Thickness Control

    - Extraction Replicas

      - Precipitate Extraction

      - Chemical Etching

  - Powder Sample Dispersion

    - Grid Preparation

      - Support Film Selection

      - Grid Material Choice

    - Suspension and Drying

      - Solvent Selection

      - Dispersion Techniques

      - Concentration Optimization

  - Cryo-Preparation Techniques

    - Vitrification

      - Plunge Freezing

      - High Pressure Freezing

    - Freeze-Fracture and Freeze-Etching

      - Fracture Plane Control

      - Sublimation Conditions

    - Cryo-Transfer Systems

      - Contamination Prevention

      - Temperature Maintenance

# Analytical Electron Microscopy

- Spectroscopy Techniques Overview

  - Analytical Methods Integration

    - Simultaneous Imaging and Analysis

    - Complementary Techniques

  - Spatial and Spectral Resolution

    - Probe Size Limitations

    - Detection Limits

    - Resolution Trade-offs

- Energy-Dispersive X-ray Spectroscopy

  - Principles of X-ray Generation

    - Characteristic X-ray Production

      - Inner Shell Ionization

      - Electron Transitions

    - Continuum X-ray Generation

      - Bremsstrahlung Process

      - Energy Distribution

  - Detector Systems

    - Silicon Drift Detectors

      - Operating Principles

      - Performance Characteristics

      - Cooling Requirements

    - Si(Li) Detectors

      - Construction and Operation

      - Resolution and Count Rate

      - Maintenance Requirements

  - Qualitative Analysis

    - Peak Identification

      - X-ray Line Energies

      - Peak Overlap Resolution

    - Spectral Artifacts

      - Escape Peaks

      - Sum Peaks

      - System Peaks

  - Quantitative Analysis

    - Standardless Quantification

      - Theoretical Standards

      - Accuracy Limitations

    - Matrix Corrections

      - ZAF Corrections

      - Phi-Rho-Z Method

    - Thin Film Analysis

      - Cliff-Lorimer Method

      - Absorption Corrections

  - Elemental Mapping

    - Mapping Techniques

      - Spectrum Imaging

      - X-ray Maps

    - Data Processing

      - Background Subtraction

      - Peak Deconvolution

    - Data Interpretation

      - Spatial Resolution Considerations

      - Statistical Significance

  - Limitations and Artifacts

    - Light Element Detection

    - Beam Damage Effects

    - Contamination Issues

- Wavelength-Dispersive X-ray Spectroscopy

  - Principles and Instrumentation

    - Crystal Diffraction for X-ray Selection

      - Bragg's Law Application

      - Crystal Spectrometer Design

    - Detector Systems

      - Gas Proportional Counters

      - Scintillation Detectors

  - Comparison with EDS

    - Resolution Advantages

      - Peak Separation Capability

      - Light Element Analysis

    - Sensitivity Considerations

      - Detection Limits

      - Count Rate Limitations

  - Applications in Microanalysis

    - Trace Element Detection

    - Light Element Quantification

    - High Precision Analysis

- Electron Energy Loss Spectroscopy

  - Principles of Inelastic Scattering Measurement

    - Energy Loss Processes

      - Plasmon Excitation

      - Core Shell Ionization

      - Phonon Interactions

    - Cross-Section Considerations

      - Scattering Probability

      - Angular Dependence

  - EELS Spectrometer Design

    - Magnetic Prism Spectrometers

      - Dispersion Characteristics

      - Energy Resolution

    - Parallel Detection Systems

      - CCD Array Detectors

      - Electron Counting

  - Spectrum Analysis

    - Zero-Loss Peak

      - Instrumental Resolution

      - Energy Calibration

    - Low-Loss Region

      - Plasmon Analysis

        - Bulk Plasmons

        - Surface Plasmons

      - Band Gap Measurements

      - Dielectric Function Determination

    - Core-Loss Region

      - Elemental Identification

        - Ionization Edges

        - Edge Onset Determination

      - Chemical Information

        - Oxidation State Analysis

        - Bonding Environment

      - Fine Structure Analysis

        - ELNES Analysis

        - EXELFS Analysis

  - Energy-Filtered TEM

    - Imaging Modes

      - Zero-Loss Imaging

      - Inelastic Imaging

    - Elemental Mapping

      - Three-Window Method

      - Jump-Ratio Maps

    - Chemical Mapping

      - Core-Loss Maps

      - Plasmon Maps

  - Quantitative Analysis

    - Cross-Section Calculations

    - Background Subtraction

    - Plural Scattering Corrections

  - Limitations and Artifacts

    - Radiation Damage

    - Specimen Thickness Effects

    - Channeling Effects

# Advanced and Specialized Techniques

- Scanning Transmission Electron Microscopy

  - Principle of Convergent Probe

    - Probe Formation and Control

      - Condenser System Design

      - Probe Size Optimization

    - Scanning System

      - Beam Deflection Control

      - Scan Synchronization

  - Annular Dark-Field Imaging

    - High-Angle Annular Dark-Field

      - Z-Contrast Imaging

        - Atomic Number Sensitivity

        - Incoherent Imaging Conditions

      - Detector Geometry

        - Collection Angles

        - Inner and Outer Radii

    - Low-Angle ADF

      - Diffraction Contrast

      - Crystal Defect Imaging

  - Annular Bright-Field Imaging

    - Light Element Imaging

      - Phase Contrast Enhancement

      - Atomic Column Visibility

    - Detector Configuration

      - Central Beam Collection

      - Coherent Imaging Conditions

  - Combining STEM with Spectroscopy

    - Simultaneous Imaging and EELS

      - Spectrum Imaging

      - Chemical Mapping

    - STEM-EDS Analysis

      - High Spatial Resolution Analysis

      - Quantitative Mapping

- Cryo-Electron Microscopy

  - Vitrification of Samples

    - Plunge Freezing

      - Rapid Cooling Rates

      - Ice Crystal Prevention

      - Grid Preparation

    - High-Pressure Freezing

      - Thick Sample Vitrification

      - Pressure-Temperature Relationships

  - Single Particle Analysis

    - Particle Picking and Selection

      - Automated Picking Algorithms

      - Manual Selection Criteria

    - Image Processing

      - Particle Alignment

      - Classification Methods

    - 3D Reconstruction

      - Angular Reconstitution

      - Resolution Assessment

  - Cryo-Electron Tomography

    - Tilt Series Acquisition

      - Angular Range and Increment

      - Dose Fractionation

    - Tomogram Reconstruction

      - Back-Projection Methods

      - Iterative Reconstruction

    - Sub-Tomogram Averaging

      - Structure Determination

      - Resolution Enhancement

  - Sample Handling and Transfer

    - Cryo-Transfer Systems

    - Anti-Contamination Protocols

    - Temperature Maintenance

- Electron Tomography

  - Principle of Tilt Series Acquisition

    - Angular Range and Limitations

      - Missing Wedge Problem

      - Specimen Thickness Effects

    - Tilt Increment Optimization

      - Sampling Requirements

      - Dose Distribution

  - 3D Reconstruction Algorithms

    - Weighted Back Projection

      - Filter Selection

      - Noise Considerations

    - Iterative Reconstruction Methods

      - SIRT Algorithm

      - ART Methods

    - Alignment Procedures

      - Fiducial Marker Tracking

      - Cross-Correlation Methods

  - Applications

    - Materials Science Applications

      - Pore Structure Analysis

      - Defect Characterization

    - Life Sciences Applications

      - Cellular Ultrastructure

      - Organelle Architecture

- Electron Backscatter Diffraction

  - Kikuchi Pattern Formation

    - Diffraction Geometry

      - Bragg Condition Satisfaction

      - Pattern Projection

    - Pattern Indexing

      - Hough Transform Method

      - Band Detection Algorithms

  - Microstructure Analysis

    - Grain Boundary Mapping

      - Misorientation Analysis

      - Boundary Character Distribution

    - Texture Analysis

      - Pole Figure Construction

      - Orientation Distribution Functions

    - Phase Identification

      - Multi-Phase Materials

      - Phase Fraction Determination

  - Data Processing and Analysis

    - Orientation Mapping

    - Statistical Analysis

    - Correlation with Other Techniques

- Low-Voltage Electron Microscopy

  - Principles and Advantages

    - Reduced Beam Damage

    - Enhanced Surface Sensitivity

    - Improved Contrast

  - Instrumental Considerations

    - Aberration Effects

    - Resolution Limitations

    - Detector Efficiency

  - Applications

    - Biological Specimens

    - Beam-Sensitive Materials

    - Surface Analysis

- In-Situ Microscopy

  - Heating and Cooling Stages

    - Temperature Control Systems

      - Heating Elements

      - Temperature Measurement

    - Environmental Control

      - Gas Introduction

      - Pressure Control

  - Straining Holders

    - Mechanical Testing Capabilities

      - Tensile Testing

      - Compression Testing

    - Real-Time Deformation Studies

      - Dislocation Dynamics

      - Crack Propagation

  - Liquid and Gas Environmental Cells

    - Cell Design and Sealing

      - Membrane Windows

      - Pressure Containment

    - Dynamic Studies

      - Chemical Reactions

      - Phase Transformations

    - Correlative Techniques

      - Simultaneous Analysis Methods

      - Multi-Modal Imaging

# Image Processing and Data Analysis

- Digital Image Acquisition

  - Detector Types and Characteristics

    - CCD Cameras

      - Pixel Size and Array Size

      - Quantum Efficiency

      - Noise Characteristics

    - CMOS Detectors

      - Speed Advantages

      - Power Consumption

    - Direct Detection Cameras

      - Detective Quantum Efficiency

      - Modulation Transfer Function

  - Acquisition Parameters

    - Exposure Time Optimization

    - Binning Considerations

    - Frame Rate Selection

  - File Formats and Metadata

    - Standard Image Formats

    - Microscopy-Specific Formats

    - Metadata Preservation

- Noise Reduction and Filtering

  - Types of Noise

    - Shot Noise

    - Thermal Noise

    - Readout Noise

  - Spatial Domain Filtering

    - Linear Filters

      - Gaussian Smoothing

      - Mean Filters

    - Non-Linear Filters

      - Median Filters

      - Morphological Filters

  - Frequency Domain Filtering

    - Fourier Transform Applications

    - Low-Pass and High-Pass Filters

    - Band-Pass Filtering

- Fourier Transforms and Analysis

  - Power Spectrum Analysis

    - Frequency Domain Representation

    - Noise Analysis

    - Periodic Structure Detection

  - Lattice Analysis

    - Lattice Parameter Measurement

    - Strain Analysis

  - Defect Analysis

    - Dislocation Characterization

    - Grain Boundary Analysis

- Image Simulation

  - Multislice Method

    - Slice Thickness Selection

    - Propagation Calculations

  - Bloch Wave Method

    - Eigenvalue Solutions

    - Systematic Reflections

  - Comparison with Experimental Images

    - Parameter Optimization

    - Structure Refinement

- Quantitative Measurements

  - Particle Size Analysis

    - Thresholding and Segmentation

      - Automatic Thresholding

      - Manual Segmentation

    - Size Distribution Analysis

      - Statistical Parameters

      - Distribution Fitting

  - Phase Fraction Quantification

    - Image Binarization

    - Area Fraction Measurement

    - Volume Fraction Calculation

  - Crystallographic Measurements

    - Lattice Parameter Determination

    - Orientation Analysis

    - Strain Measurement

- 3D Reconstruction and Visualization

  - Tomographic Reconstruction

    - Reconstruction Algorithms

    - Artifact Reduction

  - Volume Rendering

    - Visualization Techniques

    - Transparency and Color Mapping

  - Surface and Mesh Generation

    - Isosurface Extraction

    - Mesh Optimization

- Data Management and Archiving

  - Metadata Standards

    - Microscopy Metadata Standards

    - Data Provenance

  - Long-Term Storage Solutions

    - File Format Considerations

    - Data Integrity

  - Data Sharing and Collaboration

    - Database Systems

    - Remote Access Protocols

Created with UsefulLinks