# HVAC (Heating, Ventilation, and Air Conditioning) System Design

# Fundamentals of HVAC

- Core Scientific Principles

  - Thermodynamics

    - First Law of Thermodynamics

      - Conservation of Energy in HVAC Systems

      - Energy Balance Equations

      - Application to Heating and Cooling Processes

      - Work and Heat Transfer Relationships

    - Second Law of Thermodynamics

      - Entropy and Direction of Heat Flow

      - Carnot Cycle and Theoretical Limits

      - Implications for System Efficiency

      - Irreversibility in Real Systems

    - Thermodynamic Properties

      - Temperature and Pressure Relationships

      - Specific Heat and Heat Capacity

      - Phase Change Properties

      - Property Tables and Charts

    - Refrigeration Cycles

      - Vapor-Compression Cycle

        - Cycle Components and Functions

          - Compressor Types and Operation

          - Condenser Heat Rejection

          - Expansion Device Throttling

          - Evaporator Heat Absorption

        - Pressure-Enthalpy Diagram Analysis

        - Performance Metrics

          - Coefficient of Performance (COP)

          - Energy Efficiency Ratio (EER)

          - Seasonal Energy Efficiency Ratio (SEER)

        - Cycle Variations and Enhancements

      - Absorption Cycle

        - Working Fluids

          - Absorbent and Refrigerant Pairs

          - Lithium Bromide-Water Systems

          - Ammonia-Water Systems

        - Cycle Operation and Components

        - Applications and Advantages

  - Fluid Mechanics

    - Fluid Properties

      - Density and Specific Weight

      - Viscosity and Flow Characteristics

      - Compressibility Effects

      - Temperature and Pressure Dependencies

    - Fluid Statics

      - Pressure Measurement and Units

      - Hydrostatic Pressure Applications

      - Manometry and Pressure Gauges

    - Fluid Dynamics

      - Flow Regimes

        - Laminar Flow Characteristics

        - Turbulent Flow Characteristics

        - Reynolds Number Applications

      - Flow Analysis

        - Continuity Equation

        - Bernoulli's Principle and Applications

        - Energy and Momentum Equations

      - Pressure Loss Calculations

        - Friction Losses in Pipes and Ducts

        - Minor Losses and Fittings

        - Equivalent Length Method

      - Flow Measurement

        - Orifice Plates and Venturi Meters

        - Pitot Tubes and Flow Probes

        - Ultrasonic and Magnetic Flow Meters

    - Fan and Pump Laws

      - Affinity Laws and Scaling

      - System Curves and Operating Points

      - Variable Speed Applications

      - Performance Prediction Methods

  - Heat Transfer

    - Conduction

      - Fourier's Law of Heat Conduction

      - Thermal Conductivity of Materials

      - Steady-State Heat Transfer

      - Heat Transfer through Building Envelope

      - Thermal Resistance Networks

    - Convection

      - Natural Convection Mechanisms

      - Forced Convection Applications

      - Heat Transfer Coefficients

      - Dimensionless Numbers

      - Applications in Air and Water Systems

    - Radiation

      - Stefan-Boltzmann Law

      - Emissivity and Surface Properties

      - View Factors and Configuration

      - Radiant Heat Exchange in Buildings

      - Solar Radiation Principles

    - Combined Heat Transfer

      - Series and Parallel Heat Transfer Paths

      - Overall Heat Transfer Coefficient

      - Thermal Bridging Effects

      - Heat Exchanger Fundamentals

- Psychrometrics

  - Properties of Moist Air

    - Dry-Bulb Temperature

    - Wet-Bulb Temperature

    - Dew Point Temperature

    - Relative Humidity

    - Absolute Humidity

    - Humidity Ratio

    - Enthalpy of Moist Air

    - Specific Volume

    - Vapor Pressure Relationships

  - The Psychrometric Chart

    - Chart Construction and Axes

    - Constant Property Lines

    - Reading Chart Values

    - Plotting State Points

    - Process Line Analysis

  - Air-Conditioning Processes

    - Sensible Heating

    - Sensible Cooling

    - Humidification Processes

      - Steam Humidification

      - Evaporative Humidification

    - Dehumidification Processes

      - Cooling and Dehumidification

      - Chemical Dehumidification

    - Evaporative Cooling

      - Direct Evaporative Cooling

      - Indirect Evaporative Cooling

    - Adiabatic Mixing of Airstreams

    - Combined Sensible and Latent Processes

  - Comfort and Indoor Air Quality

    - Thermal Comfort Zones

    - ASHRAE Comfort Standards

    - Humidity Control Requirements

    - Air Quality Considerations

# Load Calculations

- Fundamentals of Load Calculations

  - Purpose and Applications

    - Equipment Sizing Requirements

    - Energy Modeling Applications

    - System Selection Criteria

    - Economic Optimization

  - Load Calculation Principles

    - Peak Load vs. Annual Energy

    - Safety Factors and Margins

    - Load Diversity and Coincidence

    - Design Conditions Selection

- Heating Load Calculations

  - Heat Loss Mechanisms

    - Transmission Losses

      - Wall Heat Loss

      - Roof Heat Loss

      - Window and Door Losses

      - Floor Heat Loss

      - Below-Grade Heat Loss

    - Air Infiltration Losses

      - Natural Infiltration

      - Mechanical Ventilation Loads

      - Air Change Methods

    - Internal Heat Gains (Heating Season)

  - Calculation Methodologies

    - Manual J for Residential

    - ASHRAE Handbook Methods

    - Degree-Day Methods

    - Computer-Aided Tools

  - Special Considerations

    - Intermittent Heating

    - Thermal Mass Effects

    - Solar Gains in Winter

- Cooling Load Calculations

  - Heat Gain Components

    - External Heat Gains

      - Solar Gain through Fenestration

      - Conduction through Walls

      - Conduction through Roofs

      - Ground Heat Transfer

    - Internal Heat Gains

      - Occupant Heat Gain

        - Sensible Heat from People

        - Latent Heat from People

      - Lighting Heat Gain

      - Equipment and Appliance Loads

      - Motor Heat Gains

    - Ventilation and Infiltration Loads

      - Outdoor Air Requirements

      - Infiltration Heat Gains

    - Latent vs. Sensible Load Components

  - Calculation Methods

    - Radiant Time Series (RTS) Method

    - Heat Balance Method

    - Transfer Function Method

    - Cooling Load Temperature Difference (CLTD)

    - Solar Cooling Load Factors

  - Load Profiles and Diversity

    - Hourly Load Calculations

    - Peak Load Determination

    - Load Diversity Factors

    - Simultaneous vs. Non-Simultaneous Loads

- Design Conditions and Data

  - Climate Data Sources

    - Weather Data Files

    - Design Day Selection

      - Heating Design Temperatures

      - Cooling Design Temperatures

      - Humidity Design Conditions

    - Solar Radiation Data

    - Wind Speed and Direction

  - Building Envelope Properties

    - Thermal Properties

      - U-values and R-values

      - Thermal Mass Characteristics

      - Air Leakage Rates

    - Fenestration Properties

      - Solar Heat Gain Coefficient (SHGC)

      - Visible Light Transmittance

      - U-value for Windows

    - Building Orientation Effects

  - Occupancy and Internal Loads

    - Occupancy Schedules and Density

    - Lighting Power Density

    - Equipment Power Density

    - Process Load Requirements

    - Diversity and Usage Patterns

# HVAC Systems and Equipment

- System Classification and Selection

  - System Categories

    - All-Air Systems

      - Single-Zone Constant Volume

      - Single-Zone Variable Volume

      - Multi-Zone Systems

      - Variable Air Volume (VAV) Systems

      - Constant Air Volume (CAV) Systems

      - Dual-Duct Systems

    - All-Water Systems

      - Two-Pipe Systems

      - Four-Pipe Systems

      - Radiant Heating and Cooling

    - Air-Water Systems

      - Fan Coil Units

      - Induction Systems

      - Radiant Panels with Ventilation

    - Refrigerant-Based Systems

      - Direct Expansion (DX) Systems

      - Variable Refrigerant Flow (VRF)

      - Heat Pump Systems

  - System Selection Criteria

    - Building Type and Use

    - Climate Considerations

    - Energy Efficiency Requirements

    - First Cost vs. Operating Cost

    - Maintenance Requirements

    - Space Constraints

- Heating Equipment

  - Furnaces

    - Gas-Fired Furnaces

      - Natural Gas Systems

      - Propane Systems

      - Condensing vs. Non-Condensing

    - Oil-Fired Furnaces

    - Electric Resistance Furnaces

    - Furnace Efficiency Ratings

    - Installation and Venting Requirements

  - Boilers

    - Hot Water Boilers

      - Fire-Tube Boilers

      - Water-Tube Boilers

      - Condensing Boilers

    - Steam Boilers

      - Low-Pressure Steam Systems

      - High-Pressure Applications

    - Boiler Efficiency and Controls

    - Boiler Sizing and Selection

  - Heat Pumps

    - Air-Source Heat Pumps

      - Single-Stage Systems

      - Multi-Stage and Variable Speed

      - Cold Climate Heat Pumps

    - Ground-Source Heat Pumps

      - Closed-Loop Systems

      - Open-Loop Systems

      - Hybrid Ground-Source Systems

    - Water-Source Heat Pumps

    - Heat Pump Performance Characteristics

    - Auxiliary and Backup Heating

- Cooling Equipment

  - Chillers

    - Air-Cooled Chillers

      - Scroll Compressor Chillers

      - Screw Compressor Chillers

      - Centrifugal Chillers

    - Water-Cooled Chillers

      - Cooling Tower Requirements

      - Condenser Water Systems

    - Absorption Chillers

      - Single-Effect Systems

      - Double-Effect Systems

    - Chiller Performance and Efficiency

    - Chiller Plant Design

  - Direct Expansion Equipment

    - Split Systems

      - Residential Applications

      - Light Commercial Systems

    - Packaged Units

      - Rooftop Units (RTUs)

      - Ground-Mounted Units

    - Mini-Split and Multi-Split Systems

    - Variable Refrigerant Flow (VRF) Systems

  - Cooling Towers and Heat Rejection

    - Cooling Tower Types

      - Open Circuit Towers

      - Closed Circuit Towers

      - Hybrid Towers

    - Tower Performance and Selection

    - Water Treatment Requirements

    - Dry Coolers and Fluid Coolers

- Air Handling and Ventilation Equipment

  - Air Handling Units (AHUs)

    - AHU Components

      - Supply Fans and Motors

      - Return and Exhaust Fans

      - Heating Coils

      - Cooling and Dehumidification Coils

      - Filtration Systems

      - Humidification Equipment

      - Mixing Boxes and Dampers

    - AHU Configuration and Selection

    - Custom vs. Standard Units

  - Ventilation Equipment

    - Energy Recovery Ventilators (ERVs)

    - Heat Recovery Ventilators (HRVs)

    - Dedicated Outdoor Air Systems (DOAS)

    - Exhaust Fans and Systems

  - Air Cleaning and Filtration

    - Mechanical Filters

      - MERV Rating System

      - HEPA and ULPA Filters

    - Electronic Air Cleaners

    - Gas-Phase Filtration

      - Activated Carbon Systems

      - Potassium Permanganate Systems

    - Ultraviolet Air Treatment

    - Photocatalytic Oxidation

# Air Distribution Design

- Ductwork Design Fundamentals

  - Duct System Layouts

    - Supply Air Distribution

      - Radial Systems

      - Trunk and Branch Systems

      - Loop Perimeter Systems

      - Plenum Systems

    - Return Air Systems

    - Exhaust Air Systems

  - Duct Materials and Construction

    - Sheet Metal Ducts

      - Galvanized Steel

      - Stainless Steel

      - Aluminum

    - Fiberglass Duct Board

    - Flexible Ducts

    - Fabric Ducts

    - Plastic and PVC Ducts

  - Duct Shapes and Configurations

    - Round Ducts

    - Rectangular Ducts

    - Oval and Flat Oval Ducts

    - Equivalent Diameter Calculations

- Duct Sizing and Design Methods

  - Sizing Methodologies

    - Equal Friction Method

    - Static Regain Method

    - Velocity Reduction Method

    - T-Method for Balancing

  - Design Tools

    - Ductulator Applications

    - Friction Charts and Tables

    - Computer-Aided Design Software

  - Pressure Loss Calculations

    - Friction Losses

    - Dynamic Losses

    - Fitting Loss Coefficients

    - Total System Pressure Drop

- Duct Installation Considerations

  - Duct Insulation

    - Internal Insulation

    - External Insulation

    - Vapor Barrier Requirements

  - Air Leakage Control

    - Duct Sealing Methods

    - Leakage Testing

    - Duct Leakage Classes

  - Support and Hanger Systems

  - Fire and Smoke Dampers

- Air Distribution Devices

  - Supply Air Outlets

    - Diffusers

      - Ceiling Diffusers

      - Sidewall Diffusers

      - Floor Diffusers

    - Grilles and Registers

    - Linear Slot Diffusers

    - Displacement Ventilation Outlets

  - Return and Exhaust Inlets

    - Return Air Grilles

    - Exhaust Grilles and Louvers

  - Outlet Selection Criteria

    - Throw and Drop Characteristics

    - Noise Considerations

    - Pressure Drop Requirements

- Air Distribution Patterns

  - Mixing Ventilation

  - Displacement Ventilation

  - Personal Ventilation Systems

  - Underfloor Air Distribution

  - Task-Ambient Conditioning

- System Balancing and Commissioning

  - Air Balancing Procedures

    - Proportional Balancing

    - Total System Balancing

  - Balancing Equipment

    - Balancing Dampers

    - Variable Air Volume Boxes

    - Constant Air Volume Boxes

  - Testing and Measurement

    - Airflow Measurement Techniques

    - Pressure Measurements

    - Temperature and Humidity Verification

  - Documentation and Reporting

# Hydronic System Design

- Hydronic System Fundamentals

  - System Types and Applications

    - Heating-Only Systems

    - Cooling-Only Systems

    - Four-Pipe Systems

    - Heat Pump Water Loop Systems

  - Heat Transfer Media

    - Water Systems

    - Glycol Solutions

    - Steam Systems

  - System Pressure Classifications

    - Low-Temperature Hot Water

    - Medium-Temperature Hot Water

    - High-Temperature Hot Water

    - Chilled Water Systems

- Piping System Design

  - Piping Materials

    - Copper Piping and Fittings

    - Steel Piping Systems

    - Cross-Linked Polyethylene (PEX)

    - Polypropylene and Other Plastics

    - Material Selection Criteria

  - Piping Arrangements

    - Series Piping Systems

    - Parallel Piping Systems

    - One-Pipe Systems

    - Two-Pipe Systems

      - Direct Return Systems

      - Reverse Return Systems

    - Three-Pipe Systems

    - Four-Pipe Systems

    - Primary-Secondary Systems

  - Pipe Sizing Methods

    - Velocity Limitations

    - Pressure Drop Calculations

    - Equivalent Length Method

    - Sizing Charts and Tables

  - Piping Installation

    - Pipe Supports and Hangers

    - Expansion and Contraction

    - Insulation Requirements

    - Slope and Drainage

- System Components

  - Pumps and Pumping Systems

    - Centrifugal Pump Types

      - End-Suction Pumps

      - Split-Case Pumps

      - Vertical Turbine Pumps

    - Pump Performance

      - Pump Curves and Selection

      - Net Positive Suction Head (NPSH)

      - Pump Efficiency

    - Pumping Arrangements

      - Constant Speed Pumping

      - Variable Speed Pumping

      - Primary-Secondary Pumping

      - Variable Primary Flow

  - Valves and Flow Control

    - Isolation Valves

      - Gate Valves

      - Ball Valves

      - Butterfly Valves

    - Flow Control Valves

      - Globe Valves

      - Pressure Independent Valves

      - Pressure Dependent Valves

    - Balancing Valves

      - Manual Balancing Valves

      - Automatic Balancing Valves

    - Safety and Relief Valves

  - Expansion Control

    - Expansion Tanks

      - Open Expansion Tanks

      - Closed Expansion Tanks

      - Diaphragm Tanks

    - Tank Sizing and Selection

    - System Pressurization

  - Air Control Systems

    - Air Separation Methods

    - Air Separators and Dirt Separators

    - Automatic Air Vents

    - Manual Air Vents

- Terminal Units and Heat Transfer

  - Heating Terminal Units

    - Radiators and Convectors

    - Baseboard Heating Units

    - Unit Heaters

    - Radiant Panels

  - Cooling Terminal Units

    - Fan Coil Units

    - Chilled Beams

    - Radiant Cooling Panels

  - Heat Exchanger Applications

    - Shell and Tube Heat Exchangers

    - Plate Heat Exchangers

    - Brazed Plate Heat Exchangers

- Water Treatment and Quality

  - Water Quality Requirements

  - Chemical Treatment Programs

  - Filtration and Straining

  - Corrosion Control

  - Scale and Deposit Prevention

# HVAC Controls and Automation

- Control System Fundamentals

  - Control Theory Basics

    - Open-Loop vs. Closed-Loop Control

    - Feedback and Feedforward Control

    - Control System Stability

  - Control Modes

    - On-Off Control

    - Proportional Control

    - Proportional-Integral (PI) Control

    - Proportional-Integral-Derivative (PID) Control

    - Floating Control

  - Control System Components

    - Sensors and Transmitters

    - Controllers and Logic

    - Controlled Devices and Actuators

    - Control Loops and Sequences

- Sensors and Measurement

  - Temperature Sensors

    - Thermistors

    - Resistance Temperature Detectors (RTDs)

    - Thermocouples

    - Integrated Circuit Sensors

  - Humidity Sensors

    - Relative Humidity Sensors

    - Dew Point Sensors

    - Wet Bulb Temperature Sensors

  - Pressure Sensors

    - Gauge Pressure Sensors

    - Differential Pressure Sensors

    - Static Pressure Sensors

  - Flow Measurement

    - Differential Pressure Flow Sensors

    - Thermal Mass Flow Sensors

    - Ultrasonic Flow Sensors

  - Air Quality Sensors

    - Carbon Dioxide Sensors

    - Carbon Monoxide Sensors

    - Volatile Organic Compound Sensors

    - Particulate Matter Sensors

- Control Devices and Actuators

  - Thermostats and Controllers

    - Pneumatic Thermostats

    - Electric Thermostats

    - Electronic Thermostats

    - Programmable Thermostats

    - Smart and Connected Thermostats

  - Actuators

    - Electric Actuators

      - Spring Return Actuators

      - Non-Spring Return Actuators

    - Pneumatic Actuators

    - Electronic Actuators

  - Controlled Devices

    - Dampers and Damper Actuators

    - Control Valves and Valve Actuators

    - Variable Frequency Drives

    - Motor Starters and Contactors

- Building Automation Systems

  - System Architecture

    - Field Level Controllers

    - Application Specific Controllers

    - Supervisory Controllers

    - Workstations and User Interfaces

  - Communication Networks

    - Communication Protocols

      - BACnet Protocol

      - LonWorks Protocol

      - Modbus Protocol

      - Proprietary Protocols

    - Network Topologies

    - Wiring and Infrastructure

  - System Programming

    - Control Sequences and Logic

    - Scheduling and Time Programs

    - Alarm and Event Management

    - Trending and Data Logging

  - Energy Management Functions

    - Demand Limiting and Load Shedding

    - Optimal Start and Stop

    - Economizer Control

    - Reset Strategies

    - Utility Interface and Monitoring

- Control Strategies and Sequences

  - Air Handling Unit Control

    - Supply Air Temperature Control

    - Mixed Air Temperature Control

    - Static Pressure Control

    - Economizer Control Sequences

  - Terminal Unit Control

    - VAV Box Control

    - Fan Coil Unit Control

    - Heat Pump Control

  - Central Plant Control

    - Chiller Control and Optimization

    - Boiler Control and Sequencing

    - Cooling Tower Control

    - Pump Control Strategies

# Design Process and Documentation

- Project Development Phases

  - Pre-Design Phase

    - Programming and Needs Assessment

    - Site Analysis and Surveys

    - Code Research and Compliance

    - Budget and Schedule Development

  - Schematic Design

    - System Selection and Sizing

    - Preliminary Layouts

    - Load Calculations

    - Energy Analysis

    - Cost Estimating

  - Design Development

    - Detailed System Design

    - Equipment Selection and Specifications

    - Coordination with Other Disciplines

    - Value Engineering

  - Construction Documents

    - Final Drawings and Details

    - Technical Specifications

    - Bidding Documents

    - Permit Applications

  - Construction Phase Services

    - Bid Review and Analysis

    - Construction Administration

    - Shop Drawing Review

    - Field Observation and Testing

- Design Documentation

  - Drawing Types and Standards

    - Floor Plans and Equipment Layouts

    - Reflected Ceiling Plans

    - Mechanical Plans

    - Riser Diagrams and Schematics

      - Piping Schematics and P&IDs

      - Ductwork Schematics

      - Control Diagrams and Sequences

    - Details and Sections

    - Equipment Schedules and Data

  - Specifications

    - Specification Organization

      - MasterFormat and CSI Standards

      - General Requirements

      - Product Specifications

      - Execution Requirements

    - Performance vs. Prescriptive Specifications

    - Quality Assurance and Testing

  - Calculations and Analysis

    - Load Calculation Reports

    - Equipment Selection Data

    - Energy Analysis Reports

    - Life Cycle Cost Analysis

  - Submittals and Shop Drawings

    - Submittal Requirements and Review

    - Shop Drawing Coordination

    - Product Data and Samples

  - Operation and Maintenance Documentation

    - O&M Manuals

    - As-Built Drawings

    - Warranty Information

    - Training Requirements

- Design Coordination

  - Interdisciplinary Coordination

    - Architectural Coordination

    - Structural Coordination

    - Electrical Coordination

    - Plumbing Coordination

  - Space Planning and Allocation

    - Equipment Room Requirements

    - Shaft and Chase Sizing

    - Ceiling Space Coordination

  - Code Compliance and Approvals

    - Building Code Requirements

    - Mechanical Code Compliance

    - Energy Code Compliance

    - Permit and Approval Process

# Codes, Standards, and Regulations

- Industry Standards Organizations

  - ASHRAE Standards

    - Standard 55: Thermal Environmental Conditions

    - Standard 62.1: Ventilation for Commercial Buildings

    - Standard 62.2: Ventilation for Residential Buildings

    - Standard 90.1: Energy Standard for Buildings

    - Standard 15: Safety Standard for Refrigeration Systems

    - Standard 34: Designation and Safety Classification of Refrigerants

  - SMACNA Standards

    - Duct Construction Standards

    - HVAC Air Duct Leakage Test Manual

    - HVAC Systems Testing, Adjusting, and Balancing

  - ACCA Standards

    - Manual J: Residential Load Calculation

    - Manual D: Residential Duct Design

    - Manual S: Residential Equipment Selection

  - Other Standards Organizations

    - NFPA Fire and Life Safety Codes

    - UL Safety Standards

    - ARI/AHRI Equipment Standards

- Building and Energy Codes

  - International Codes

    - International Mechanical Code (IMC)

    - International Energy Conservation Code (IECC)

    - International Building Code (IBC)

    - International Fire Code (IFC)

  - Federal Regulations

    - Energy Policy and Conservation Act

    - Clean Air Act Requirements

    - Refrigerant Regulations

  - State and Local Codes

    - State Energy Codes

    - Local Amendments and Requirements

    - Utility Programs and Incentives

- Safety and Environmental Regulations

  - Refrigerant Safety and Environmental Impact

    - Ozone Depletion Potential (ODP)

    - Global Warming Potential (GWP)

    - Refrigerant Handling and Recovery

  - Indoor Air Quality Regulations

  - Occupational Safety Requirements

  - Equipment Safety Standards

# Energy Efficiency and Sustainability

- Energy Efficiency Strategies

  - High-Performance Equipment

    - High-Efficiency Heating Equipment

    - High-Efficiency Cooling Equipment

    - Premium Efficiency Motors

  - System Optimization

    - Variable Speed Drives and Controls

    - Economizer Cycles and Free Cooling

    - Demand-Controlled Ventilation

    - Heat Recovery Systems

  - Building Envelope Improvements

    - Insulation and Air Sealing

    - High-Performance Windows

    - Thermal Bridge Reduction

  - Renewable Energy Integration

    - Solar Heating Systems

    - Geothermal Systems

    - Solar-Assisted Cooling

- Green Building and Certification Programs

  - LEED Certification

    - Energy and Atmosphere Credits

    - Indoor Environmental Quality Credits

    - Innovation and Design Process

  - ENERGY STAR Programs

    - Equipment Certification

    - Building Certification

  - Other Green Building Programs

    - Green Globes

    - Living Building Challenge

    - WELL Building Standard

    - BREEAM International

- Life Cycle Assessment and Economics

  - Life Cycle Cost Analysis

    - First Cost vs. Operating Cost

    - Present Value Analysis

    - Payback Period Calculations

  - Energy Modeling and Analysis

    - Building Energy Simulation

    - Utility Rate Analysis

    - Energy Benchmarking

  - Carbon Footprint and Environmental Impact

    - Greenhouse Gas Emissions

    - Embodied Energy in Materials

    - Water Usage and Conservation

# Indoor Environmental Quality

- Thermal Comfort

  - Comfort Theory and Models

    - Fanger's PMV-PPD Model

    - Adaptive Comfort Models

    - Local Thermal Discomfort

  - Comfort Parameters

    - Air Temperature

    - Radiant Temperature

    - Air Velocity

    - Humidity

    - Clothing and Activity Levels

  - Comfort Standards and Guidelines

    - ASHRAE Standard 55

    - ISO 7730 Standard

    - Regional Comfort Standards

- Indoor Air Quality

  - Air Quality Parameters

    - Outdoor Air Requirements

    - Contaminant Source Control

    - Filtration and Air Cleaning

  - Common Indoor Contaminants

    - Particulate Matter

    - Volatile Organic Compounds

    - Biological Contaminants

    - Carbon Dioxide and Odors

  - Ventilation Effectiveness

    - Air Distribution Effectiveness

    - Ventilation Efficiency

    - Age of Air and Air Exchange

- Acoustics and Noise Control

  - HVAC Noise Sources

    - Equipment Noise

      - Fans and Air Handlers

      - Compressors and Chillers

      - Pumps and Motors

    - Airborne Noise Transmission

    - Ductborne Noise

    - Structure-Borne Noise

  - Sound Control Strategies

    - Equipment Selection for Low Noise

    - Sound Attenuation in Ducts

      - Duct Lining Materials

      - Sound Attenuators and Silencers

    - Equipment Isolation and Mounting

      - Vibration Isolation Systems

      - Flexible Connections

      - Isolation Pads and Springs

  - Acoustic Design Criteria

    - Room Criteria (RC) and NC Curves

    - Sound Pressure Level Limits

    - Speech Privacy Requirements

- Lighting and Daylighting Integration

  - Daylighting and HVAC Interaction

  - Electric Lighting Heat Gains

  - Automated Shading Systems

  - Integrated Lighting and HVAC Controls

# Advanced HVAC Technologies

- Emerging Technologies

  - Variable Refrigerant Flow (VRF) Systems

    - System Components and Operation

    - Heat Recovery VRF Systems

    - Applications and Benefits

  - Dedicated Outdoor Air Systems (DOAS)

    - System Configurations

    - Energy Recovery Integration

    - Applications with Radiant Systems

  - Radiant Heating and Cooling

    - Hydronic Radiant Systems

    - Electric Radiant Systems

    - Radiant Panel Applications

  - Evaporative Cooling Technologies

    - Direct Evaporative Cooling

    - Indirect Evaporative Cooling

    - Hybrid Evaporative Systems

- Smart Building Technologies

  - Internet of Things (IoT) Integration

  - Artificial Intelligence and Machine Learning

  - Predictive Maintenance Systems

  - Occupancy-Based Control Systems

- Alternative Energy Sources

  - Solar Thermal Systems

  - Geothermal Heat Pumps

  - Waste Heat Recovery

  - Combined Heat and Power (CHP)

# System Commissioning and Performance

- Commissioning Process

  - Commissioning Planning

  - Design Review and Verification

  - Installation Verification

  - Functional Performance Testing

  - Systems Manual and Training

  - Warranty and Post-Occupancy Services

- Testing and Balancing

  - Air System Testing and Balancing

  - Hydronic System Testing and Balancing

  - Sound and Vibration Testing

  - Indoor Air Quality Testing

- Performance Monitoring and Optimization

  - Energy Monitoring Systems

  - Fault Detection and Diagnostics

  - Continuous Commissioning

  - Retro-Commissioning

Created with UsefulLinks