# Medical Device Design and Regulation

# Introduction to Medical Device Engineering

- Definition of a Medical Device

  - Legal and Regulatory Definitions

  - Device vs. Drug vs. Biologic

  - Examples of Medical Devices

- Historical Evolution of Medical Devices

  - Early Medical Devices

  - Key Innovations and Milestones

  - Impact of Technology on Device Development

- The Role of the Biomedical Engineer

  - Core Responsibilities

  - Interdisciplinary Collaboration

  - Ethical Considerations

  - Professional Organizations

- The Medical Device Industry Landscape

  - Key Market Segments

    - Diagnostic Devices

    - Therapeutic Devices

    - Monitoring Devices

    - Assistive Devices

  - Major Companies and Start-ups

    - Multinational Corporations

    - Emerging Start-ups

    - Academic and Research Institutions

  - Global Market Trends

    - Market Growth and Projections

    - Regional Differences

    - Emerging Markets

    - Impact of Regulatory Changes

# The Medical Device Lifecycle

- Concept and Ideation

  - Identifying Unmet Clinical Needs

  - Brainstorming and Innovation Techniques

  - Feasibility Assessment

  - Intellectual Property Considerations

- Design and Development

  - Prototyping

  - Iterative Design

  - Design Documentation

- Pre-clinical and Clinical Evaluation

  - Pre-clinical Testing Strategies

  - Clinical Study Planning

  - Regulatory Requirements for Evaluation

- Regulatory Submission and Approval

  - Preparation of Submission Dossiers

  - Communication with Regulatory Authorities

  - Review and Response Process

- Manufacturing and Commercialization

  - Scale-up and Technology Transfer

  - Supply Chain Management

  - Marketing and Sales Strategies

- Post-Market Surveillance

  - Monitoring Device Performance

  - Adverse Event Reporting

  - Product Improvements and Updates

# Regulatory Foundations

- The U.S. Food and Drug Administration

  - Structure and Functions

  - Center for Devices and Radiological Health

    - Responsibilities and Scope

    - Device Classification and Oversight

  - The Federal Food, Drug, and Cosmetic Act

    - Key Provisions for Devices

    - Amendments Affecting Devices

  - Code of Federal Regulations

    - Title 21 CFR Part 820

      - Quality System Requirements

      - Enforcement and Inspections

    - Title 21 CFR Part 812

      - Requirements for Clinical Investigations

      - Sponsor and Investigator Responsibilities

    - Title 21 CFR Part 814

      - PMA Application Process

      - Post-Approval Requirements

    - Title 21 CFR Part 807

      - Registration and Listing

      - 510(k) Submission Process

- International Regulatory Bodies and Standards

  - European Union Medical Device Regulation

    - Scope and Applicability

    - Conformity Assessment Procedures

    - Notified Bodies

  - International Organization for Standardization

    - ISO 13485

      - Structure and Requirements

      - Certification Process

    - ISO 14971

      - Risk Management Principles

      - Integration with QMS

  - International Medical Device Regulators Forum

    - Mission and Activities

    - Harmonization Efforts

# Medical Device Classification

- Risk-Based Classification Systems

  - Principles of Risk Classification

  - Impact on Regulatory Pathways

- U.S. FDA Classification

  - Class I Devices

    - General Controls

    - Examples of Class I Devices

  - Class II Devices

    - General and Special Controls

    - Examples of Class II Devices

  - Class III Devices

    - Premarket Approval Requirements

    - Examples of Class III Devices

- EU MDR Classification

  - Class I

  - Class IIa

  - Class IIb

  - Class III

  - Rules for Classification

- Product Classification Databases

  - FDA Product Classification Database

  - EU Eudamed Database

  - Use of Databases in Regulatory Strategy

# The Design and Development Process

- Design Models and Methodologies

  - The Waterfall Design Model

    - Stages of the Waterfall Model

    - Advantages and Limitations

  - Alternative Models

    - Agile Development

    - V-Model

    - Spiral Model

- User Needs and Market Requirements

  - Stakeholder Analysis

  - Voice of the Customer

  - Market Research Techniques

- Design Inputs

  - Functional Requirements

  - Performance Requirements

  - Safety Requirements

  - Regulatory Requirements

  - Usability Requirements

  - Environmental Requirements

- Design Outputs

  - Specifications

  - Drawings and Schematics

  - Manufacturing Procedures

  - Device Master Record

  - Bill of Materials

- Design Reviews

  - Review Stages and Objectives

  - Cross-Functional Team Involvement

  - Documentation of Findings

- Design Verification

  - Definition and Purpose

  - Test Protocols and Reports

  - Traceability Matrix

  - Verification Methods

    - Inspection

    - Testing

    - Analysis

- Design Validation

  - Definition and Purpose

  - Validation in Simulated Use Conditions

  - Validation in Actual Use Conditions

  - Clinical Evaluation

  - Human Factors Validation

- Design Transfer to Manufacturing

  - Transfer Planning

  - Process Validation

  - Training and Documentation

- Design History File

  - Contents and Structure

  - Maintenance and Updates

# Quality Management Systems

- Principles of Quality Management

  - Customer Focus

  - Leadership and Engagement

  - Process Approach

  - Continuous Improvement

- Elements of a QMS

  - Management Responsibility

    - Quality Policy and Objectives

    - Management Review

  - Design Controls

    - Design Planning

    - Design Input and Output

    - Design Review

    - Design Verification

    - Design Validation

  - Document Control

    - Document Approval and Distribution

    - Change Management

  - Production and Process Controls

    - Process Validation

    - Environmental Controls

    - Equipment Maintenance

  - Corrective and Preventive Action

    - Nonconformance Investigation

    - Root Cause Analysis

    - Implementation and Effectiveness Checks

  - Purchasing Controls

    - Supplier Evaluation and Selection

    - Incoming Inspection

  - Identification and Traceability

    - Product Identification

    - Batch and Lot Tracking

  - Nonconforming Product

    - Identification and Segregation

    - Disposition and Documentation

  - Records Management

    - Design History File

    - Device Master Record

    - Device History Record

    - Record Retention

    - Access and Security

  - Servicing

    - Service Procedures

    - Service Records

  - Statistical Techniques

    - Sampling Plans

    - Process Capability Analysis

# Risk Management

- Risk Management Plan

  - Scope and Objectives

  - Roles and Responsibilities

  - Criteria for Risk Acceptability

- Risk Analysis

  - Intended Use and Foreseeable Misuse

  - Identification of Hazards

    - Biological Hazards

    - Mechanical Hazards

    - Electrical Hazards

    - Software-Related Hazards

  - Estimation of Risk for Hazardous Situations

    - Severity Assessment

    - Probability Assessment

- Risk Evaluation

  - Risk Acceptability Criteria

  - Risk-Benefit Analysis

- Risk Control

  - Inherent Safety by Design

  - Protective Measures in the Device

  - Protective Measures in Manufacturing Process

  - Information for Safety

    - Labeling

    - Instructions for Use

  - Verification of Risk Control Measures

- Evaluation of Overall Residual Risk

  - Aggregation of Residual Risks

  - Benefit-Risk Analysis

- Risk Management Report

  - Documentation Requirements

  - Review and Approval

- Production and Post-Production Information

  - Collection of Feedback

  - Trending and Analysis

  - Updating the Risk Management File

# Materials and Biocompatibility

- Common Medical Device Materials

  - Metals

    - Stainless Steel

    - Titanium

    - Cobalt-Chrome Alloys

  - Polymers

    - PEEK

    - Polyethylene

    - Silicone

  - Ceramics

    - Alumina

    - Zirconia

  - Biologics and Combination Products

    - Tissue-Derived Materials

    - Drug-Device Combinations

- Biocompatibility Testing

  - Definition and Importance

  - Cytotoxicity

  - Sensitization and Irritation

  - Systemic Toxicity

  - Hemocompatibility

  - Implantation Effects

  - Genotoxicity and Carcinogenicity

  - Degradation Products

- Sterilization and Material Compatibility

  - Ethylene Oxide

  - Gamma Irradiation

  - Steam Sterilization

  - Electron Beam

  - Impact of Sterilization on Material Properties

  - Packaging Considerations

# Pre-Clinical Testing

- Benchtop Testing

  - Mechanical Testing

    - Fatigue Testing

    - Tensile Testing

    - Torsion Testing

    - Compression Testing

  - Electrical Safety Testing

    - Insulation and Leakage Testing

    - Electromagnetic Compatibility

  - Software Verification and Validation

    - Unit Testing

    - Integration Testing

    - System Testing

- Animal Studies

  - Good Laboratory Practice

    - GLP Principles

    - Compliance and Documentation

  - Study Design and Model Selection

    - Species Selection

    - Study Endpoints

  - Ethical Considerations

    - Institutional Animal Care and Use Committee

    - 3Rs Principle

      - Replacement

      - Reduction

      - Refinement

# Clinical Evaluation and Trials

- Clinical Evaluation Report

  - Literature Review

  - Clinical Data Analysis

  - Equivalence Assessment

- Investigational Device Exemption

  - Application Process

  - Sponsor and Investigator Responsibilities

  - Monitoring and Reporting Requirements

- Clinical Trial Design and Phases

  - Feasibility and Pilot Studies

  - Pivotal Studies

  - Post-Market Clinical Follow-up

- Good Clinical Practice

  - Principles of GCP

  - Compliance and Monitoring

- Institutional Review Board

  - Role and Responsibilities

  - Review Process

- Informed Consent

  - Elements of Informed Consent

  - Documentation and Process

- Data Analysis and Statistical Methods

  - Study Endpoints

  - Statistical Power and Sample Size

  - Data Management and Integrity

# Regulatory Submission Pathways

- Premarket Notification

  - Substantial Equivalence

  - Predicate Devices

  - Traditional 510(k)

  - Special 510(k)

  - Abbreviated 510(k)

  - Review Process and Timelines

- Premarket Approval

  - Requirements for Class III Devices

  - Demonstration of Safety and Efficacy

  - Modular and Staged PMA

  - Advisory Panel Review

  - Post-Approval Studies

- De Novo Classification Request

  - Eligibility Criteria

  - Submission Process

  - Review and Decision

- Humanitarian Device Exemption

  - Definition and Purpose

  - Application Process

  - Limitations and Requirements

# Labeling and Instructions for Use

- Regulatory Requirements for Labeling

  - FDA Labeling Requirements

  - EU MDR Labeling Requirements

- Content of the Instructions for Use

  - Intended Use and Indications

  - Contraindications

  - Warnings and Precautions

  - Instructions for Use

  - Maintenance and Storage

- Symbols for Medical Device Labeling

  - Commonly Used Symbols

  - Interpretation and Application

- Unique Device Identification

  - UDI System Structure

  - Labeling Requirements

  - Database Requirements

# Post-Market Surveillance and Activities

- Post-Market Surveillance Plan

  - Objectives and Scope

  - Data Collection Methods

- Complaint Handling

  - Complaint Intake and Documentation

  - Investigation and Resolution

- Medical Device Reporting for Adverse Events

  - Reporting Requirements

  - Timelines and Procedures

- Corrections and Removals

  - Recalls

    - Recall Classification

    - Recall Execution and Communication

  - Market Withdrawals

- FDA Inspections and Audits

  - Quality System Inspection Technique

    - Inspection Process

    - Key Focus Areas

  - Warning Letters and Enforcement Actions

    - Common Violations

    - Response and Remediation

# Specialized Topics in Medical Device Design

- Human Factors Engineering and Usability

  - User Interface Design

  - Formative Usability Testing

  - Summative Usability Testing

  - Use-Related Risk Analysis

  - Human Factors Validation

- Software as a Medical Device

  - Definition and Scope

  - Software Development Lifecycle

    - Software Planning

    - Software Requirements

    - Software Design and Implementation

    - Software Verification and Validation

    - Software Maintenance

  - Cybersecurity for Medical Devices

    - Threat Assessment

    - Security Controls

    - Regulatory Guidance

  - Artificial Intelligence and Machine Learning in Medical Devices

    - Algorithm Development

    - Validation and Transparency

    - Regulatory Considerations

- Combination Products

  - Device-Drug Combinations

  - Device-Biologic Combinations

  - Regulatory Pathways for Combination Products

- In Vitro Diagnostic Devices

  - Definition and Types

  - Regulatory Requirements

  - Performance Evaluation

- Reprocessing and Reusability of Medical Devices

  - Cleaning and Disinfection

  - Sterilization Validation

  - Labeling for Reusable Devices

  - Regulatory Considerations for Reprocessed Devices

Created with UsefulLinks