# Power Systems Analysis and Operation

# Fundamentals of Electric Power Systems

- Basic Electrical Concepts Review

  - AC Circuit Analysis

  - Phasor Representation

  - Complex Power

  - Three-Phase Systems

  - Balanced Three-Phase Circuits

  - Unbalanced Three-Phase Circuits

  - Wye and Delta Connections

  - Line and Phase Quantities

- Power System Structure and Components

  - Generation Subsystem

    - Types of Power Plants

      - Thermal Power Plants

      - Hydroelectric Power Plants

      - Nuclear Power Plants

      - Wind Power Plants

      - Solar Power Plants

      - Other Renewable Sources

    - Prime Movers

    - Energy Conversion Processes

    - Generator Types and Characteristics

    - Generator Ratings and Specifications

  - Transmission Subsystem

    - Transmission Voltage Levels

    - Transmission Line Types

    - Overhead Transmission Lines

    - Underground Transmission Cables

    - Network Topologies

    - Substations

    - Switchyards

  - Distribution Subsystem

    - Distribution Voltage Levels

    - Distribution System Configurations

    - Radial Distribution Systems

    - Loop Distribution Systems

    - Network Distribution Systems

    - Distribution Transformers

    - Service Connections

  - Load Characteristics

    - Residential Loads

    - Commercial Loads

    - Industrial Loads

    - Load Profiles

    - Demand Patterns

    - Load Forecasting

- Power System Terminology

  - Voltage Classifications

    - Low Voltage

    - Medium Voltage

    - High Voltage

    - Extra High Voltage

    - Ultra High Voltage

  - Frequency Standards

    - 50 Hz Systems

    - 60 Hz Systems

    - Frequency Regulation Requirements

  - Power Definitions

    - Real Power

    - Reactive Power

    - Apparent Power

    - Power Triangle

    - Power Factor

    - Leading Power Factor

    - Lagging Power Factor

    - Power Factor Correction

# Power System Modeling and Analysis Tools

- Per-Unit System

  - Concept and Advantages

  - Base Quantity Selection

    - Base Power Selection

    - Base Voltage Selection

    - Base Current Calculation

    - Base Impedance Calculation

  - Per-Unit Conversions

    - Component Parameter Conversion

    - Changing Base Values

    - Multi-Voltage Level Systems

- System Representation

  - Single-Line Diagrams

    - Standard Symbols

    - Component Representation

    - System Layout

  - Impedance Diagrams

    - Positive Sequence Networks

    - Negative Sequence Networks

    - Zero Sequence Networks

  - Reactance Diagrams

- Component Modeling

  - Synchronous Generator Models

    - Steady-State Equivalent Circuit

    - Generator Reactances

      - Synchronous Reactance

      - Transient Reactance

      - Subtransient Reactance

    - Generator Time Constants

    - Saturation Effects

  - Transformer Models

    - Ideal Transformer

    - Practical Transformer Model

    - Single-Phase Transformer Equivalent Circuit

    - Three-Phase Transformer Connections

      - Wye-Wye Connection

      - Delta-Delta Connection

      - Wye-Delta Connection

      - Delta-Wye Connection

    - Transformer Tap Changing

    - Off-Nominal Tap Ratios

    - Phase-Shifting Transformers

  - Transmission Line Models

    - Short Line Model

      - Series Impedance Representation

    - Medium Line Model

      - Nominal Pi Model

      - Nominal T Model

    - Long Line Model

      - Distributed Parameter Model

      - Hyperbolic Functions

      - Surge Impedance

      - Propagation Constant

    - Line Parameters

      - Resistance Calculation

      - Inductance Calculation

      - Capacitance Calculation

      - Conductance Calculation

  - Load Models

    - Constant Impedance Load

    - Constant Current Load

    - Constant Power Load

    - Polynomial Load Model

    - Exponential Load Model

    - Composite Load Models

# Power Flow Analysis

- Power Flow Problem Formulation

  - Objectives of Power Flow Studies

  - Network Equations

  - Power Balance Equations

  - Nonlinear Nature of Power Flow

- Network Matrices

  - Bus Admittance Matrix Formation

    - Formation by Inspection

    - Nodal Analysis Approach

    - Matrix Properties

    - Sparsity Characteristics

  - Bus Impedance Matrix

    - Formation Methods

    - Building Algorithm

    - Matrix Inversion Techniques

- Bus Classification

  - Slack Bus

    - Reference Bus Selection

    - Voltage Magnitude and Angle Specification

  - Generator Bus

    - PV Bus Characteristics

    - Real Power and Voltage Magnitude Specification

  - Load Bus

    - PQ Bus Characteristics

    - Real and Reactive Power Specification

- Power Flow Solution Methods

  - Gauss-Seidel Method

    - Algorithm Development

    - Iterative Process

    - Convergence Criteria

    - Acceleration Factors

  - Newton-Raphson Method

    - Jacobian Matrix Formation

    - Polar Coordinate Formulation

    - Rectangular Coordinate Formulation

    - Convergence Characteristics

    - Computational Requirements

  - Fast Decoupled Load Flow

    - Decoupling Assumptions

    - Simplified Jacobian Matrices

    - Algorithm Steps

    - Computational Advantages

- DC Power Flow

  - Linearization Assumptions

  - DC Power Flow Equations

  - Applications and Limitations

  - Sensitivity Analysis

- Power Flow Control

  - Voltage Control Methods

    - Generator Voltage Control

    - Transformer Tap Control

    - Shunt Compensation

  - Real Power Flow Control

    - Phase-Shifting Transformers

    - Series Compensation

  - Reactive Power Control

    - Shunt Reactors

    - Shunt Capacitors

    - Synchronous Condensers

# Economic Operation and Optimization

- Economic Dispatch Fundamentals

  - Generation Cost Characteristics

    - Input-Output Curves

    - Heat Rate Curves

    - Fuel Cost Functions

    - Incremental Cost Curves

  - Economic Dispatch Without Losses

    - Equal Incremental Cost Criterion

    - Lambda Iteration Method

    - Lagrange Multiplier Method

  - Economic Dispatch With Losses

    - Loss Formula Development

    - B-Coefficients Method

    - Penalty Factors

    - Iterative Solution Methods

  - Constraints in Economic Dispatch

    - Generation Limits

    - Ramp Rate Limits

    - Prohibited Operating Zones

- Optimal Power Flow

  - OPF Problem Formulation

    - Objective Functions

      - Generation Cost Minimization

      - Loss Minimization

      - Voltage Deviation Minimization

    - Equality Constraints

      - Power Balance Equations

    - Inequality Constraints

      - Generation Limits

      - Voltage Limits

      - Line Flow Limits

  - OPF Solution Methods

    - Linear Programming Approaches

    - Nonlinear Programming Methods

    - Interior Point Methods

    - Genetic Algorithm Applications

- Unit Commitment

  - Problem Definition

    - Time Horizon Considerations

    - Load Forecasting Requirements

  - Unit Commitment Constraints

    - Minimum Up Time

    - Minimum Down Time

    - Start-Up Costs

    - Shut-Down Costs

    - Spinning Reserve Requirements

    - System Reserve Margins

  - Solution Methods

    - Priority List Method

    - Dynamic Programming

    - Lagrangian Relaxation

    - Mixed Integer Programming

- Electricity Market Operations

  - Market Structure Types

    - Regulated Markets

    - Deregulated Markets

    - Hybrid Market Structures

  - Market Clearing Mechanisms

    - Day-Ahead Markets

    - Real-Time Markets

    - Ancillary Service Markets

  - Locational Marginal Pricing

    - Price Formation

    - Congestion Components

    - Loss Components

    - Energy Components

# Symmetrical Components and Fault Analysis

- Symmetrical Component Theory

  - Mathematical Foundation

    - Transformation Matrix

    - Operator 'a'

  - Sequence Components

    - Positive Sequence Components

    - Negative Sequence Components

    - Zero Sequence Components

  - Transformation Equations

    - Phase to Sequence Transformation

    - Sequence to Phase Transformation

- Sequence Impedances

  - Generator Sequence Impedances

    - Positive Sequence Impedance

    - Negative Sequence Impedance

    - Zero Sequence Impedance

  - Transformer Sequence Impedances

    - Connection Effects on Zero Sequence

    - Winding Configuration Impact

  - Transmission Line Sequence Impedances

    - Untransposed Lines

    - Transposed Lines

    - Mutual Coupling Effects

- Sequence Networks

  - Positive Sequence Network

  - Negative Sequence Network

  - Zero Sequence Network

  - Network Interconnections

- Symmetrical Fault Analysis

  - Three-Phase Fault Analysis

    - Fault Current Calculation

    - Thevenin Equivalent Method

    - Post-Fault Voltage Calculation

  - Circuit Breaker Applications

    - Interrupting Capacity Requirements

    - Symmetrical Current Ratings

    - Asymmetrical Current Considerations

- Unsymmetrical Fault Analysis

  - Single Line-to-Ground Fault

    - Sequence Network Connection

    - Fault Current Calculation

    - Voltage Calculation

  - Line-to-Line Fault

    - Sequence Network Connection

    - Fault Analysis Procedure

  - Double Line-to-Ground Fault

    - Sequence Network Connection

    - Complex Fault Analysis

  - Open Conductor Faults

    - Single Open Conductor

    - Double Open Conductor

# Power System Stability Analysis

- Stability Classification

  - Rotor Angle Stability

    - Small-Signal Stability

    - Large-Disturbance Stability

    - Transient Stability

  - Voltage Stability

    - Large-Disturbance Voltage Stability

    - Small-Disturbance Voltage Stability

  - Frequency Stability

    - Short-Term Frequency Stability

    - Long-Term Frequency Stability

- Rotor Angle Stability

  - Swing Equation Development

    - Mechanical Power Input

    - Electrical Power Output

    - Inertia Constant

    - Damping Effects

  - Power-Angle Relationships

    - Steady-State Power-Angle Curve

    - Stability Margin

    - Synchronizing Power Coefficient

  - Small-Signal Stability

    - Linearized Analysis

    - Eigenvalue Analysis

    - Participation Factors

  - Transient Stability

    - Equal Area Criterion

    - Critical Clearing Time

    - Critical Clearing Angle

    - Numerical Integration Methods

      - Euler Method

      - Modified Euler Method

      - Runge-Kutta Methods

  - Multi-Machine Stability

    - Coherency Analysis

    - Dynamic Equivalents

- Voltage Stability

  - Voltage Collapse Mechanisms

  - Static Voltage Stability

    - P-V Curves

    - Q-V Curves

    - Voltage Stability Margin

  - Dynamic Voltage Stability

    - Load Dynamics

    - Generator Dynamics

    - OLTC Dynamics

  - Voltage Stability Analysis Methods

    - Continuation Power Flow

    - Modal Analysis

    - Sensitivity Analysis

- Frequency Stability

  - Frequency Response Characteristics

  - Primary Frequency Control

  - Secondary Frequency Control

  - Load-Frequency Dynamics

  - Under-Frequency Load Shedding

# Power System Control

- Automatic Generation Control

  - Control Objectives

    - Frequency Regulation

    - Tie-Line Power Control

    - Economic Dispatch

  - Single-Area AGC

    - Load-Frequency Control

    - Governor Response

    - Integral Control

  - Multi-Area AGC

    - Area Control Error

    - Tie-Line Bias Control

    - Inadvertent Interchange

  - AGC Implementation

    - Control Strategies

    - Performance Standards

- Voltage and Reactive Power Control

  - Voltage Control Objectives

  - Automatic Voltage Regulation

    - Excitation System Models

    - AVR Transfer Functions

  - Voltage Control Methods

    - Generator Excitation Control

    - Transformer Tap Control

    - Shunt Compensation Control

  - Reactive Power Management

    - Reactive Power Sources

    - Reactive Power Sinks

    - Voltage-Reactive Power Coordination

  - Static VAR Compensators

    - SVC Characteristics

    - Control Strategies

  - STATCOM Systems

    - Operating Principles

    - Control Methods

# Power System Protection

- Protection System Fundamentals

  - Protection Principles

    - Selectivity

    - Speed of Operation

    - Sensitivity

    - Reliability

    - Security vs Dependability

  - Protection System Components

    - Current Transformers

    - Voltage Transformers

    - Protective Relays

    - Circuit Breakers

    - Communication Systems

- Overcurrent Protection

  - Overcurrent Relay Characteristics

    - Definite Time Characteristics

    - Inverse Time Characteristics

    - Very Inverse Characteristics

    - Extremely Inverse Characteristics

  - Coordination of Overcurrent Relays

    - Time-Current Coordination

    - Coordination Time Interval

    - Coordination Studies

- Differential Protection

  - Operating Principles

  - Current Differential Schemes

  - Percentage Differential Relays

  - High-Impedance Differential

  - Low-Impedance Differential

- Distance Protection

  - Impedance Measurement Principles

  - Distance Relay Characteristics

    - Mho Characteristics

    - Reactance Characteristics

    - Quadrilateral Characteristics

  - Zone Protection Concept

    - Zone 1 Protection

    - Zone 2 Protection

    - Zone 3 Protection

  - Distance Relay Applications

- Component Protection Schemes

  - Generator Protection

    - Stator Fault Protection

    - Rotor Fault Protection

    - Loss of Excitation Protection

    - Reverse Power Protection

    - Over/Under Frequency Protection

  - Transformer Protection

    - Differential Protection

    - Overcurrent Protection

    - Buchholz Relay

    - Sudden Pressure Relay

    - Temperature Protection

  - Transmission Line Protection

    - Primary Protection

    - Backup Protection

    - Auto-Reclosing

  - Bus Protection

    - High-Impedance Bus Protection

    - Low-Impedance Bus Protection

    - Partial Differential Schemes

# Advanced Power System Technologies

- HVDC Transmission Systems

  - HVDC System Components

    - Converter Stations

    - DC Transmission Lines

    - Filtering Systems

    - Control Systems

  - HVDC Converter Technologies

    - Line-Commutated Converters

    - Voltage Source Converters

    - Modular Multilevel Converters

  - HVDC System Configurations

    - Monopolar Systems

    - Bipolar Systems

    - Back-to-Back Systems

    - Multi-Terminal Systems

  - HVDC Applications and Benefits

    - Long-Distance Transmission

    - Submarine Cables

    - Asynchronous Interconnections

    - Renewable Energy Integration

- FACTS Devices

  - Series FACTS Devices

    - Thyristor-Controlled Series Capacitor

    - Static Synchronous Series Compensator

    - Thyristor-Controlled Series Reactor

  - Shunt FACTS Devices

    - Static VAR Compensator

    - STATCOM

    - Thyristor-Switched Capacitor

    - Thyristor-Controlled Reactor

  - Combined FACTS Devices

    - Unified Power Flow Controller

    - Interline Power Flow Controller

    - Generalized Unified Power Flow Controller

  - FACTS Applications

    - Power Flow Control

    - Voltage Regulation

    - Stability Enhancement

    - Power Quality Improvement

- Renewable Energy Integration

  - Wind Power Integration

    - Wind Turbine Technologies

    - Wind Power Characteristics

    - Grid Connection Requirements

    - Wind Power Forecasting

    - Grid Impact Assessment

  - Solar Power Integration

    - Photovoltaic Systems

    - Concentrated Solar Power

    - Solar Power Characteristics

    - Grid Integration Challenges

  - Energy Storage Systems

    - Battery Energy Storage

    - Pumped Hydro Storage

    - Compressed Air Energy Storage

    - Flywheel Energy Storage

  - Grid Integration Challenges

    - Variability and Uncertainty

    - Frequency Regulation

    - Voltage Control

    - System Inertia Reduction

- Smart Grid Technologies

  - Smart Grid Concepts

    - Advanced Metering Infrastructure

    - Distribution Automation

    - Demand Response

    - Distributed Generation

  - Wide-Area Measurement Systems

    - Phasor Measurement Units

    - Synchronized Measurements

    - State Estimation Enhancement

    - Real-Time Monitoring

  - Communication Technologies

    - Power Line Communication

    - Wireless Communication

    - Fiber Optic Communication

    - Cybersecurity Considerations

  - Grid Modernization

    - Self-Healing Grids

    - Microgrids

    - Virtual Power Plants

    - Peer-to-Peer Energy Trading

Created with UsefulLinks