# Process Control and Optimization

# Introduction to Process Control

- The Concept of a Process

  - Definition of a Process

  - Types of Processes

    - Batch Processes

    - Continuous Processes

    - Semi-Batch Processes

  - Process Variables

    - Input Variables

      - Manipulated Variables

      - Disturbance Variables

    - Output Variables

      - Controlled Variables

      - Measured Variables

  - Process Dynamics

    - Dynamic vs. Steady-State Behavior

    - Time Constants and Process Lags

    - Process Gain

    - Dead Time (Transport Delay)

- Objectives of Process Control

  - Safety Assurance

    - Prevention of Hazardous Conditions

    - Emergency Shutdown Systems

  - Environmental Protection

    - Emission Control

    - Waste Minimization

  - Equipment Protection

    - Avoiding Mechanical Stress

    - Preventing Corrosion and Fouling

  - Operational Stability

    - Minimizing Variability

    - Maximizing Throughput

  - Product Quality Maintenance

    - Consistency in Product Specifications

    - Minimizing Off-Spec Production

  - Economic Optimization

    - Reducing Operating Costs

    - Maximizing Profitability

- Control System Architectures

  - Open-Loop Control

    - Structure and Characteristics

    - Applications and Limitations

  - Feedback Control

    - Basic Feedback Loop Structure

    - Advantages and Limitations

  - Feedforward Control

    - Basic Feedforward Structure

    - Advantages and Limitations

  - Combined Feedforward-Feedback Control

  - Hierarchical Control Structures

    - Regulatory Control Level

    - Supervisory Control Level

    - Optimization Level

# Mathematical Modeling of Chemical Processes

- Rationale for Process Modeling

  - Predicting Process Behavior

  - Design and Optimization

  - Control System Design

  - Training and Education

- Types of Models

  - Theoretical Models (First-Principles)

    - Physical Laws and Principles

    - Model Assumptions and Simplifications

  - Empirical Models (Black-Box)

    - Data-Driven Approaches

    - Regression and System Identification

  - Semi-Empirical Models (Grey-Box)

    - Combining Theory and Data

- Development of Dynamic Models

  - Conservation Laws

    - Conservation of Mass

      - Total Mass Balances

      - Component Material Balances

    - Conservation of Energy

      - Energy Balances

      - Enthalpy and Heat Effects

    - Conservation of Momentum

  - Constitutive Relationships

    - Equations of State

    - Reaction Kinetics

    - Transport Equations

      - Heat Transfer

      - Mass Transfer

      - Momentum Transfer

  - Degrees of Freedom Analysis

    - Definition and Purpose

    - Application to Process Systems

- The Laplace Transform

  - Definition and Properties

    - Linearity

    - Time Shifting

    - Frequency Shifting

    - Initial and Final Value Theorems

  - Inverse Laplace Transform

  - Solving Linear Ordinary Differential Equations

    - Application to Process Models

- Transfer Functions

  - Definition and Derivation

    - From Differential Equations to Transfer Functions

  - Poles and Zeros

    - Physical Interpretation

    - Effect on System Response

  - Steady-State Gain

    - Calculation and Significance

  - Transfer Functions for Common Elements

    - First-Order Systems

    - Second-Order Systems

    - Integrators and Differentiators

    - Pure Time Delay

- Dynamic Behavior of First-Order Systems

  - Mathematical Representation

  - Step Response

    - Analytical Solution

    - Graphical Interpretation

  - Impulse Response

  - Ramp Response

  - Time Constant

    - Physical Meaning

    - Determination from Data

  - Dead Time in First-Order Systems

- Dynamic Behavior of Second-Order Systems

  - Mathematical Representation

  - Overdamped Response

  - Critically Damped Response

  - Underdamped Response

  - Damping Coefficient

  - Natural Frequency and Period

  - Step and Impulse Responses

- Systems with Time Delays (Dead Time)

  - Causes of Dead Time

  - Mathematical Representation

  - Effects on System Behavior

  - Approximation Methods

- Linearization of Nonlinear Models

  - Taylor Series Expansion

  - Validity and Limitations

  - Application to Process Models

  - Deviation Variables

# Feedback Control Systems

- Components of a Control Loop

  - Process (Plant)

  - Sensors and Transmitters

    - Temperature Sensors

    - Pressure Sensors

    - Flow Sensors

    - Level Sensors

    - Composition Analyzers

    - Signal Conditioning

  - Controllers

    - Analog Controllers

    - Digital Controllers

  - Final Control Elements

    - Control Valves

      - Globe Valves

      - Ball Valves

      - Butterfly Valves

      - Valve Characteristics

      - Sizing and Selection

    - Variable Speed Drives

    - Dampers and Actuators

- Block Diagram Representation

  - Standard Symbols

  - Signal Flow Paths

  - Summing and Takeoff Points

  - Block Diagram Algebra

- Closed-Loop Transfer Functions

  - Derivation from Block Diagrams

  - Setpoint Response

  - Disturbance Response

  - Error Response

- Proportional-Integral-Derivative (PID) Control

  - Controller Modes

    - Proportional (P) Control

      - Proportional Gain

      - Offset

      - Stability Considerations

    - Integral (I) Control

      - Integral Action

      - Elimination of Offset

      - Integral Windup

    - Derivative (D) Control

      - Derivative Action

      - Anticipatory Effect

      - Noise Sensitivity

  - Combined Controller Forms

    - Proportional-Integral (PI) Control

    - Proportional-Derivative (PD) Control

    - Proportional-Integral-Derivative (PID) Control

      - Parallel Form

      - Series Form

      - Ideal Form

  - Digital PID Algorithms

    - Discretization Methods

    - Implementation Issues

    - Anti-Windup Strategies

- Controller Tuning

  - Tuning Criteria

    - Decay Ratio

    - Settling Time

    - Overshoot

    - Rise Time

    - Stability Margins

  - Controller Tuning Methods

    - Ziegler-Nichols Method

      - Open-Loop (Reaction Curve) Method

      - Closed-Loop (Ultimate Gain) Method

    - Cohen-Coon Method

    - Internal Model Control (IMC) Tuning Rules

    - Lambda Tuning

    - Trial and Error Method

    - Software-Based Tuning Tools

  - Performance Assessment

    - Integral Performance Criteria

    - Statistical Measures

# Stability of Closed-Loop Systems

- Concept of Stability

  - Definitions of Stability

  - Bounded Input-Bounded Output (BIBO) Stability

  - Asymptotic Stability

  - Marginal Stability

- Routh Stability Criterion

  - Construction of Routh Array

  - Application to Characteristic Equations

  - Interpretation of Results

  - Special Cases

- Root Locus Analysis

  - Root Locus Construction Rules

  - Effect of Controller Parameters

  - Stability Assessment

  - Design Using Root Locus

- Frequency Response Analysis

  - Bode Plots

    - Construction of Bode Plots

    - Magnitude Ratio

    - Phase Angle

    - Interpretation of Bode Plots

    - Asymptotic Approximations

  - Nyquist Plots

    - Construction and Interpretation

    - Nyquist Stability Criterion

    - Encirclement Principle

  - Stability Margins

    - Gain Margin

    - Phase Margin

    - Determination from Plots

    - Design Specifications

# Advanced Control Strategies

- Feedforward Control

  - Rationale and Design Principles

  - Feedforward Controller Design

    - Perfect Feedforward Control

    - Practical Considerations

  - Limitations of Feedforward Control

  - Combining Feedforward and Feedback Control

- Ratio Control

  - Applications of Ratio Control

  - Design and Implementation

  - Wild Flow vs. Controlled Flow

- Cascade Control

  - Structure of Cascade Control Loops

  - Primary and Secondary Loops

  - Controller Tuning in Cascade Systems

  - Advantages and Limitations

- Time Delay Compensation

  - Smith Predictor

    - Principle of Operation

    - Implementation Considerations

    - Robustness Issues

  - Dahlin Controller

  - Analytical Predictor

- Selective and Override Control

  - Selector Blocks

    - High Selector

    - Low Selector

    - Median Selector

  - Override Strategies

  - Constraint Control

- Split-Range Control

  - Applications and Design

  - Valve Sequencing

  - Complementary Split-Range

  - Exclusive Split-Range

- Introduction to Multivariable Control

  - Process Interactions

    - Interaction Effects

    - Multivariable System Representation

  - Relative Gain Array (RGA)

    - Calculation and Interpretation

    - Pairing Guidelines

  - Decoupling Control

    - Decoupler Design

    - Static Decoupling

    - Dynamic Decoupling

    - Limitations

# Model Predictive Control (MPC)

- Core Concepts of MPC

  - Prediction Model

    - Model Types Used in MPC

    - Step Response Models

    - State-Space Models

    - Model Identification

  - Objective Function

    - Setpoint Tracking

    - Control Effort Minimization

    - Constraint Violations

  - Receding Horizon Control

    - Prediction Horizon

    - Control Horizon

    - Implementation Strategy

- Formulation of the MPC Problem

  - Mathematical Formulation

  - Quadratic Programming Formulation

  - Constraints Handling

    - Input Constraints

    - Output Constraints

    - Rate of Change Constraints

  - Optimization Algorithms in MPC

- Types of MPC

  - Linear MPC

  - Nonlinear MPC

  - Robust MPC

  - Adaptive MPC

- Tuning MPC Controllers

  - Selection of Horizons

  - Weighting Factors

  - Constraint Tuning

  - Model Update Strategies

- Advantages and Disadvantages of MPC

  - Benefits in Industrial Applications

  - Limitations and Challenges

  - Computational Requirements

# Process Optimization

- Introduction to Optimization

  - Defining the Objective Function

  - Types of Constraints

    - Equality Constraints

    - Inequality Constraints

  - Decision Variables

  - Feasible Region

- Basic Concepts in Optimization

  - Unimodality

  - Convexity

  - Local vs. Global Optima

  - Necessary and Sufficient Conditions for Optimality

  - Gradient and Hessian

- Unconstrained Optimization

  - Single-Variable Optimization

    - Analytical Methods

    - Golden Section Search

    - Fibonacci Search

    - Newton-Raphson Method

  - Multivariable Optimization

    - Gradient-Based Methods

      - Steepest Descent

      - Conjugate Gradient

    - Newton's Method

    - Quasi-Newton Methods

      - BFGS Method

      - DFP Method

- Constrained Optimization

  - Linear Programming (LP)

    - Problem Formulation

    - Graphical Solution Method

    - Simplex Method

    - Duality in LP

    - Sensitivity Analysis

  - Nonlinear Programming (NLP)

    - Problem Formulation

    - Successive Quadratic Programming (SQP)

    - Interior-Point Methods

    - Lagrange Multipliers

    - Karush-Kuhn-Tucker (KKT) Conditions

  - Mixed-Integer Programming

    - Problem Types

    - Solution Methods

- Stochastic Optimization

  - Genetic Algorithms

  - Simulated Annealing

  - Particle Swarm Optimization

# Real-Time Optimization (RTO)

- Integration of Control and Optimization

  - Role of RTO in Process Operations

  - Benefits of RTO

  - Implementation Challenges

- Hierarchical Structure

  - Process Control Layer

    - Regulatory Control

    - Basic Process Control System (BPCS)

  - Supervisory Control Layer

    - Advanced Process Control (APC)

    - Setpoint Optimization

  - Real-Time Optimization Layer

    - Economic Optimization

    - Model Updating

    - Constraint Management

- Data Reconciliation and Parameter Estimation

  - Data Validation

  - Gross Error Detection

  - Reconciliation Algorithms

  - Parameter Estimation Techniques

  - Model Adaptation

- RTO Implementation

  - Model Development

  - Optimization Problem Formulation

  - Solution Algorithms

  - Performance Monitoring

# Practical Implementation and Applications

- Control System Hardware

  - Sensors and Instrumentation

    - Temperature Sensors

      - Thermocouples

      - RTDs

      - Thermistors

    - Pressure Sensors

      - Bourdon Tubes

      - Diaphragm Sensors

      - Strain Gauge Sensors

    - Flow Sensors

      - Orifice Plates

      - Venturi Meters

      - Turbine Meters

      - Magnetic Flowmeters

    - Level Sensors

      - Float Sensors

      - Differential Pressure Sensors

      - Ultrasonic Sensors

    - Composition Analyzers

      - Gas Chromatographs

      - Mass Spectrometers

      - pH Meters

  - Control Valves

    - Valve Types

      - Globe Valves

      - Ball Valves

      - Butterfly Valves

      - Plug Valves

    - Valve Characteristics

      - Linear Characteristics

      - Equal Percentage Characteristics

      - Quick Opening Characteristics

    - Sizing and Selection

    - Actuators

      - Pneumatic Actuators

      - Electric Actuators

      - Hydraulic Actuators

  - Control Systems

    - Programmable Logic Controllers (PLCs)

      - Architecture and Programming

      - Ladder Logic

      - Function Block Diagrams

      - Communication Protocols

    - Distributed Control Systems (DCS)

      - System Architecture

      - Human-Machine Interface (HMI)

      - Historian Systems

      - Engineering Stations

- Process Safety and Alarm Management

  - Safety Instrumented Systems (SIS)

    - Safety Integrity Levels (SIL)

    - SIS Design and Testing

    - Proof Testing

  - Hazard and Operability (HAZOP) Studies

    - HAZOP Procedure

    - Guide Words

    - Identification of Hazards

  - Layers of Protection Analysis (LOPA)

    - Risk Assessment

    - Protection Layers

    - Risk Reduction Factors

  - Alarm Management

    - Alarm Philosophy

    - Alarm Rationalization

    - Alarm Performance Metrics

- Control of Common Unit Operations

  - Chemical Reactors

    - Temperature Control

    - Pressure Control

    - Concentration Control

    - pH Control

    - Reactor Safety Systems

  - Distillation Columns

    - Level Control

    - Pressure Control

    - Composition Control

    - Reflux Control

    - Reboiler Control

  - Heat Exchangers

    - Temperature Control

    - Flow Control

    - Fouling Considerations

  - Fired Heaters

    - Fuel Flow Control

    - Temperature Control

    - Draft Control

    - Safety Systems

  - Pumps and Compressors

    - Flow Control

    - Pressure Control

    - Surge Control

    - Variable Speed Control

- Statistical Process Control (SPC)

  - Control Charts

    - X-bar and R Charts

    - Individual and Moving Range Charts

    - p-Charts and c-Charts

    - CUSUM Charts

    - EWMA Charts

  - Process Capability Analysis

    - Cp and Cpk Indices

    - Pp and Ppk Indices

    - Interpretation and Improvement

  - Six Sigma Methodology

    - DMAIC Process

    - Statistical Tools

Created with UsefulLinks