# Radiation Detection and Measurement

# Fundamentals of Radiation Physics

- Atomic and Nuclear Structure

  - The Atom

    - Atomic Number and Mass Number

    - Electron Configuration

    - Atomic Orbitals

    - Electron Shells and Subshells

  - The Nucleus

    - Composition of Protons and Neutrons

    - Nuclear Forces

      - Strong Nuclear Force

      - Electromagnetic Force in Nucleus

    - Nuclear Size and Density

    - Nuclear Models

  - Nuclides and Isotopes

    - Isotopes

    - Isobars

    - Isotones

    - Isomers

    - Nuclear Notation

    - Chart of Nuclides

  - Nuclear Binding Energy

    - Mass-Energy Equivalence

    - Mass Defect

    - Binding Energy per Nucleon

    - Nuclear Stability

    - Valley of Beta Stability

- Radioactivity

  - The Decay Process

    - Spontaneous Nuclear Transformation

    - Parent and Daughter Nuclides

    - Conservation Laws in Decay

  - Activity and Half-Life

    - Definition of Activity

    - Decay Constant

    - Exponential Decay Law

    - Half-Life

    - Mean Life

    - Specific Activity

  - Secular and Transient Equilibrium

    - Conditions for Secular Equilibrium

    - Conditions for Transient Equilibrium

    - Applications in Decay Series

  - Decay Chains

    - Series Decay

    - Natural Decay Series

      - Uranium-238 Series

      - Uranium-235 Series

      - Thorium-232 Series

    - Branching Ratios

- Types of Ionizing Radiation

  - Heavy Charged Particles

    - Alpha Particles

      - Properties and Characteristics

      - Natural Alpha Sources

      - Artificial Alpha Sources

    - Protons

      - Properties and Characteristics

      - Accelerator-Produced Protons

    - Fission Fragments

      - Origin in Nuclear Fission

      - Energy Distribution

      - Mass Distribution

    - Other Heavy Ions

  - Light Charged Particles

    - Beta-Minus Decay

      - Decay Process and Mechanism

      - Energy Spectrum

      - Neutrino Emission

    - Beta-Plus Decay

      - Decay Process and Mechanism

      - Positron Properties

      - Annihilation Radiation

    - Electron Capture

      - Competing Process with Beta-Plus

      - X-Ray Emission

    - Internal Conversion Electrons

    - Auger Electrons

      - Emission Mechanism

      - Energy Characteristics

  - Electromagnetic Radiation

    - Gamma Rays

      - Origin in Nuclear Transitions

      - Discrete Energy Spectrum

      - Internal Conversion

    - X-Rays

      - Characteristic X-Rays

      - Bremsstrahlung X-Rays

      - Production Mechanisms

    - Annihilation Radiation

      - 511 keV Photons

  - Neutrons

    - Neutron Properties

    - Neutron Sources

      - Spontaneous Fission Sources

      - Alpha-Neutron Reactions

      - Photoneutron Sources

      - Reactor Neutrons

      - Accelerator-Produced Neutrons

    - Classification by Energy

      - Thermal Neutrons

      - Epithermal Neutrons

      - Fast Neutrons

      - Relativistic Neutrons

# Interaction of Radiation with Matter

- Interaction of Heavy Charged Particles

  - Mechanisms of Energy Loss

    - Ionization

    - Excitation

    - Nuclear Interactions

  - Stopping Power

    - Linear Stopping Power

    - Mass Stopping Power

    - Dependence on Particle Energy

    - Dependence on Material Properties

  - The Bethe-Bloch Formula

    - Theoretical Foundation

    - Application and Limitations

    - Corrections for Low and High Energies

  - Range of Charged Particles

    - Mean Range

    - Extrapolated Range

    - Continuous Slowing Down Approximation

    - Range Straggling

    - Range-Energy Relations

  - Bragg Peak

    - Physical Origin

    - Clinical Applications

    - Practical Significance

- Interaction of Electrons and Positrons

  - Energy Loss Mechanisms

    - Collisional Energy Loss

      - Ionization

      - Excitation

    - Radiative Energy Loss

      - Bremsstrahlung Production

  - Bremsstrahlung Production

    - Production Mechanism

    - Dependence on Atomic Number

    - Energy Spectrum

  - Range and Path Length

    - Multiple Scattering

    - Range in Matter

    - Practical Range

    - Transmission Through Absorbers

  - Positron Annihilation

    - Annihilation Process

    - Annihilation Radiation

    - Applications in Medical Imaging

- Interaction of Photons

  - Interaction Mechanisms

    - Photoelectric Effect

      - Process Description

      - Energy Dependence

      - Atomic Number Dependence

      - Angular Distribution

    - Compton Scattering

      - Scattering Process

      - Energy Transfer

      - Angular Distribution

      - Klein-Nishina Formula

    - Pair Production

      - Threshold Energy

      - Nuclear and Electronic Pair Production

      - Energy Distribution

    - Rayleigh Scattering

      - Coherent Scattering Process

      - Low-Energy Interactions

    - Photodisintegration

  - Attenuation of Photons

    - Exponential Attenuation Law

    - Narrow Beam Geometry

    - Broad Beam Geometry

  - Attenuation Coefficients

    - Linear Attenuation Coefficient

    - Mass Attenuation Coefficient

    - Atomic Attenuation Coefficient

    - Electronic Attenuation Coefficient

  - Buildup Factor

    - Definition and Physical Meaning

    - Energy and Material Dependence

    - Applications in Shielding

- Interaction of Neutrons

  - Neutron Cross Sections

    - Microscopic Cross Sections

    - Macroscopic Cross Sections

    - Energy Dependence

    - Resonance Phenomena

  - Elastic Scattering

    - Scattering Process

    - Energy Transfer to Target Nuclei

    - Moderation Process

  - Inelastic Scattering

    - Threshold Energy

    - Excitation of Target Nucleus

    - Gamma Ray Emission

  - Radiative Capture

    - Neutron Absorption Process

    - Gamma Ray Emission

    - Thermal Neutron Capture

  - Nuclear Fission

    - Fissionable and Fissile Materials

    - Fission Process

    - Fission Fragments

    - Neutron Multiplication

  - Other Nuclear Reactions

    - Charged Particle Production

    - Threshold Reactions

    - Activation Reactions

# General Properties and Characterization of Detectors

- Modes of Detector Operation

  - Pulse Mode

    - Individual Event Detection

    - Pulse Height Analysis

    - Timing Information

  - Current Mode

    - Average Current Measurement

    - High Count Rate Applications

  - Mean-Square-Voltage Mode

    - Campbell's Theorem

    - Fluctuation Analysis

    - Variance Measurements

- Detector Performance Metrics

  - Energy Resolution

    - Full Width at Half Maximum

    - Factors Affecting Resolution

      - Statistical Fluctuations

      - Electronic Noise

      - Incomplete Charge Collection

  - Detection Efficiency

    - Absolute Efficiency

    - Intrinsic Efficiency

    - Geometric Efficiency

    - Peak Efficiency

  - Dead Time

    - Paralyzable Detector Models

    - Non-paralyzable Detector Models

    - Effects on Counting Rate

    - Dead Time Correction Methods

  - Linearity

    - Response Linearity

    - Dynamic Range

  - Sensitivity

    - Minimum Detectable Signal

    - Signal-to-Noise Ratio

  - Stability

    - Long-term Stability

    - Temperature Effects

  - Background Response

    - Intrinsic Background

    - Environmental Background

# Counting Statistics and Data Analysis

- Nature of Random Processes in Radiation Measurement

  - Discrete Random Events

  - Fluctuations in Counting

  - Statistical Nature of Radioactive Decay

- Statistical Models

  - Binomial Distribution

    - Application to Counting Experiments

    - Parameters and Properties

  - Poisson Distribution

    - Limiting Case of Binomial Distribution

    - Use in Low-Count Regimes

    - Mean and Variance Properties

  - Gaussian Distribution

    - Central Limit Theorem

    - Application to High-Count Data

    - Standard Deviation and Confidence Intervals

- Propagation of Uncertainty

  - Error Propagation Formulas

  - Combined Uncertainties

  - Systematic and Random Errors

- Statistical Tests

  - Chi-Squared Test for Goodness of Fit

    - Calculation and Interpretation

    - Degrees of Freedom

  - Student's t-Test

  - F-Test for Variance Comparison

- Minimum Detectable Activity

  - Calculation Methods

  - Factors Affecting MDA

  - Critical Level and Detection Limit

- Quality Control in Measurements

  - Control Charts

  - Outlier Detection

  - Measurement Validation

# Gas-Filled Detectors

- Principle of Gas Ionization

  - Ion Pair Formation

  - W-Value for Different Gases

  - Recombination Processes

  - Charge Collection Mechanisms

- Charge Collection and Signal Formation

  - Electric Field Effects

  - Ion and Electron Mobility

  - Pulse Formation Process

  - Signal Development Time

- Regions of Detector Operation

  - Recombination Region

  - Ionization Chamber Region

  - Proportional Region

  - Limited Proportionality Region

  - Geiger-Müller Region

  - Continuous Discharge Region

- Ionization Chambers

  - Design and Construction

    - Parallel Plate Chambers

    - Cylindrical Chambers

    - Spherical Chambers

  - Operating Modes

    - Current Mode Operation

    - Pulse Mode Operation

  - Applications

    - Dose Rate Measurements

    - Dose Calibrators

    - Survey Meters

    - Environmental Monitoring

  - Pressurized Ion Chambers

- Proportional Counters

  - Gas Multiplication Process

    - Townsend Avalanche

    - Multiplication Factor

  - Design and Construction

    - Anode Wire Geometry

    - Cathode Configuration

    - Gas Flow Systems

  - Fill Gases and Quenching

    - Noble Gases

    - Quench Gas Functions

    - Gas Purity Requirements

  - Applications

    - X-Ray Spectroscopy

    - Alpha Spectroscopy

    - Neutron Detection

  - Multi-wire Proportional Chambers

- Geiger-Müller Counters

  - The Geiger Discharge

    - Avalanche Process

    - Discharge Propagation

  - Quenching Mechanisms

    - Internal Quenching

    - External Quenching

    - Organic Quench Gases

  - Plateau Characteristics

    - Plateau Slope

    - Operating Voltage Selection

  - Dead Time and Recovery

    - Dead Time Measurement

    - Recovery Time

    - Pulse Pile-up Effects

  - Common Designs

    - End-Window Tubes

    - Pancake Probes

    - Thin-Window Detectors

  - Applications and Limitations

# Scintillation Detectors

- Principles of Scintillation

  - Luminescence Mechanisms

    - Fluorescence

    - Phosphorescence

  - Energy Transfer Processes

    - Excitation Mechanisms

    - De-excitation Pathways

  - Scintillation Efficiency

- Types of Scintillators

  - Inorganic Scintillators

    - Alkali Halides

      - Sodium Iodide Thallium-Activated

      - Cesium Iodide Thallium-Activated

      - Properties and Applications

    - Oxide Scintillators

      - Bismuth Germanate

      - Lutetium Oxyorthosilicate

      - Gadolinium Oxyorthosilicate

    - Other Inorganic Materials

      - Calcium Fluoride

      - Barium Fluoride

  - Organic Scintillators

    - Crystalline Organics

      - Anthracene

      - Stilbene

      - Naphthalene

    - Liquid Scintillators

      - Solvent Systems

      - Primary and Secondary Solutes

      - Cocktail Preparation

    - Plastic Scintillators

      - Polymer Matrices

      - Dopant Systems

      - Fiber Scintillators

- Light Collection and Transport

  - Optical Coupling

    - Coupling Materials

    - Index Matching

  - Light Guides

    - Fiber Optics

    - Solid Light Guides

  - Reflectors and Light Collection Efficiency

- Photomultiplier Tubes

  - Photocathode

    - Photoelectric Effect

    - Quantum Efficiency

    - Spectral Response

  - Electron Focusing System

  - Dynode Chain

    - Electron Multiplication Process

    - Gain Characteristics

  - Anode

    - Signal Collection

    - Output Characteristics

  - PMT Performance Parameters

    - Dark Current

    - Timing Resolution

    - Linearity

- Silicon Photomultipliers

  - Structure and Operation Principle

  - Avalanche Photodiodes

  - Geiger Mode Operation

  - Comparison with PMTs

  - Applications and Advantages

- Applications

  - Gamma-Ray Spectroscopy

  - Medical Imaging

  - High Energy Physics

  - Environmental Monitoring

# Semiconductor Detectors

- Semiconductor Physics for Detectors

  - Energy Band Structure

    - Conduction Band

    - Valence Band

    - Band Gap Energy

  - Intrinsic Semiconductors

    - Pure Semiconductor Properties

    - Temperature Dependence

  - Extrinsic Semiconductors

    - n-Type Doping

    - p-Type Doping

    - Carrier Concentrations

  - The p-n Junction

    - Junction Formation

    - Built-in Potential

  - Depletion Region

    - Depletion Width

    - Electric Field Distribution

    - Capacitance Characteristics

- Principle of Operation

  - Radiation-Induced Charge Creation

    - Electron-Hole Pair Formation

    - Energy Required per Pair

    - Fano Factor

  - Charge Collection Process

    - Drift of Charge Carriers

    - Diffusion Effects

    - Trapping and Recombination

  - Signal Formation

    - Current Pulse Generation

    - Charge Collection Time

- Types of Semiconductor Detectors

  - Silicon Detectors

    - Diffused Junction Detectors

    - Surface Barrier Detectors

    - Ion-Implanted Detectors

    - Lithium-Drifted Silicon

  - Germanium Detectors

    - Lithium-Drifted Germanium

    - High-Purity Germanium

    - Coaxial and Planar Configurations

  - Compound Semiconductors

    - Cadmium Telluride

    - Cadmium Zinc Telluride

    - Mercuric Iodide

    - Gallium Arsenide

- Detector Cooling Requirements

  - Thermal Noise Considerations

  - Leakage Current Reduction

  - Cooling Methods

    - Liquid Nitrogen Cooling

    - Thermoelectric Cooling

    - Mechanical Refrigeration

- Performance Characteristics

  - Energy Resolution

    - Factors Limiting Resolution

    - Comparison with Other Detectors

  - Detection Efficiency

  - Radiation Damage Effects

  - Operating Considerations

- Applications

  - High-Resolution Gamma Spectroscopy

  - X-Ray Spectroscopy

  - Charged Particle Detection

  - Nuclear Physics Research

# Nuclear Electronics and Signal Processing

- Nuclear Instrumentation Standards

  - Nuclear Instrument Module Standard

  - CAMAC Standard

  - VME Standard

  - Modern Digital Standards

- Power Supplies and Infrastructure

  - NIM Power Supplies

  - Voltage and Current Requirements

  - Grounding and Shielding

- Signal Chain Components

  - Preamplifiers

    - Charge-Sensitive Preamplifiers

    - Voltage-Sensitive Preamplifiers

    - Current-Sensitive Preamplifiers

    - Feedback and Stability

  - Main Amplifiers

    - Linear Amplifiers

    - Pulse Shaping Functions

      - CR-RC Shaping

      - Gaussian Shaping

      - Trapezoidal Shaping

    - Pole-Zero Cancellation

    - Baseline Restoration

    - Pile-up Rejection

- Pulse Height Analysis

  - Single-Channel Analyzers

    - Window Discrimination

    - Integral and Differential Modes

  - Multichannel Analyzers

    - Analog-to-Digital Converters

      - Successive Approximation ADC

      - Flash ADC

      - Pipeline ADC

    - Memory Systems

    - Display and Data Processing

  - Digital Signal Processing

    - Digital Pulse Processing

    - Real-time Analysis

- Timing and Coincidence Circuits

  - Discriminators

    - Leading Edge Discriminators

    - Constant Fraction Discriminators

    - Zero Crossing Discriminators

  - Logic Circuits

    - Coincidence Gates

    - Anticoincidence Gates

    - Delay Lines

  - Time-to-Amplitude Converters

    - Start-Stop Operation

    - Time Resolution

  - Time-to-Digital Converters

- Modern Digital Electronics

  - Digital Pulse Processors

  - Field-Programmable Gate Arrays

  - Software-Defined Instrumentation

# Radiation Spectroscopy

- Principles of Spectroscopy

  - Energy Measurement Concepts

  - Spectrum Formation

  - Resolution and Peak Shape

  - Calibration Requirements

- Gamma-Ray Spectroscopy

  - Spectrum Features

    - Full-Energy Peak

    - Compton Continuum

    - Compton Edge

    - Backscatter Peak

    - Single Escape Peak

    - Double Escape Peak

    - Annihilation Peak

    - Sum Peaks

    - X-Ray Peaks

  - Peak Analysis

    - Peak Fitting Methods

    - Background Subtraction

    - Peak Area Determination

  - Calibration Procedures

    - Energy Calibration

    - Efficiency Calibration

    - Linearity Checks

  - Quantitative Analysis

    - Activity Calculations

    - Correction Factors

    - Uncertainty Analysis

  - Applications

    - Radionuclide Identification

    - Environmental Monitoring

    - Nuclear Material Assay

- Alpha Spectroscopy

  - Challenges in Alpha Spectroscopy

    - Self-Absorption Effects

    - Energy Straggling

    - Source Preparation Requirements

  - Detector Systems

    - Silicon Surface Barrier Detectors

    - Ion-Implanted Detectors

    - Gas Proportional Counters

  - Vacuum Requirements

  - Applications

    - Actinide Analysis

    - Radon Progeny Measurements

- Beta Spectroscopy

  - Continuous Energy Spectrum

  - Detector Considerations

    - Plastic Scintillators

    - Liquid Scintillation Counting

  - Background Considerations

  - Applications

    - Pure Beta Emitter Analysis

    - Environmental Monitoring

- X-Ray Spectroscopy

  - X-Ray Fluorescence Spectroscopy

    - Excitation Methods

    - Detector Systems

    - Qualitative and Quantitative Analysis

  - Energy-Dispersive Spectroscopy

  - Wavelength-Dispersive Spectroscopy

  - Applications

    - Elemental Analysis

    - Material Characterization

# Neutron Detection and Measurement

- Challenges in Neutron Detection

  - Neutral Particle Detection

  - Background Discrimination

  - Energy Dependence

  - Directional Information

- Thermal Neutron Detection

  - Nuclear Reactions for Detection

    - Boron-10 Reactions

    - Lithium-6 Reactions

    - Helium-3 Reactions

    - Uranium-235 Fission

  - Boron-Based Detectors

    - Boron Trifluoride Proportional Counters

    - Boron-Lined Proportional Counters

    - Boron-Loaded Plastic Scintillators

  - Lithium-Based Detectors

    - Lithium-6 Glass Scintillators

    - Lithium Iodide Scintillators

  - Helium-3 Proportional Counters

    - Operating Principles

    - Gas Pressure Effects

  - Fission Chambers

    - Uranium-Coated Chambers

    - Plutonium-Coated Chambers

    - Compensated Ion Chambers

- Fast Neutron Detection

  - Proton Recoil Methods

    - Organic Scintillators

    - Proportional Counters with Hydrogenous Gas

  - Threshold Activation Detectors

    - Activation Foils

    - Threshold Reactions

  - Time-of-Flight Methods

- Neutron Spectrometry

  - Bonner Sphere Systems

    - Moderating Spheres

    - Energy Response Functions

    - Unfolding Techniques

  - Proton Recoil Spectrometers

  - Time-of-Flight Spectrometry

    - Flight Path Requirements

    - Timing Resolution

  - Activation Foil Methods

- Neutron Dosimetry

  - Dose Equivalent Measurements

  - Albedo Dosimeters

  - Track Etch Detectors

# Health Physics and Dosimetry

- Radiation Quantities and Units

  - Exposure

    - Definition and Units

    - Roentgen

    - Air Kerma

  - Absorbed Dose

    - Definition and Concept

    - Gray

    - rad

    - Dose Rate

  - Equivalent Dose

    - Radiation Weighting Factors

    - Sievert

    - rem

  - Effective Dose

    - Tissue Weighting Factors

    - Committed Dose

    - Collective Dose

  - Operational Quantities

    - Ambient Dose Equivalent

    - Personal Dose Equivalent

    - Directional Dose Equivalent

- Principles of Radiation Protection

  - Justification

  - Optimization

  - Dose Limitation

  - ALARA Principle

  - Time Factor

  - Distance Factor

  - Shielding Factor

- Personal Dosimetry

  - Thermoluminescent Dosimeters

    - TLD Materials

    - Annealing Procedures

    - Readout Systems

    - Advantages and Limitations

  - Optically Stimulated Luminescence Dosimeters

    - OSL Materials

    - Readout Methods

    - Performance Characteristics

  - Film Badge Dosimeters

    - Film Types

    - Filter Systems

    - Processing and Evaluation

  - Electronic Personal Dosimeters

    - Real-time Monitoring

    - Alarm Functions

  - Neutron Dosimeters

    - Albedo Dosimeters

    - Track Etch Detectors

- Area Monitoring

  - Fixed Area Monitors

    - Continuous Air Monitors

    - Portal Monitors

    - Contamination Monitors

  - Portable Survey Instruments

    - Ion Chamber Survey Meters

    - Geiger-Mueller Survey Meters

    - Scintillation Survey Meters

    - Neutron Survey Instruments

- Instrument Calibration and Quality Assurance

  - Calibration Standards

    - Reference Sources

    - Traceability Requirements

  - Calibration Procedures

    - Energy Response

    - Angular Response

    - Environmental Conditions

  - Quality Assurance Programs

    - Performance Testing

    - Intercomparison Studies

  - Documentation and Records

    - Calibration Certificates

    - Maintenance Records

    - Performance History

- Radiation Detection in Emergency Response

  - Emergency Response Instruments

  - Rapid Assessment Methods

  - Field Measurements

  - Data Communication Systems

Created with UsefulLinks