# Spectroscopy

# Fundamentals of Spectroscopy

- Nature of Spectroscopy

  - Definition and Scope

  - Historical Development

  - Classification of Spectroscopic Methods

    - Atomic Spectroscopy

    - Molecular Spectroscopy

    - Magnetic Resonance Spectroscopy

- Electromagnetic Radiation

  - Wave Properties

    - Wavelength

      - Units of Measurement

      - Relationship to Energy

    - Frequency

      - Units of Measurement

      - Relationship to Wavelength

    - Wavenumber

      - Definition and Units

      - Use in Spectroscopy

    - Amplitude

      - Physical Meaning

      - Relation to Intensity

    - Velocity

      - Speed of Light in Vacuum

      - Effect of Medium

  - Particle Nature of Light

    - Photons

      - Energy Quantization

    - Planck-Einstein Relation

      - Planck's Constant

      - Energy Calculations

  - Electromagnetic Spectrum

    - Overview and Regions

    - Radio Waves

      - Frequency Range

      - Wavelength Range

      - Applications in Spectroscopy

    - Microwaves

      - Frequency Range

      - Wavelength Range

      - Rotational Spectroscopy Applications

    - Infrared

      - Near-Infrared

      - Mid-Infrared

      - Far-Infrared

      - Vibrational Spectroscopy Applications

    - Visible Light

      - Frequency Range

      - Wavelength Range

      - Color Perception

    - Ultraviolet

      - Near-UV

      - Far-UV

      - Electronic Transitions

    - X-rays

      - Soft X-rays

      - Hard X-rays

      - Core Electron Transitions

    - Gamma Rays

      - Frequency Range

      - Nuclear Transitions

- Interaction of Radiation with Matter

  - Fundamental Processes

    - Absorption

      - Mechanism

      - Absorption Spectra

      - Absorption Cross-Section

    - Emission

      - Spontaneous Emission

      - Stimulated Emission

      - Emission Spectra

    - Scattering

      - Elastic Scattering

        - Rayleigh Scattering

      - Inelastic Scattering

        - Raman Scattering

    - Fluorescence

      - Mechanism

      - Fluorescence Lifetime

    - Phosphorescence

      - Mechanism

      - Phosphorescence Lifetime

  - Quantum Mechanical Principles

    - Quantized Energy Levels

      - Electronic Energy Levels

        - Ground State

        - Excited States

      - Vibrational Energy Levels

        - Normal Modes

        - Harmonic Oscillator Model

      - Rotational Energy Levels

        - Rigid Rotor Model

        - Rotational Quantum Numbers

      - Nuclear Spin States

        - Spin Quantum Number

        - Magnetic Sublevels

    - Transitions Between States

      - Absorption Processes

      - Emission Processes

      - Energy Conservation

      - Transition Probabilities

    - Born-Oppenheimer Approximation

      - Separation of Electronic and Nuclear Motion

      - Implications for Spectroscopy

    - Selection Rules

      - Allowed Transitions

      - Forbidden Transitions

      - Symmetry Considerations

    - Transition Dipole Moment

      - Electric Dipole Transitions

      - Magnetic Dipole Transitions

      - Role in Transition Probability

# General Spectroscopic Instrumentation and Concepts

- Components of a Spectrometer

  - Radiation Source

    - Continuous Sources

      - Tungsten Lamps

      - Deuterium Lamps

      - Xenon Arc Lamps

    - Line Sources

      - Hollow Cathode Lamps

      - Gas Discharge Lamps

    - Laser Sources

      - Coherent Radiation

      - Monochromatic Output

    - Source Stability

      - Power Fluctuations

      - Wavelength Drift

  - Wavelength Selector

    - Filters

      - Absorption Filters

      - Interference Filters

      - Bandpass Characteristics

    - Monochromators

      - Prisms

        - Dispersion Principle

        - Material Properties

      - Gratings

        - Diffraction Principle

        - Blazed Gratings

        - Holographic Gratings

      - Resolution and Dispersion

  - Sample Holder

    - Cuvettes

      - Quartz Cuvettes

      - Glass Cuvettes

      - Plastic Cuvettes

      - Path Length Considerations

    - Gas Cells

      - Variable Path Length Cells

      - High-Pressure Cells

    - Liquid Cells

      - Flow Cells

      - Temperature-Controlled Cells

    - Solid Sample Holders

      - Transmission Holders

      - Reflection Holders

  - Detector

    - Photomultiplier Tubes

      - Photocathode Materials

      - Dynode Chain

      - Dark Current

    - Photodiodes

      - Silicon Photodiodes

      - InGaAs Photodiodes

      - Response Characteristics

    - Charge-Coupled Devices

      - Array Detectors

      - Quantum Efficiency

    - Thermal Detectors

      - Bolometers

      - Pyroelectric Detectors

  - Signal Processing

    - Amplification

      - Low-Noise Amplifiers

      - Lock-in Amplifiers

    - Analog-to-Digital Conversion

      - Resolution

      - Sampling Rate

    - Data Display and Storage

      - Real-Time Display

      - Data Logging

- Key Performance Metrics

  - Spectral Resolution

    - Factors Affecting Resolution

      - Slit Width

      - Grating Characteristics

      - Optical Design

  - Signal-to-Noise Ratio

    - Sources of Noise

      - Shot Noise

      - Thermal Noise

      - Flicker Noise

    - Methods to Improve Signal-to-Noise Ratio

      - Signal Averaging

      - Modulation Techniques

      - Cooling Detectors

  - Sensitivity and Detection Limit

    - Sensitivity Definition

    - Detection Limit Definition

    - Limit of Quantification

    - Factors Affecting Sensitivity

      - Source Intensity

      - Detector Efficiency

      - Optical Throughput

- Spectral Representation

  - Types of Spectra

    - Absorption Spectrum

    - Emission Spectrum

    - Excitation Spectrum

    - Action Spectrum

  - Transmittance and Absorbance

    - Transmittance Definition

    - Absorbance Definition

    - Relationship Between Transmittance and Absorbance

  - Beer-Lambert Law

    - Mathematical Formulation

    - Molar Absorptivity

    - Path Length Dependence

    - Concentration Dependence

    - Limitations and Deviations

      - Chemical Deviations

      - Instrumental Deviations

      - Stray Light Effects

  - Linewidth and Broadening Mechanisms

    - Natural Broadening

      - Lifetime Broadening

      - Uncertainty Principle

    - Doppler Broadening

      - Temperature Dependence

      - Molecular Mass Dependence

    - Pressure Broadening

      - Collision Frequency

      - Lorentzian Line Shape

    - Instrumental Broadening

      - Slit Function

      - Convolution Effects

# Atomic Spectroscopy

- Principles of Atomic Spectra

  - Atomic Structure

    - Electron Configuration

    - Orbital Angular Momentum

    - Spin Angular Momentum

    - Total Angular Momentum

  - Atomic Energy Levels

    - Hydrogen-like Atoms

    - Multi-electron Atoms

    - Term Symbols

    - Energy Level Diagrams

  - Selection Rules for Atomic Transitions

    - Electric Dipole Transitions

    - Magnetic Dipole Transitions

    - Forbidden Transitions

  - Atomic Line Spectra

    - Line Series

    - Multiplet Structure

    - Fine Structure

    - Hyperfine Structure

      - Nuclear Spin Effects

      - Isotope Effects

- Atomic Absorption Spectroscopy

  - Principles

    - Ground State Absorption

    - Resonance Lines

    - Population Distribution

  - Instrumentation

    - Light Sources

      - Hollow Cathode Lamps

      - Electrodeless Discharge Lamps

    - Atomizers

      - Flame Atomizers

      - Electrothermal Atomizers

    - Monochromators

    - Detectors

  - Atomization Methods

    - Flame Atomization

      - Flame Types

      - Flame Structure

      - Sample Introduction Systems

        - Nebulizers

        - Spray Chambers

      - Temperature Profiles

    - Electrothermal Atomization

      - Graphite Furnace Design

      - Temperature Programming

        - Drying Stage

        - Ashing Stage

        - Atomization Stage

      - Matrix Modifiers

    - Hydride Generation

      - Chemical Reduction

      - Cold Vapor Technique

  - Interferences

    - Chemical Interferences

      - Compound Formation

      - Ionization Interference

    - Spectral Interferences

      - Line Overlap

      - Background Absorption

    - Physical Interferences

      - Viscosity Effects

      - Surface Tension Effects

    - Matrix Effects

      - Enhancement Effects

      - Suppression Effects

  - Calibration and Quantification

    - External Calibration

    - Standard Addition Method

    - Internal Standard Method

    - Method of Standard Additions

- Atomic Emission Spectroscopy

  - Principles

    - Thermal Excitation

    - Population Distribution

    - Emission Intensity

  - Excitation Sources

    - Flame Sources

      - Air-Acetylene Flame

      - Nitrous Oxide-Acetylene Flame

    - Plasma Sources

      - Inductively Coupled Plasma

      - Direct Current Plasma

      - Microwave Induced Plasma

    - Arc and Spark Sources

      - DC Arc

      - AC Spark

  - Inductively Coupled Plasma Atomic Emission Spectroscopy

    - ICP Torch Design

    - Plasma Formation

    - Sample Introduction

    - Advantages and Limitations

  - Instrumentation

    - Spectrometers

      - Sequential Spectrometers

      - Simultaneous Spectrometers

    - Detectors

      - Photomultiplier Tubes

      - Charge-Coupled Devices

  - Analytical Applications

    - Multi-element Analysis

    - Trace Element Detection

    - Matrix Tolerance

- Atomic Fluorescence Spectroscopy

  - Principles

    - Resonance Fluorescence

    - Non-resonance Fluorescence

    - Fluorescence Quantum Yield

  - Instrumentation

    - Excitation Sources

    - Atomizers

    - Detection Systems

  - Advantages and Limitations

# Molecular Spectroscopy

- Rotational Spectroscopy

  - Principles

    - Molecular Rotation

    - Moment of Inertia

    - Rotational Constants

  - Rigid Rotor Model

    - Assumptions

    - Energy Level Expression

    - Rotational Quantum Numbers

  - Selection Rules

    - Dipole Moment Requirement

    - Change in Rotational Quantum Number

  - Spectral Features

    - Line Positions

    - Line Intensities

    - Temperature Dependence

  - Instrumentation

    - Microwave Sources

      - Klystrons

      - Gunn Diodes

    - Waveguides

    - Resonant Cavities

    - Detectors

      - Crystal Detectors

      - Bolometers

  - Applications

    - Bond Length Determination

    - Bond Angle Determination

    - Molecular Structure Elucidation

    - Isotopic Substitution Studies

- Vibrational Spectroscopy

  - Infrared Spectroscopy

    - Principles

      - Molecular Vibrations

      - Dipole Moment Changes

      - Vibrational Modes

    - Types of Molecular Vibrations

      - Stretching Vibrations

        - Symmetric Stretching

        - Asymmetric Stretching

      - Bending Vibrations

        - In-plane Bending

        - Out-of-plane Bending

    - Harmonic Oscillator Model

      - Energy Quantization

      - Vibrational Quantum Numbers

      - Zero-Point Energy

    - Anharmonicity

      - Morse Potential

      - Overtones

      - Combination Bands

      - Hot Bands

    - Normal Modes

      - Degrees of Freedom

      - Linear Molecules

      - Nonlinear Molecules

      - Group Theory Applications

    - Selection Rules

      - Fundamental Transitions

      - Overtone Transitions

      - Combination Transitions

    - Instrumentation

      - Dispersive IR Spectrometers

        - Prism Spectrometers

        - Grating Spectrometers

      - Fourier Transform Infrared Spectrometers

        - Michelson Interferometer

        - Advantages of FTIR

          - Multiplex Advantage

          - Throughput Advantage

          - Wavenumber Accuracy

    - Sample Handling Techniques

      - Gas Phase Samples

        - Gas Cells

        - Variable Path Length Cells

      - Liquid Phase Samples

        - Liquid Cells

        - Solution Cells

      - Solid Phase Samples

        - KBr Pellets

        - Nujol Mulls

        - Thin Films

      - Attenuated Total Reflectance

        - ATR Crystals

        - Penetration Depth

    - Spectral Interpretation

      - Characteristic Group Frequencies

        - O-H Stretching

        - N-H Stretching

        - C-H Stretching

        - C=O Stretching

        - C=C Stretching

        - C-O Stretching

      - Fingerprint Region

        - Complex Vibrational Patterns

        - Molecular Identification

      - Environmental Effects

        - Hydrogen Bonding

        - Solvent Effects

        - Phase Effects

    - Quantitative Analysis

      - Beer-Lambert Law Applications

      - Baseline Correction

      - Peak Integration

  - Raman Spectroscopy

    - Principles

      - Raman Effect

      - Polarizability Changes

      - Virtual Energy States

    - Types of Raman Scattering

      - Stokes Scattering

      - Anti-Stokes Scattering

      - Rayleigh Scattering

    - Polarizability Theory

      - Induced Dipole Moment

      - Polarizability Tensor

    - Selection Rules

      - Polarizability Change Requirement

      - Comparison with IR Selection Rules

      - Mutual Exclusion Rule

    - Instrumentation

      - Laser Sources

        - Argon Ion Lasers

        - Helium-Neon Lasers

        - Diode Lasers

      - Notch Filters

      - Spectrographs

      - Detectors

        - Photomultiplier Tubes

        - CCD Detectors

    - Comparison with IR Spectroscopy

      - Complementary Information

      - Advantages of Raman

        - Water Compatibility

        - Low-Frequency Vibrations

      - Limitations of Raman

        - Fluorescence Interference

        - Laser Power Requirements

    - Advanced Raman Techniques

      - Surface-Enhanced Raman Spectroscopy

        - Enhancement Mechanisms

        - SERS Substrates

      - Resonance Raman Spectroscopy

        - Electronic Resonance

        - Selective Enhancement

      - Coherent Anti-Stokes Raman Spectroscopy

        - CARS Principle

    - Applications

      - Structural Analysis

      - Polymorphism Studies

      - Biological Systems

      - Material Characterization

- Electronic Spectroscopy

  - Principles

    - Electronic Transitions

    - Molecular Orbitals

    - Chromophores and Auxochromes

  - Types of Electronic Transitions

    - σ to σ* Transitions

      - High Energy Transitions

      - Saturated Hydrocarbons

    - n to σ* Transitions

      - Heteroatom Lone Pairs

      - Alcohols and Amines

    - π to π* Transitions

      - Conjugated Systems

      - Aromatic Compounds

    - n to π* Transitions

      - Carbonyl Compounds

      - Lower Intensity Transitions

  - Chromophores

    - Examples

      - Carbonyl Group

      - Aromatic Rings

      - Conjugated Systems

  - Auxochromes

    - Effect on Absorption

      - Bathochromic Shift

      - Hypsochromic Shift

      - Hyperchromic Effect

      - Hypochromic Effect

  - Franck-Condon Principle

    - Vertical Transitions

    - Vibrational Structure

    - Band Shapes

  - Instrumentation

    - Single-Beam Spectrophotometers

    - Double-Beam Spectrophotometers

    - Diode Array Spectrophotometers

    - Light Sources

      - Deuterium Lamps

      - Tungsten Lamps

      - Xenon Arc Lamps

    - Monochromators

    - Detectors

      - Photomultiplier Tubes

      - Photodiodes

      - CCD Arrays

  - Quantitative Analysis

    - Beer-Lambert Law Applications

    - Calibration Curves

    - Standard Addition Method

    - Internal Standards

    - Multicomponent Analysis

  - Applications

    - Concentration Determination

    - Kinetic Studies

    - Equilibrium Studies

    - Conjugated System Analysis

    - Protein and Nucleic Acid Analysis

# Magnetic Resonance Spectroscopy

- Nuclear Magnetic Resonance Spectroscopy

  - Principles

    - Nuclear Spin

      - Spin Quantum Number

      - Magnetic Moment

      - Gyromagnetic Ratio

    - Nuclei in Magnetic Fields

      - Zeeman Effect

      - Energy Level Splitting

      - Population Distribution

    - Resonance Condition

      - Larmor Frequency

      - Radiofrequency Excitation

  - Instrumentation

    - Magnets

      - Permanent Magnets

      - Electromagnets

      - Superconducting Magnets

        - Field Strength

        - Field Homogeneity

        - Shimming

    - Radiofrequency System

      - Transmitter

      - Receiver

      - Probe Design

    - Fourier Transform NMR

      - Pulse Sequences

      - Free Induction Decay

      - Data Acquisition

      - Signal Processing

  - Proton NMR

    - Chemical Shift

      - Shielding and Deshielding

      - Reference Standards

        - Tetramethylsilane

      - Chemical Shift Scale

      - Factors Affecting Chemical Shift

        - Electronegativity

        - Anisotropy Effects

        - Hydrogen Bonding

    - Spin-Spin Coupling

      - Coupling Mechanism

      - Coupling Constants

      - Multiplicity Rules

      - First-Order Coupling

      - Higher-Order Coupling

    - Integration

      - Peak Area Measurement

      - Quantitative Analysis

      - Relative Intensities

  - Carbon-13 NMR

    - Natural Abundance

    - Sensitivity Considerations

    - Proton-Coupled Spectra

    - Proton-Decoupled Spectra

    - Chemical Shift Ranges

    - Multiplicity Determination

      - DEPT Technique

      - APT Technique

  - Advanced NMR Techniques

    - Two-Dimensional NMR

      - COSY

        - Homonuclear Correlation

        - Connectivity Information

      - HSQC

        - Heteronuclear Correlation

        - One-Bond Correlations

      - HMBC

        - Long-Range Correlations

        - Multiple-Bond Connectivity

      - NOESY

        - Nuclear Overhauser Effect

        - Spatial Proximity

    - Variable Temperature NMR

      - Dynamic Processes

      - Exchange Phenomena

    - Solid-State NMR

      - Magic Angle Spinning

      - Cross Polarization

      - Dipolar Decoupling

  - Applications

    - Structure Determination

    - Purity Assessment

    - Quantitative Analysis

    - Dynamic Studies

- Electron Paramagnetic Resonance Spectroscopy

  - Principles

    - Unpaired Electrons

    - Electron Spin

    - Magnetic Moment

    - Zeeman Effect for Electrons

  - g-Factor

    - Free Electron g-Value

    - Chemical Shift Analog

    - Anisotropy

  - Hyperfine Coupling

    - Interaction with Nuclear Spins

    - Coupling Constants

    - Splitting Patterns

  - Instrumentation

    - Microwave Sources

    - Resonant Cavities

    - Magnetic Field Control

    - Detection Systems

  - Applications

    - Free Radical Studies

    - Transition Metal Complexes

    - Biological Systems

    - Material Science

# Other Spectroscopic Methods

- Mass Spectrometry

  - Principles

    - Ion Formation

    - Mass-to-Charge Ratio

    - Ion Separation

    - Ion Detection

  - Ionization Methods

    - Electron Impact Ionization

      - Hard Ionization

      - Fragmentation Patterns

    - Chemical Ionization

      - Soft Ionization

      - Reagent Gases

    - Electrospray Ionization

      - Solution-Phase Ionization

      - Multiply Charged Ions

    - Matrix-Assisted Laser Desorption/Ionization

      - Matrix Selection

      - Large Molecule Analysis

    - Atmospheric Pressure Chemical Ionization

    - Fast Atom Bombardment

  - Mass Analyzers

    - Magnetic Sector

      - Ion Trajectory

      - Mass Resolution

    - Quadrupole

      - RF and DC Voltages

      - Mass Filtering

    - Time-of-Flight

      - Ion Acceleration

      - Flight Time Measurement

      - Reflectron Design

    - Ion Trap

      - Three-Dimensional Trap

      - Linear Trap

    - Fourier Transform Ion Cyclotron Resonance

      - Cyclotron Motion

      - High Resolution

  - Detectors

    - Electron Multipliers

    - Faraday Cups

    - Microchannel Plates

  - Data Interpretation

    - Molecular Ion Peak

    - Isotopic Patterns

    - Fragmentation Patterns

    - Base Peak

    - Metastable Ions

  - Applications

    - Molecular Weight Determination

    - Structural Elucidation

    - Quantitative Analysis

    - Proteomics

    - Metabolomics

- X-ray Spectroscopy

  - X-ray Fluorescence Spectroscopy

    - Principles

      - Core Electron Excitation

      - Characteristic X-ray Emission

      - Auger Effect

    - Instrumentation

      - X-ray Sources

      - Crystal Spectrometers

      - Detectors

    - Applications

      - Elemental Analysis

      - Quantitative Analysis

  - X-ray Photoelectron Spectroscopy

    - Principles

      - Photoelectric Effect

      - Binding Energy Measurement

      - Chemical Shifts

    - Instrumentation

      - X-ray Sources

      - Electron Energy Analyzers

      - Ultra-High Vacuum Systems

    - Applications

      - Surface Analysis

      - Chemical State Analysis

  - X-ray Absorption Spectroscopy

    - X-ray Absorption Near Edge Structure

      - Electronic Transitions

      - Oxidation State Information

    - Extended X-ray Absorption Fine Structure

      - Local Structure Information

      - Coordination Environment

- Luminescence Spectroscopy

  - Principles of Luminescence

    - Photoluminescence

    - Chemiluminescence

    - Bioluminescence

    - Electroluminescence

  - Fluorescence Spectroscopy

    - Excitation and Emission

    - Stokes Shift

    - Quantum Yield

    - Fluorescence Lifetime

    - Jablonski Diagram

      - Singlet States

      - Vibrational Relaxation

      - Internal Conversion

  - Phosphorescence Spectroscopy

    - Triplet States

    - Intersystem Crossing

    - Phosphorescence Lifetime

    - Temperature Effects

  - Quenching Mechanisms

    - Dynamic Quenching

      - Collisional Quenching

      - Stern-Volmer Equation

    - Static Quenching

      - Ground State Complex Formation

  - Instrumentation

    - Excitation Sources

      - Xenon Arc Lamps

      - Laser Sources

    - Monochromators

      - Excitation Monochromator

      - Emission Monochromator

    - Detectors

      - Photomultiplier Tubes

      - CCD Detectors

    - Time-Resolved Systems

  - Applications

    - Analytical Chemistry

    - Biological Imaging

    - Environmental Monitoring

    - Material Characterization

- Circular Dichroism Spectroscopy

  - Principles

    - Circularly Polarized Light

    - Optical Activity

    - Differential Absorption

    - Cotton Effect

  - Instrumentation

    - Light Sources

    - Polarizers

    - Photoelastic Modulators

    - Detectors

  - Applications

    - Chiral Molecule Analysis

    - Protein Secondary Structure

    - Nucleic Acid Conformation

    - Enzyme Studies

# Applications and Data Analysis

- Qualitative Analysis

  - Compound Identification

    - Spectral Fingerprinting

    - Database Searching

    - Library Matching

  - Functional Group Analysis

    - Characteristic Frequencies

    - Group Identification

  - Structural Elucidation

    - Molecular Structure Determination

    - Stereochemistry Analysis

    - Conformational Analysis

  - Purity Assessment

    - Impurity Detection

    - Spectral Purity

- Quantitative Analysis

  - Concentration Determination

    - Calibration Methods

      - External Standard Method

      - Internal Standard Method

      - Standard Addition Method

    - Linear Range

    - Detection Limits

  - Kinetic Studies

    - Reaction Monitoring

    - Rate Constant Determination

    - Mechanism Elucidation

  - Equilibrium Studies

    - Equilibrium Constants

    - Thermodynamic Parameters

  - Multi-component Analysis

    - Simultaneous Determination

    - Spectral Deconvolution

- Spectral Databases and Libraries

  - Types of Databases

    - Commercial Databases

    - Public Databases

    - In-house Libraries

  - Search Algorithms

    - Peak Matching

    - Correlation Methods

    - Pattern Recognition

  - Database Maintenance

    - Quality Control

    - Regular Updates

- Chemometrics

  - Data Preprocessing

    - Baseline Correction

      - Polynomial Fitting

      - Asymmetric Least Squares

    - Normalization

      - Area Normalization

      - Peak Normalization

    - Smoothing

      - Savitzky-Golay Smoothing

      - Moving Average

    - Derivative Spectroscopy

      - First Derivative

      - Second Derivative

  - Multivariate Analysis

    - Principal Component Analysis

      - Dimensionality Reduction

      - Variance Explanation

      - Score Plots

      - Loading Plots

    - Partial Least Squares Regression

      - Quantitative Modeling

      - Cross-Validation

      - Prediction Accuracy

    - Cluster Analysis

      - Hierarchical Clustering

      - K-means Clustering

    - Discriminant Analysis

      - Classification Methods

      - Pattern Recognition

  - Calibration Methods

    - Univariate Calibration

    - Multivariate Calibration

    - Model Validation

    - Outlier Detection

- Error Analysis and Method Validation

  - Sources of Error

    - Systematic Errors

    - Random Errors

    - Instrumental Errors

    - Sample-Related Errors

  - Statistical Analysis

    - Precision

    - Accuracy

    - Confidence Intervals

    - Significance Testing

  - Method Validation

    - Linearity

    - Range

    - Precision

      - Repeatability

      - Reproducibility

    - Accuracy

    - Detection Limit

    - Quantification Limit

    - Robustness

    - Ruggedness

  - Quality Control

    - Control Charts

    - Reference Materials

    - Proficiency Testing

    - Method Comparison

Created with UsefulLinks