# Structural Analysis and Design

# Introduction to Structural Engineering

- Definition and Scope of Structural Engineering

- Historical Development of Structural Engineering

  - Ancient Structural Systems

  - Industrial Revolution Impact

  - Modern Developments

  - Contemporary Innovations

- Role of a Structural Engineer

  - Design Responsibilities

  - Construction Phase Involvement

  - Inspection and Assessment

  - Collaboration with Architects

  - Collaboration with MEP Engineers

  - Collaboration with Geotechnical Engineers

  - Ethical Considerations

  - Professional Licensing Requirements

  - Continuing Education

- Types of Structures

  - Buildings

    - Residential Buildings

      - Single-Family Homes

      - Multi-Family Housing

      - High-Rise Residential

    - Commercial Buildings

      - Office Buildings

      - Retail Structures

      - Hotels and Hospitality

    - Industrial Buildings

      - Manufacturing Facilities

      - Warehouses

      - Processing Plants

    - Institutional Buildings

      - Schools and Universities

      - Hospitals

      - Government Buildings

  - Transportation Structures

    - Highway Bridges

    - Railway Bridges

    - Pedestrian Bridges

    - Tunnels

    - Airports

  - Towers and Masts

    - Communication Towers

    - Transmission Towers

    - Wind Turbine Towers

  - Retaining Structures

    - Gravity Retaining Walls

    - Cantilever Retaining Walls

    - Anchored Walls

    - Basement Walls

  - Special Structures

    - Shell Structures

    - Space Frames

    - Domes

    - Stadiums and Arenas

    - Long-Span Structures

- Structural Systems and Components

  - Beams

    - Simply Supported Beams

    - Cantilever Beams

    - Continuous Beams

    - Overhanging Beams

  - Columns

    - Short Columns

    - Intermediate Columns

    - Slender Columns

    - Built-Up Columns

  - Trusses

    - Plane Trusses

    - Space Trusses

    - Roof Trusses

    - Bridge Trusses

  - Frames

    - Rigid Frames

    - Braced Frames

    - Portal Frames

    - Multi-Story Frames

  - Arches

    - Three-Hinged Arches

    - Two-Hinged Arches

    - Fixed Arches

    - Parabolic Arches

  - Cables and Tension Systems

    - Suspension Cables

    - Cable-Stayed Systems

    - Tension Rods

  - Slabs and Plates

    - One-Way Slabs

    - Two-Way Slabs

    - Flat Plates

    - Flat Slabs

    - Waffle Slabs

  - Foundations

    - Shallow Foundations

      - Strip Footings

      - Isolated Footings

      - Combined Footings

    - Deep Foundations

      - Driven Piles

      - Drilled Shafts

      - Caissons

    - Mat Foundations

- Construction Materials

  - Steel

    - Carbon Steel

    - High-Strength Low-Alloy Steel

    - Stainless Steel

    - Material Properties

    - Grades and Specifications

    - Corrosion Protection

  - Concrete

    - Normal Weight Concrete

    - Lightweight Concrete

    - High-Strength Concrete

    - Self-Consolidating Concrete

    - Mix Design Principles

    - Curing Requirements

    - Durability Factors

  - Reinforcing Steel

    - Deformed Bars

    - Welded Wire Reinforcement

    - Prestressing Steel

  - Timber

    - Softwood Species

    - Hardwood Species

    - Engineered Wood Products

    - Grading Systems

    - Preservation Methods

  - Masonry

    - Clay Brick

    - Concrete Masonry Units

    - Natural Stone

    - Mortar Types

  - Composite Materials

    - Fiber-Reinforced Polymers

    - Steel-Concrete Composites

    - Timber-Concrete Composites

# Fundamentals of Structural Mechanics

- Mathematical Prerequisites

  - Vector Analysis

  - Differential Equations

  - Matrix Operations

  - Calculus Applications

- Principles of Statics

  - Force Systems

    - Concurrent Forces

    - Parallel Forces

    - General Force Systems

    - Distributed Forces

  - Vector Operations

    - Vector Addition

    - Vector Resolution

    - Dot Product

    - Cross Product

  - Equilibrium Conditions

    - Particle Equilibrium

    - Rigid Body Equilibrium

    - Two-Dimensional Equilibrium

    - Three-Dimensional Equilibrium

  - Free Body Diagrams

    - Isolation of Systems

    - Force Identification

    - Moment Identification

    - Support Reactions

  - Support Types and Reactions

    - Pin Supports

    - Roller Supports

    - Fixed Supports

    - Internal Hinges

    - Reaction Calculations

  - Centroids and Centers of Gravity

    - Centroid of Areas

    - Centroid of Lines

    - Composite Shapes

    - Center of Mass

  - Area Moments of Inertia

    - Second Moments of Area

    - Parallel Axis Theorem

    - Polar Moments of Inertia

    - Principal Axes

    - Product of Inertia

- Mechanics of Materials

  - Stress and Strain Concepts

    - Normal Stress

      - Axial Stress

      - Bearing Stress

      - Stress Concentrations

    - Shear Stress

      - Direct Shear

      - Torsional Shear

      - Transverse Shear

    - Normal Strain

      - Axial Strain

      - Lateral Strain

    - Shear Strain

      - Angular Distortion

    - Stress-Strain Relationships

      - Linear Elastic Behavior

      - Hooke's Law

      - Modulus of Elasticity

      - Shear Modulus

      - Poisson's Ratio

  - Material Properties

    - Mechanical Properties

      - Yield Strength

      - Ultimate Strength

      - Proportional Limit

      - Elastic Limit

    - Physical Properties

      - Density

      - Thermal Expansion

      - Durability

    - Ductility and Brittleness

    - Toughness and Resilience

    - Fatigue Properties

    - Creep and Relaxation

  - Axial Loading

    - Uniform Axial Stress

    - Axial Deformation

    - Statically Indeterminate Members

    - Thermal Effects

    - Saint-Venant's Principle

  - Torsion

    - Circular Shafts

    - Torsion Formula

    - Angle of Twist

    - Power Transmission

    - Non-Circular Sections

  - Bending of Beams

    - Pure Bending Theory

    - Flexure Formula

    - Section Modulus

    - Composite Beams

    - Unsymmetric Bending

  - Transverse Shear in Beams

    - Shear Formula

    - Shear Flow

    - Built-Up Beams

    - Shear Center

  - Combined Loading

    - Superposition Principle

    - Combined Axial and Bending

    - Combined Bending and Torsion

    - General Combined Loading

  - Stress Transformation

    - Plane Stress Transformation

    - Principal Stresses

    - Maximum Shear Stress

    - Mohr's Circle Construction

    - Mohr's Circle Applications

  - Beam Deflections

    - Elastic Curve Equation

    - Integration Methods

    - Boundary Conditions

    - Discontinuity Functions

    - Superposition Method

  - Column Stability

    - Euler Buckling Theory

    - Critical Load

    - Effective Length

    - Slenderness Ratio

    - Inelastic Buckling

# Structural Loads and Load Analysis

- Load Classification

  - Permanent Loads

    - Dead Loads

      - Self-Weight Calculations

      - Superimposed Dead Loads

      - Equipment Loads

    - Prestressing Loads

  - Variable Loads

    - Live Loads

      - Occupancy Loads

      - Roof Live Loads

      - Reduction Factors

    - Construction Loads

    - Impact Loads

  - Environmental Loads

    - Wind Loads

      - Wind Speed Determination

      - Pressure Coefficients

      - Dynamic Effects

      - Vortex Shedding

    - Snow Loads

      - Ground Snow Loads

      - Roof Snow Loads

      - Drift Loads

      - Sliding Snow

    - Seismic Loads

      - Ground Motion Characteristics

      - Response Spectra

      - Site Effects

      - Seismic Hazard Maps

    - Temperature Loads

      - Uniform Temperature Changes

      - Temperature Gradients

      - Thermal Expansion Effects

    - Hydrostatic Loads

      - Water Pressure

      - Buoyancy Effects

    - Soil Loads

      - Active Earth Pressure

      - Passive Earth Pressure

      - At-Rest Earth Pressure

- Load Paths and Transfer

  - Vertical Load Paths

  - Lateral Load Paths

  - Load Distribution

  - Tributary Areas

  - Influence Areas

  - Diaphragm Action

- Load Combinations

  - Design Philosophy

    - Ultimate Limit States

    - Serviceability Limit States

    - Safety Factors

  - Allowable Stress Design Combinations

  - Load and Resistance Factor Design Combinations

  - Strength Design Combinations

  - Service Load Combinations

- Building Codes and Standards

  - International Building Code

  - ASCE 7 Standard

  - Local Code Requirements

  - Load Factors and Combinations

# Analysis of Statically Determinate Structures

- Structural Determinacy and Stability

  - Degree of Static Indeterminacy

  - Degree of Kinematic Indeterminacy

  - Stability Analysis

  - Geometric Instability

  - Static Instability

- Truss Analysis

  - Assumptions for Truss Analysis

  - Method of Joints

    - Joint Equilibrium

    - Solution Procedures

    - Special Cases

  - Method of Sections

    - Section Selection

    - Equilibrium of Sections

  - Zero-Force Members

    - Identification Rules

    - Structural Significance

  - Compound Trusses

  - Complex Trusses

- Beam Analysis

  - Support Reactions

    - Simply Supported Beams

    - Cantilever Beams

    - Overhanging Beams

  - Internal Forces

    - Axial Force Diagrams

    - Shear Force Diagrams

    - Bending Moment Diagrams

  - Relationships Between Load and Internal Forces

    - Differential Relationships

    - Integration Methods

    - Area Methods

  - Qualitative Analysis

    - Deflected Shape Sketching

    - Moment Diagram by Parts

- Frame Analysis

  - Rigid Frame Analysis

  - Pin-Connected Frames

  - Three-Hinged Frames

  - Internal Force Diagrams

  - Joint Equilibrium

- Influence Lines

  - Concept of Influence Lines

  - Construction Methods

    - Direct Method

    - Müller-Breslau Principle

  - Influence Lines for Beams

    - Reactions

    - Shear Forces

    - Bending Moments

  - Influence Lines for Trusses

    - Member Forces

    - Joint Displacements

  - Influence Lines for Frames

  - Applications to Moving Loads

    - Maximum and Minimum Effects

    - Critical Load Positions

    - Envelope Diagrams

# Structural Deflections and Deformations

- Deflection Theory

  - Elastic Curve Fundamentals

  - Curvature-Moment Relationships

  - Boundary Conditions

  - Compatibility Requirements

- Integration Methods

  - Double Integration Method

  - Moment-Area Method

    - First Moment-Area Theorem

    - Second Moment-Area Theorem

    - Applications to Beams

    - Applications to Frames

  - Conjugate Beam Method

    - Conjugate Beam Construction

    - Loading of Conjugate Beam

    - Applications and Limitations

- Energy Methods

  - Strain Energy Concepts

  - Principle of Virtual Work

    - Virtual Force Method

    - Virtual Displacement Method

    - Applications to Trusses

    - Applications to Beams and Frames

  - Castigliano's Theorems

    - First Theorem

    - Second Theorem

    - Applications to Deflection Calculation

  - Unit Load Method

    - Procedure for Trusses

    - Procedure for Beams

    - Procedure for Frames

- Deflection Calculations for Common Cases

  - Simply Supported Beams

  - Cantilever Beams

  - Continuous Beams

  - Frames

  - Trusses

- Serviceability Considerations

  - Deflection Limits

  - Vibration Control

  - Crack Control

# Analysis of Statically Indeterminate Structures

- Indeterminacy Concepts

  - Sources of Indeterminacy

  - Degree of Indeterminacy Calculation

  - Advantages and Disadvantages

- Force Method (Flexibility Method)

  - Method of Consistent Deformations

  - Selection of Redundants

  - Compatibility Equations

  - Flexibility Coefficients

  - Applications to Beams

  - Applications to Frames

  - Applications to Trusses

  - Temperature and Settlement Effects

- Displacement Method (Stiffness Method)

  - Slope-Deflection Method

    - Basic Equations

    - Fixed-End Moments

    - Applications to Beams

    - Applications to Frames

    - Sidesway Analysis

  - Moment Distribution Method

    - Distribution Factors

    - Carry-Over Factors

    - Iterative Process

    - Applications to Continuous Beams

    - Applications to Frames

    - Modified Stiffness

- Approximate Analysis Methods

  - Portal Method

    - Assumptions

    - Procedure

  - Cantilever Method

    - Assumptions

    - Procedure

  - Substitute Frame Method

  - Equivalent Frame Method

# Matrix Structural Analysis

- Matrix Methods Fundamentals

  - Stiffness and Flexibility Concepts

  - Local and Global Coordinate Systems

  - Transformation Matrices

  - Assembly Procedures

- Direct Stiffness Method

  - Element Stiffness Matrices

    - Truss Elements

    - Beam Elements

    - Frame Elements

    - Grid Elements

  - Global Stiffness Matrix Assembly

  - Load Vector Formation

  - Boundary Condition Application

  - Solution Procedures

  - Force Recovery

- Analysis of Trusses

  - Two-Dimensional Trusses

  - Three-Dimensional Trusses

  - Temperature Effects

  - Support Settlement

- Analysis of Beams and Frames

  - Plane Frames

  - Grid Systems

  - Space Frames

  - Geometric Nonlinearity

- Introduction to Finite Element Method

  - Basic Concepts

  - Element Types

  - Shape Functions

  - Numerical Integration

  - Convergence Requirements

# Structural Design Principles

- Design Philosophy Evolution

  - Working Stress Design

  - Ultimate Strength Design

  - Limit State Design

  - Performance-Based Design

- Allowable Stress Design

  - Safety Factor Approach

  - Allowable Stresses

  - Service Load Analysis

- Load and Resistance Factor Design

  - Limit States

    - Strength Limit States

    - Serviceability Limit States

    - Fatigue Limit States

  - Load Factors

  - Resistance Factors

  - Reliability Theory

- Design Process

  - Preliminary Design

  - Analysis and Design Iterations

  - Detail Design

  - Construction Documents

- Design Optimization

  - Cost Optimization

  - Weight Optimization

  - Performance Optimization

  - Multi-Objective Optimization

# Steel Structure Design

- Steel Material Properties

  - Stress-Strain Behavior

  - Yield Strength

  - Ultimate Strength

  - Ductility

  - Fatigue Properties

  - Temperature Effects

- Steel Sections and Properties

  - Hot-Rolled Sections

  - Cold-Formed Sections

  - Built-Up Sections

  - Section Properties

  - Residual Stresses

- Tension Member Design

  - Gross Section Yielding

  - Net Section Fracture

  - Block Shear Rupture

  - Effective Net Area

  - Slenderness Limitations

- Compression Member Design

  - Column Buckling Theory

  - Effective Length Determination

  - Column Curves

  - Local Buckling

  - Torsional Buckling

  - Built-Up Columns

- Flexural Member Design

  - Lateral-Torsional Buckling

  - Local Buckling

  - Compact Sections

  - Non-Compact Sections

  - Slender Sections

  - Shear Design

  - Deflection Control

  - Vibration Control

- Beam-Column Design

  - Interaction Equations

  - Second-Order Effects

  - Amplification Factors

  - Design Procedures

- Connection Design

  - Bolted Connections

    - Bolt Types and Grades

    - Shear Connections

    - Bearing Connections

    - Tension Connections

    - Combined Loading

  - Welded Connections

    - Weld Types

    - Fillet Welds

    - Groove Welds

    - Design Procedures

  - Simple Connections

    - Beam-to-Column Connections

    - Beam-to-Girder Connections

  - Moment Connections

    - Fully Restrained Connections

    - Partially Restrained Connections

    - Extended End-Plate Connections

    - Flange-Plated Connections

# Reinforced Concrete Design

- Concrete and Steel Properties

  - Concrete Behavior

    - Compressive Strength

    - Tensile Strength

    - Modulus of Elasticity

    - Creep and Shrinkage

  - Reinforcing Steel Properties

    - Yield Strength

    - Ultimate Strength

    - Stress-Strain Curves

  - Bond Between Concrete and Steel

- Flexural Analysis and Design

  - Assumptions for Flexural Analysis

  - Singly Reinforced Sections

    - Balanced Conditions

    - Under-Reinforced Sections

    - Over-Reinforced Sections

  - Doubly Reinforced Sections

  - T-Beam Analysis and Design

  - Moment-Curvature Relationships

- Shear Design

  - Shear Behavior in Beams

  - Concrete Contribution

  - Shear Reinforcement

  - Stirrup Design

  - Deep Beam Behavior

- Development Length and Splices

  - Development Length Requirements

  - Hooked Bars

  - Lap Splices

  - Mechanical Splices

  - Welded Splices

- Serviceability Design

  - Deflection Control

    - Immediate Deflections

    - Long-Term Deflections

    - Deflection Limits

  - Crack Control

    - Crack Width Calculations

    - Reinforcement Distribution

  - Durability Requirements

- Slab Design

  - One-Way Slabs

    - Analysis Methods

    - Reinforcement Details

  - Two-Way Slabs

    - Direct Design Method

    - Equivalent Frame Method

    - Yield Line Theory

  - Flat Plates

  - Flat Slabs

- Column Design

  - Short Column Behavior

  - Tied Columns

  - Spiral Columns

  - Interaction Diagrams

  - Slender Column Effects

  - Biaxial Bending

- Foundation Design

  - Spread Footings

    - Isolated Footings

    - Combined Footings

    - Strap Footings

  - Wall Footings

  - Mat Foundations

  - Pile Caps

# Advanced Structural Analysis

- Nonlinear Analysis

  - Material Nonlinearity

  - Geometric Nonlinearity

  - P-Delta Effects

  - Large Displacement Analysis

- Structural Dynamics

  - Single Degree of Freedom Systems

    - Free Vibration

    - Damped Vibration

    - Forced Vibration

    - Response to Harmonic Loading

  - Multiple Degree of Freedom Systems

    - Equations of Motion

    - Modal Analysis

    - Mode Shapes and Frequencies

    - Modal Superposition

  - Continuous Systems

  - Response Spectrum Analysis

  - Time History Analysis

- Stability Analysis

  - Elastic Stability

  - Inelastic Stability

  - Frame Stability

  - Bracing Requirements

  - Second-Order Analysis

- Plastic Analysis

  - Plastic Hinge Concept

  - Collapse Mechanisms

  - Virtual Work Method

  - Moment Redistribution

  - Plastic Design Methods

- Seismic Analysis

  - Earthquake Characteristics

  - Seismic Hazard Assessment

  - Response Spectrum Development

  - Equivalent Static Analysis

  - Dynamic Analysis Procedures

  - Nonlinear Response History Analysis

# Specialized Structural Systems

- Timber Structures

  - Wood Properties

  - Allowable Stress Design

  - Load and Resistance Factor Design

  - Beam Design

  - Column Design

  - Connection Design

    - Bolted Connections

    - Nailed Connections

    - Glued Connections

  - Engineered Wood Products

- Masonry Structures

  - Masonry Materials

  - Allowable Stress Design

  - Strength Design

  - Flexural Design

  - Shear Design

  - Axial Load Design

  - Reinforced Masonry

  - Unreinforced Masonry

- Composite Construction

  - Steel-Concrete Composite Beams

  - Composite Columns

  - Shear Connectors

  - Composite Slabs

  - Composite Trusses

- Prestressed Concrete

  - Prestressing Principles

  - Prestressing Methods

    - Pre-Tensioning

    - Post-Tensioning

  - Material Properties

  - Analysis of Prestressed Sections

  - Design Procedures

  - Losses in Prestress

  - Deflection Analysis

- Cable Structures

  - Cable Properties

  - Cable Analysis

  - Suspension Systems

  - Cable-Stayed Systems

  - Tension Structures

- Shell Structures

  - Shell Geometry

  - Membrane Theory

  - Bending Theory

  - Cylindrical Shells

  - Spherical Shells

  - Hyperbolic Paraboloid Shells

# Seismic Design and Earthquake Engineering

- Earthquake Fundamentals

  - Seismic Waves

  - Ground Motion Characteristics

  - Seismic Hazard Assessment

  - Site Effects

- Seismic Design Philosophy

  - Performance Objectives

  - Seismic Design Categories

  - Importance Factors

  - Redundancy

- Seismic Analysis Procedures

  - Equivalent Lateral Force Procedure

  - Modal Response Spectrum Analysis

  - Linear Response History Analysis

  - Nonlinear Response History Analysis

- Seismic Design Requirements

  - Structural Systems

  - Irregularities

  - Diaphragms

  - Collectors

  - Connections

- Detailing for Seismic Resistance

  - Ductility Requirements

  - Capacity Design Principles

  - Special Moment Frames

  - Special Concentrically Braced Frames

  - Shear Walls

  - Diaphragm Design

# Construction Considerations

- Construction Sequencing

  - Temporary Structures

  - Construction Loads

  - Staged Construction

  - Formwork Design

- Quality Control

  - Material Testing

  - Construction Inspection

  - Non-Destructive Testing

  - Load Testing

- Construction Safety

  - Temporary Bracing

  - Fall Protection

  - Crane Operations

  - Excavation Safety

- Constructability

  - Design for Construction

  - Modular Construction

  - Prefabrication

  - Construction Tolerances

# Professional Practice

- Codes and Standards

  - Building Codes

  - Design Standards

  - Material Standards

  - Testing Standards

- Project Delivery Methods

  - Design-Bid-Build

  - Design-Build

  - Construction Management

  - Integrated Project Delivery

- Professional Responsibilities

  - Standard of Care

  - Professional Liability

  - Continuing Education

  - Ethics

- Communication and Documentation

  - Technical Reports

  - Construction Documents

  - Shop Drawing Review

  - Field Reports

Created with UsefulLinks