# Water and Wastewater Treatment

# Introduction to Water and Wastewater Treatment

- Historical Perspective and Public Health

  - Early Water Supply and Sanitation Practices

  - Major Waterborne Disease Outbreaks

  - Evolution of Treatment Technologies

  - Impact on Public Health and Urbanization

- The Hydrologic Cycle and Water Resources

  - Components of the Hydrologic Cycle

    - Precipitation

    - Evaporation and Transpiration

    - Infiltration and Percolation

    - Runoff and Surface Water

    - Groundwater Recharge and Discharge

  - Types of Water Resources

    - Surface Water Sources

    - Groundwater Sources

    - Alternative Water Sources

      - Desalination

      - Water Reuse

  - Water Scarcity and Stress

- Regulatory Frameworks and Standards

  - Safe Drinking Water Act (SDWA)

    - Key Provisions and Amendments

    - Maximum Contaminant Levels (MCLs)

    - Monitoring and Reporting Requirements

  - Clean Water Act (CWA)

    - National Pollutant Discharge Elimination System (NPDES)

    - Water Quality Standards

    - Total Maximum Daily Loads (TMDLs)

  - International and Local Regulations

    - World Health Organization (WHO) Guidelines

    - European Union Directives

    - Local and Regional Standards

- Key Terminology and Units of Measurement

  - Common Terms in Water and Wastewater Treatment

  - Units of Concentration

    - Milligrams per Liter (mg/L)

    - Parts per Million (ppm)

    - Parts per Billion (ppb)

  - Flow and Volume Units

    - Liters per Second (L/s)

    - Cubic Meters per Day (m³/d)

    - Gallons per Day (gpd)

  - Conversion Factors

# Water Quality and Characterization

- Physical Characteristics

  - Temperature

    - Effects on Treatment Processes

    - Measurement Methods

  - Turbidity

    - Causes and Sources

    - Measurement Units

      - Nephelometric Turbidity Units (NTU)

      - Jackson Turbidity Units

  - Color

    - True Color

    - Apparent Color

    - Sources of Color

  - Odor and Taste

    - Odor-Causing Compounds

    - Taste-Causing Compounds

    - Sensory Evaluation Methods

  - Solids

    - Total Solids (TS)

    - Total Suspended Solids (TSS)

    - Total Dissolved Solids (TDS)

    - Volatile Solids (VS)

    - Fixed Solids (FS)

- Chemical Characteristics

  - pH and Alkalinity

    - pH Scale and Importance

    - Buffering Capacity

    - Measurement Techniques

  - Hardness

    - Calcium Content

    - Magnesium Content

    - Temporary Hardness

    - Permanent Hardness

    - Impacts on Treatment and Distribution

  - Dissolved Oxygen (DO)

    - Importance in Aquatic Systems

    - Measurement Methods

  - Biochemical Oxygen Demand (BOD)

    - Definition and Significance

    - BOD Testing Procedures

    - Factors Affecting BOD

  - Chemical Oxygen Demand (COD)

    - Definition and Comparison to BOD

    - COD Testing Methods

  - Nutrients

    - Nitrogen Species

      - Ammonia (NH₃)

      - Nitrite (NO₂⁻)

      - Nitrate (NO₃⁻)

      - Nitrogen Cycle in Water

    - Phosphorus Species

      - Orthophosphate

      - Polyphosphate

      - Organic Phosphorus

  - Metals and Inorganic Non-metallics

    - Common Metals

      - Iron

      - Manganese

      - Lead

      - Copper

    - Non-metallics

      - Fluoride

      - Sulfate

      - Chloride

    - Health and Aesthetic Impacts

  - Organic Compounds

    - Natural Organic Matter (NOM)

    - Synthetic Organic Compounds

      - Pesticides

      - Solvents

    - Disinfection Byproduct Precursors

- Microbiological Characteristics

  - Pathogens and Indicator Organisms

    - Definition of Pathogens

    - Use of Indicator Organisms

  - Bacteria

    - Coliform Group

    - Escherichia coli (E. coli)

    - Other Pathogenic Bacteria

  - Viruses

    - Enteric Viruses

    - Detection Methods

  - Protozoa

    - Giardia

    - Cryptosporidium

    - Cysts and Oocysts

  - Helminths

    - Types of Helminths

    - Health Risks

# Principles of Treatment Processes

- Reactor Engineering and Hydraulics

  - Reactor Types

    - Batch Reactor

      - Operation Principles

    - Completely Mixed Flow Reactor (CMFR)

      - Mixing Characteristics

      - Design Considerations

    - Plug Flow Reactor (PFR)

      - Flow Patterns

      - Performance Characteristics

  - Reaction Kinetics

    - Zero-Order Reactions

    - First-Order Reactions

    - Second-Order Reactions

    - Rate Constants

    - Half-Life Calculations

  - Mass Balance Analysis

    - Steady-State Conditions

    - Non-Steady-State Conditions

    - Input-Output Relationships

    - Application to Treatment Units

  - Hydraulic Retention Time (HRT)

  - Solids Retention Time (SRT)

- Physical Unit Operations

  - Screening and Straining

    - Screen Types

    - Design Parameters

  - Sedimentation

    - Settling Theory

    - Clarifier Design

  - Flotation

    - Dissolved Air Flotation

    - Induced Air Flotation

  - Filtration

    - Granular Media Filtration

    - Membrane Filtration

  - Mixing and Flocculation

    - Rapid Mixing

    - Slow Mixing

- Chemical Unit Processes

  - Coagulation and Flocculation

    - Coagulation Mechanisms

    - Flocculation Kinetics

  - Precipitation

    - Chemical Precipitation

    - Softening Reactions

  - Disinfection

    - Disinfection Kinetics

    - Disinfectant Types

  - Oxidation and Reduction

    - Oxidation Processes

    - Reduction Processes

  - Adsorption

    - Adsorption Isotherms

    - Adsorbent Materials

  - Ion Exchange

    - Exchange Mechanisms

    - Resin Types

- Biological Unit Processes

  - Aerobic Processes

    - Oxygen Requirements

    - Microbial Growth

  - Anaerobic Processes

    - Methanogenesis

    - Process Stages

  - Facultative Processes

    - Mixed Conditions

    - Process Control

  - Biofilm Systems

    - Biofilm Formation

    - Mass Transfer

  - Suspended Growth Systems

    - Mixed Liquor Characteristics

    - Biomass Control

# Drinking Water Treatment

- Source Water Protection and Intake Structures

  - Watershed Management

    - Source Protection Zones

    - Land Use Controls

  - Source Water Assessment

    - Vulnerability Analysis

    - Contamination Sources

  - Intake Design and Siting

    - Location Considerations

    - Intake Types

  - Screening at Intake

    - Coarse Screening

    - Fine Screening

- Pre-treatment Processes

  - Screening

    - Bar Screens

    - Drum Screens

    - Maintenance and Operation

  - Aeration

    - Cascade Aerators

    - Fountain Aerators

    - Diffused Aeration

    - Removal of Volatile Compounds

  - Pre-oxidation

    - Chlorine Pre-oxidation

    - Ozone Pre-oxidation

    - Control of Taste and Odor

    - Algae Control

- Coagulation and Flocculation

  - Coagulant Chemistry

    - Aluminum Salts

      - Alum (Aluminum Sulfate)

      - Polyaluminum Chloride (PAC)

      - Dosing Calculations

      - Handling and Storage

    - Iron Salts

      - Ferric Chloride

      - Ferric Sulfate

      - Ferrous Sulfate

    - Polymers

      - Cationic Polymers

      - Anionic Polymers

      - Nonionic Polymers

      - Application Methods

  - Rapid Mixing

    - Mixing Devices

      - Mechanical Mixers

      - Static Mixers

    - Mixing Intensity

    - Mixing Time

  - Slow Mixing (Flocculation)

    - Flocculator Design

      - Paddle Flocculators

      - Turbine Flocculators

    - Floc Growth Mechanisms

    - Floc Breakage

    - Tapered Flocculation

- Sedimentation and Clarification

  - Principles of Gravity Settling

    - Discrete Settling

    - Flocculent Settling

    - Hindered Settling

    - Compression Settling

  - Clarifier Design and Operation

    - Rectangular Clarifiers

    - Circular Clarifiers

    - High-Rate Clarifiers

    - Sludge Collection Systems

    - Sludge Removal

- Filtration

  - Granular Media Filtration

    - Slow Sand Filters

      - Filter Media Characteristics

      - Schmutzdecke Formation

      - Operation and Maintenance

      - Cleaning Procedures

    - Rapid Sand Filters

      - Filter Design Parameters

      - Media Selection

      - Backwashing Procedures

      - Filter Performance

    - Dual Media Filters

      - Anthracite and Sand

      - Media Stratification

    - Multi-Media Filters

      - Three-Layer Systems

      - Media Characteristics

  - Membrane Filtration

    - Microfiltration (MF)

      - Pore Size Range

      - Membrane Materials

    - Ultrafiltration (UF)

      - Molecular Weight Cutoff

      - Removal Capabilities

      - System Configuration

    - Nanofiltration (NF)

      - Softening Applications

      - Organics Removal

      - Operating Pressure

    - Reverse Osmosis (RO)

      - Desalination Applications

      - Contaminant Removal

      - Membrane Fouling

      - Cleaning Procedures

      - Concentrate Disposal

- Disinfection

  - Disinfection Kinetics

    - Chick's Law

    - CT Concept (Concentration × Time)

    - Log Reduction

    - Factors Affecting Disinfection

  - Chlorination

    - Chlorine Chemistry

      - Free Chlorine

      - Combined Chlorine

      - Chlorine Demand

    - Breakpoint Chlorination

      - Breakpoint Curve

      - Chloramine Formation

    - Disinfection Byproducts (DBPs)

      - Trihalomethanes (THMs)

      - Haloacetic Acids (HAAs)

      - Health Concerns

      - Control Strategies

  - Ozonation

    - Ozone Generation

      - Corona Discharge

      - UV Photolysis

    - Ozone Chemistry

    - Mechanism of Disinfection

    - Ozone Contactors

  - Ultraviolet (UV) Radiation

    - UV Dose Calculation

    - UV Effectiveness

    - System Design

      - Low-Pressure Lamps

      - Medium-Pressure Lamps

    - UV Transmittance

  - Chloramination

    - Monochloramine Formation

    - Advantages and Limitations

    - Distribution System Applications

- Advanced Water Treatment Processes

  - Adsorption

    - Activated Carbon Types

      - Granular Activated Carbon (GAC)

      - Powdered Activated Carbon (PAC)

    - Adsorption Isotherms

      - Freundlich Isotherm

      - Langmuir Isotherm

    - Carbon Regeneration

  - Ion Exchange

    - Cation Exchange Resins

    - Anion Exchange Resins

    - Regeneration Processes

    - System Design

  - Air Stripping

    - Volatile Contaminant Removal

    - Packed Tower Design

    - Mass Transfer Principles

  - Advanced Oxidation Processes (AOPs)

    - Ozone/Hydrogen Peroxide

    - UV/Hydrogen Peroxide

    - Fenton's Reagent

    - Applications and Limitations

- Water Softening

  - Lime Softening

    - Lime-Soda Process

    - Recarbonation

    - Sludge Production

  - Ion Exchange Softening

    - Sodium Cycle

    - Regeneration with Salt

    - System Operation

  - Operational Considerations

    - Hardness Monitoring

    - Chemical Dosing

- Corrosion and Scaling Control

  - Causes of Corrosion

    - Galvanic Corrosion

    - Uniform Corrosion

    - Pitting Corrosion

  - Causes of Scaling

    - Calcium Carbonate Scaling

    - Other Scale Types

  - Control Methods

    - pH Adjustment

    - Corrosion Inhibitors

    - Cathodic Protection

  - Monitoring and Prevention

    - Corrosion Indices

    - Water Quality Parameters

- Water Distribution Systems

  - Distribution System Components

    - Pipes and Fittings

    - Valves and Hydrants

    - Storage Tanks

  - Hydraulic Design

    - Pipe Sizing

    - Pressure Requirements

    - Flow Analysis

  - Water Quality Maintenance

    - Chlorine Residual

    - Flushing Programs

    - Cross-Connection Control

  - Leak Detection and Repair

    - Detection Methods

    - Repair Techniques

# Wastewater Treatment

- Wastewater Sources and Characteristics

  - Municipal Wastewater

    - Domestic Sewage Composition

    - Flow Variations

    - Loading Calculations

  - Industrial Wastewater

    - Common Industrial Pollutants

    - Pretreatment Requirements

    - Discharge Permits

  - Stormwater and Infiltration/Inflow

    - Sources and Impacts

    - Combined Sewer Overflows

    - Control Measures

- Preliminary Treatment

  - Screening

    - Bar Screens

      - Manual Screens

      - Mechanical Screens

    - Fine Screens

    - Maintenance and Debris Handling

  - Comminution

    - Grinders and Shredders

    - Purpose and Equipment

  - Grit Removal

    - Grit Chamber Types

      - Horizontal Flow

      - Aerated Grit Chambers

      - Vortex Grit Chambers

    - Grit Classification

    - Grit Disposal

  - Flow Equalization

    - Equalization Basin Design

    - Flow Control

    - Benefits and Operation

- Primary Treatment

  - Primary Sedimentation Tanks

    - Design Criteria

      - Detention Time

      - Surface Loading Rate

      - Weir Loading Rate

    - Tank Configurations

      - Rectangular Tanks

      - Circular Tanks

    - Sludge Collection Systems

    - Scum Removal

    - Performance Evaluation

- Secondary (Biological) Treatment

  - Objectives of Biological Treatment

    - Organic Matter Removal

    - BOD Reduction

    - Suspended Solids Removal

  - Suspended Growth Processes

    - Activated Sludge Process

      - Process Configurations

        - Conventional Activated Sludge

        - Step-Feed Process

        - Extended Aeration

        - Contact Stabilization

      - Aeration Systems

        - Diffused Aeration

          - Fine Bubble Diffusers

          - Coarse Bubble Diffusers

        - Mechanical Aeration

          - Surface Aerators

          - Brush Aerators

      - Secondary Clarification

        - Clarifier Design

        - Sludge Blanket

        - Sludge Return Systems

        - Waste Sludge Systems

      - Process Control Parameters

        - Mixed Liquor Suspended Solids (MLSS)

        - Sludge Volume Index (SVI)

        - Food-to-Microorganism Ratio (F/M)

      - Sludge Bulking and Foaming

        - Filamentous Bacteria

        - Causes and Control

    - Sequencing Batch Reactors (SBR)

      - Operating Cycles

        - Fill Phase

        - React Phase

        - Settle Phase

        - Decant Phase

      - Advantages and Limitations

    - Membrane Bioreactors (MBR)

      - Membrane Types

        - Hollow Fiber

        - Flat Sheet

      - Integration with Biological Treatment

      - Fouling Control

  - Attached Growth (Biofilm) Processes

    - Trickling Filters

      - Media Types

        - Rock Media

        - Plastic Media

      - Hydraulic Loading

      - Organic Loading

      - Recirculation

    - Rotating Biological Contactors (RBCs)

      - Design Parameters

      - Operation and Maintenance

    - Moving Bed Biofilm Reactors (MBBR)

      - Carrier Media

      - Process Control

      - Hybrid Systems

  - Lagoon and Pond Systems

    - Aerobic Ponds

      - Design Parameters

      - Oxygen Supply

    - Anaerobic Ponds

      - Sludge Accumulation

      - Gas Production

    - Facultative Ponds

      - Stratification

      - Performance Factors

- Tertiary (Advanced) Wastewater Treatment

  - Nutrient Removal

    - Nitrogen Removal

      - Nitrification Process

        - Ammonia Oxidation

        - Nitrite Oxidation

      - Denitrification Process

        - Nitrate Reduction

        - Carbon Source Requirements

      - Process Configurations

        - Modified Ludzack-Ettinger (MLE)

        - Bardenpho Process

        - Sequencing Batch Reactors

    - Phosphorus Removal

      - Enhanced Biological Phosphorus Removal (EBPR)

        - Anaerobic-Aerobic Process

        - Phosphorus-Accumulating Organisms

      - Chemical Phosphorus Removal

        - Aluminum Salts

        - Iron Salts

        - Lime

  - Effluent Filtration

    - Sand Filters

      - Intermittent Sand Filters

      - Continuous Sand Filters

    - Membrane Filtration

      - Microfiltration

      - Ultrafiltration

  - Disinfection of Effluent

    - Chlorination

      - Contact Time Requirements

      - Dechlorination

    - UV Disinfection

      - UV Dose Requirements

      - System Design

    - Ozonation

      - Ozone Contact Systems

      - Residual Management

# Sludge (Biosolids) Management

- Sludge Sources and Characteristics

  - Primary Sludge

    - Composition

    - Solids Content

  - Secondary Sludge

    - Waste Activated Sludge

    - Biological Characteristics

  - Tertiary Sludge

    - Chemical Sludge

    - Filter Backwash Solids

  - Sludge Properties

    - Dewaterability

    - Settleability

    - Biodegradability

- Sludge Thickening

  - Gravity Thickening

    - Thickener Design

    - Solids Loading Rate

    - Operational Considerations

  - Dissolved Air Flotation (DAF)

    - Principles of Operation

    - Air-to-Solids Ratio

    - Chemical Addition

  - Centrifugal Thickening

    - Centrifuge Types

    - Performance Factors

  - Belt Thickening

    - Belt Thickener Design

    - Polymer Addition

- Sludge Stabilization

  - Anaerobic Digestion

    - Process Stages

      - Hydrolysis

      - Acidogenesis

      - Methanogenesis

    - Digester Design

      - Completely Mixed Digesters

      - Plug Flow Digesters

    - Gas Production and Utilization

      - Biogas Composition

      - Energy Recovery

    - Process Control

      - Temperature Control

      - pH Control

      - Volatile Acids

  - Aerobic Digestion

    - Process Description

    - Oxygen Requirements

    - Process Control

    - Advantages and Disadvantages

  - Lime Stabilization

    - Chemical Reactions

    - Lime Dosage

    - Pathogen Reduction

    - pH Control

  - Composting

    - Composting Methods

      - Windrow Composting

      - In-Vessel Composting

      - Aerated Static Pile

    - Process Parameters

      - Carbon-to-Nitrogen Ratio

      - Moisture Content

      - Temperature

    - Product Quality

      - Pathogen Reduction

      - Vector Attraction Reduction

- Sludge Dewatering

  - Centrifugation

    - Centrifuge Types

      - Solid Bowl Centrifuges

      - Basket Centrifuges

    - Performance Factors

      - Polymer Addition

      - Feed Solids Concentration

  - Belt Filter Press

    - Process Description

    - Belt Types

    - Operation and Maintenance

  - Screw Press

    - Design Features

    - Performance Characteristics

  - Filter Press

    - Plate and Frame Presses

    - Membrane Presses

    - Cycle Time

  - Drying Beds

    - Sand Drying Beds

    - Paved Drying Beds

    - Design and Operation

    - Climate Considerations

- Biosolids Disposal and Reuse

  - Land Application

    - Regulatory Requirements

      - Part 503 Rule

      - Pathogen Reduction

      - Vector Attraction Reduction

    - Agronomic Benefits

      - Nutrient Content

      - Soil Conditioning

    - Application Methods

      - Surface Application

      - Injection

  - Incineration

    - Incineration Technologies

      - Multiple Hearth Furnaces

      - Fluidized Bed Incinerators

    - Emission Controls

      - Air Pollution Control

      - Ash Characteristics

    - Energy Recovery

  - Landfilling

    - Site Selection Criteria

    - Leachate Management

    - Gas Control

  - Beneficial Reuse Products

    - Soil Amendments

    - Fertilizer Products

    - Energy Recovery

      - Biogas Utilization

      - Heat Recovery

# Specialized and Industrial Treatment Systems

- Desalination

  - Reverse Osmosis (RO)

    - Membrane Selection

      - Membrane Materials

      - Membrane Configuration

    - Pretreatment Requirements

      - Scaling Prevention

      - Fouling Control

    - System Design

      - Single-Pass Systems

      - Multi-Stage Systems

    - Energy Recovery

      - Pressure Exchangers

      - Turbines

  - Multi-Stage Flash Distillation (MSF)

    - Process Description

    - Heat Recovery

    - Energy Considerations

    - Scaling Control

  - Multi-Effect Distillation (MED)

    - Process Configuration

    - Energy Efficiency

  - Electrodialysis

    - Principle of Operation

    - Membrane Types

    - Energy Requirements

- Industrial Wastewater Treatment

  - Food and Beverage Industry

    - Typical Contaminants

      - Organic Loading

      - Suspended Solids

      - Nutrients

    - Treatment Approaches

      - Screening and Settling

      - Biological Treatment

      - Advanced Treatment

  - Pulp and Paper Industry

    - Effluent Characteristics

      - Fiber Content

      - Chemical Oxygen Demand

      - Color

    - Treatment Technologies

      - Primary Clarification

      - Biological Treatment

      - Tertiary Treatment

  - Chemical and Petrochemical Industry

    - Hazardous Pollutants

      - Toxic Organics

      - Heavy Metals

      - Phenols

    - Specialized Treatment Methods

      - Advanced Oxidation

      - Activated Carbon Adsorption

      - Membrane Separation

  - Metal Finishing Industry

    - Heavy Metal Removal

      - Precipitation

      - Ion Exchange

      - Electrochemical Treatment

    - Cyanide Treatment

      - Alkaline Chlorination

      - Ozonation

  - Textile Industry

    - Dye Removal

    - Color Treatment

    - Biological Treatment

  - Pharmaceutical Industry

    - Antibiotic Removal

    - Specialized Contaminants

    - Treatment Challenges

- Natural Treatment Systems

  - Constructed Wetlands

    - Types of Constructed Wetlands

      - Surface Flow Wetlands

      - Subsurface Flow Wetlands

        - Horizontal Flow

        - Vertical Flow

    - Design Parameters

      - Hydraulic Loading

      - Organic Loading

      - Detention Time

    - Performance Factors

      - Plant Selection

      - Media Selection

      - Climate Considerations

  - Land Treatment

    - Slow Rate Systems

      - Infiltration Rates

      - Crop Selection

      - Nutrient Uptake

    - Overland Flow Systems

      - Slope Requirements

      - Vegetation Management

      - Runoff Collection

    - Rapid Infiltration Systems

      - Soil Requirements

      - Loading Rates

      - Groundwater Protection

# System Design, Operation, and Management

- Plant Layout and Hydraulic Profile

  - Site Selection and Planning

    - Environmental Considerations

    - Accessibility

    - Utilities Availability

  - Flow Paths and Elevations

    - Hydraulic Grade Line

    - Pump Station Requirements

    - Gravity Flow Optimization

  - Expansion and Flexibility

    - Modular Design

    - Future Capacity

    - Process Modifications

- Pumping Systems

  - Pump Types and Selection

    - Centrifugal Pumps

    - Positive Displacement Pumps

    - Submersible Pumps

  - Pump Station Design

    - Wet Well Design

    - Pump Controls

    - Redundancy Requirements

  - Operation and Maintenance

    - Performance Monitoring

    - Preventive Maintenance

    - Troubleshooting

- Instrumentation and Control

  - Process Control Systems

    - Feedback Control

    - Feedforward Control

    - Cascade Control

  - Sensors and Monitoring Devices

    - Flow Measurement

    - Level Measurement

    - Quality Parameters

  - Automation and SCADA

    - Supervisory Control

    - Data Acquisition

    - Remote Monitoring

- Process Monitoring and Laboratory Analysis

  - Sampling Techniques

    - Grab Samples

    - Composite Samples

    - Sample Preservation

  - Analytical Methods

    - Physical Tests

    - Chemical Tests

    - Microbiological Tests

  - Quality Control

    - Calibration Procedures

    - Quality Assurance

  - Data Interpretation and Reporting

    - Statistical Analysis

    - Trend Analysis

    - Regulatory Reporting

- Asset Management and Maintenance

  - Preventive Maintenance

    - Maintenance Scheduling

    - Equipment Inspection

    - Lubrication Programs

  - Condition Assessment

    - Equipment Condition Monitoring

    - Performance Evaluation

    - Remaining Useful Life

  - Asset Inventory and Tracking

    - Equipment Records

    - Maintenance History

    - Replacement Planning

- Energy Consumption and Recovery

  - Energy Use in Treatment Processes

    - Pumping Energy

    - Aeration Energy

    - Chemical Feed Systems

  - Energy Efficiency Measures

    - Equipment Optimization

    - Process Modifications

    - Variable Frequency Drives

  - Energy Recovery

    - Biogas Utilization

      - Combined Heat and Power

      - Boiler Fuel

    - Hydroelectric Generation

    - Solar Energy Applications

- Water Reuse and Reclamation

  - Types of Reuse

    - Non-Potable Reuse

      - Irrigation

      - Industrial Cooling

      - Toilet Flushing

    - Indirect Potable Reuse

      - Groundwater Recharge

      - Surface Water Augmentation

    - Direct Potable Reuse

      - Treatment Requirements

      - Public Acceptance

  - Treatment Requirements for Reuse

    - Water Quality Standards

    - Treatment Train Design

    - Monitoring Requirements

  - Distribution and End Uses

    - Dual Distribution Systems

    - Cross-Connection Prevention

    - End-User Education

Created with UsefulLinks